## Scenario1
No action; | 0.62256 | 0
No action;Isolated pipe165;Isolated pipe287; | 0.71624 | 0
No action;Isolated pipe123;Isolated pipe336; | 0.73621 | 0
No action; | 0.73638 | 0
No action; | 0.73645 | 0
No action; | 0.73648 | 0
No action; | 0.73649 | 0
No action;-Isolated-pipe165;Replaced pipe165; | 0.76755 | 0
No action; | 0.76755 | 0
No action;-Isolated-pipe336;Replaced pipe336; | 0.85897 | 0
No action; | 0.85897 | 0
No action; | 0.85897 | 0
No action; | 0.85897 | 0
No action; | 0.85897 | 0
No action; | 0.85897 | 0
No action;-Isolated-pipe44;Repaired pipe44;-Isolated-pipe154;Repaired pipe154; | 0.88243 | 0
No action; | 0.88243 | 0
No action; | 0.88243 | 0
No action; | 0.88243 | 0
No action; | 0.88243 | 0
No action;-Isolated-pipe48;Repaired pipe48;-Isolated-pipe149;Repaired pipe149; | 0.90059 | 0
No action; | 0.90059 | 0
No action; | 0.90059 | 0
No action; | 0.90059 | 0
No action; | 0.90059 | 0
No action;-Isolated-pipe207;Repaired pipe207; | 0.90812 | 0
No action;-Isolated-pipe60;Repaired pipe60; | 0.91732 | 0
No action; | 0.91732 | 0
No action; | 0.91732 | 0
No action; | 0.91732 | 0
No action;-Isolated-pipe240;Repaired pipe240; | 0.92385 | 0
No action; | 0.92385 | 0
No action; | 0.92385 | 0
No action;-Isolated-pipe164;Repaired pipe164; | 0.93263 | 0
No action; | 0.93263 | 0
No action;-Isolated-pipe126;Repaired pipe126; | 0.93874 | 0
No action; | 0.93874 | 0
No action;-Isolated-pipe109;Repaired pipe109; | 0.94388 | 0
No action; | 0.94388 | 0
No action; | 0.94388 | 0
No action;-Isolated-pipe203;Repaired pipe203; | 0.94883 | 0
No action; | 0.94883 | 0
No action;-Isolated-pipe147;Repaired pipe147; | 0.95359 | 0
No action; | 0.95359 | 0
No action;-Isolated-pipe152;Repaired pipe152; | 0.95829 | 0
No action; | 0.95829 | 0
No action;-Isolated-pipe83;Repaired pipe83; | 0.96293 | 0
No action; | 0.96293 | 0
No action;-Isolated-pipe228;Repaired pipe228; | 0.96752 | 0
No action; | 0.96752 | 0
No action; | 0.96752 | 0
No action; | 0.96752 | 0
No action;-Isolated-pipe221;Repaired pipe221;-Isolated-pipe223;Repaired pipe223; | 0.97728 | 0
No action; | 0.97728 | 0
No action; | 0.97728 | 0
No action; | 0.97728 | 0
No action;-Isolated-pipe71;Repaired pipe71; | 0.98083 | 0
No action;-Isolated-pipe188;Repaired pipe188; | 0.9839 | 0
No action; | 0.9839 | 0
No action; | 0.9839 | 0
No action;-Isolated-pipe278;Repaired pipe278; | 0.98661 | 0
No action; | 0.98661 | 0
No action;-Isolated-pipe99;Repaired pipe99; | 0.99008 | 0
No action; | 0.99008 | 0
No action;-Isolated-pipe5;Repaired pipe5; | 0.99233 | 0
No action; | 0.99233 | 0
No action; | 0.99233 | 0
No action;-Isolated-pipe123;Replaced pipe123; | 0.996 | 0
No action; | 0.996 | 0
No action;-Isolated-pipe32;Repaired pipe32; | 0.99756 | 0
No action; | 0.99756 | 0
No action; | 0.99756 | 0
No action;-Isolated-pipe238;Repaired pipe238; | 0.99852 | 0
No action; | 0.99852 | 0
No action;-Isolated-pipe132;Repaired pipe132; | 0.99944 | 0
No action; | 0.99944 | 0
No action;-Isolated-pipe227;Repaired pipe227; | 0.99982 | 0
No action; | 0.99982 | 0
No action; | 0.99982 | 0
No action; | 0.99982 | 0
No action;-Isolated-pipe287;Replaced pipe287; | 0.99982 | 0
No action;-Isolated-pipe307;Repaired pipe307; | 1 | 0
No action; | 1 | 0
No action; | 1 | 0
No action; | 1 | 0
No action; | 1 | 0
No action; | 1 | 0
No action; | 1 | 0
No action; | 1 | 0
No action; | 1 | 0
No action; | 1 | 0
No action; | 1 | 0
No action;-Isolated-pipe335;Repaired pipe335; | 1 | 0

## Scenario2
No action; | 0.64378 | 0
No action;Isolated pipe98;Isolated pipe186; | 0.68914 | 0
No action;Isolated pipe102;Isolated pipe119;Isolated pipe124;Isolated pipe189; | 0.76202 | 0
No action;Isolated pipe200;Isolated pipe202;Isolated pipe210;Isolated pipe214; | 0.82814 | 0
No action; | 0.82814 | 0
No action; | 0.82814 | 0
No action; | 0.82814 | 0
No action; | 0.82814 | 0
No action; | 0.82814 | 0
No action;-Isolated-pipe102;Replaced pipe102; | 0.86014 | 0
No action;-Isolated-pipe22;Repaired pipe22; | 0.8741 | 0
No action; | 0.8741 | 0
No action; | 0.8741 | 0
No action; | 0.8741 | 0
No action; | 0.8741 | 0
No action; | 0.8741 | 0
No action;-Isolated-pipe36;Repaired pipe36; | 0.88685 | 0
No action; | 0.88685 | 0
No action; | 0.88685 | 0
No action; | 0.88685 | 0
No action; | 0.88685 | 0
No action;-Isolated-pipe290;Repaired pipe290; | 0.90607 | 0
No action;-Isolated-pipe51;Repaired pipe51; | 0.91518 | 0
No action; | 0.91518 | 0
No action; | 0.91518 | 0
No action; | 0.91518 | 0
No action; | 0.91518 | 0
No action;-Isolated-pipe191;Repaired pipe191;-Isolated-pipe208;Repaired pipe208; | 0.93024 | 0
No action; | 0.93024 | 0
No action; | 0.93024 | 0
No action; | 0.93024 | 0
No action;-Isolated-pipe285;Repaired pipe285; | 0.9361 | 0
No action;-Isolated-pipe126;Repaired pipe126; | 0.94261 | 0
No action; | 0.94261 | 0
No action; | 0.94261 | 0
No action;-Isolated-pipe282;Repaired pipe282; | 0.94798 | 0
No action;-Isolated-pipe254;Repaired pipe254; | 0.95298 | 0
No action; | 0.95298 | 0
No action; | 0.95298 | 0
No action;-Isolated-pipe120;Repaired pipe120; | 0.95776 | 0
No action;-Isolated-pipe182;Repaired pipe182; | 0.96247 | 0
No action; | 0.96247 | 0
No action; | 0.96247 | 0
No action; | 0.96247 | 0
No action;-Isolated-pipe264;Repaired pipe264; | 0.96709 | 0
No action;-Isolated-pipe268;Repaired pipe268; | 0.97154 | 0
No action; | 0.97154 | 0
No action; | 0.97154 | 0
No action;-Isolated-pipe266;Repaired pipe266; | 0.9759 | 0
No action;-Isolated-pipe98;Replaced pipe98; | 0.98018 | 0
No action; | 0.98018 | 0
No action; | 0.98018 | 0
No action;-Isolated-pipe199;Repaired pipe199; | 0.98402 | 0
No action;-Isolated-pipe244;Repaired pipe244; | 0.98763 | 0
No action; | 0.98763 | 0
No action; | 0.98763 | 0
No action;-Isolated-pipe200;Replaced pipe200; | 0.99152 | 0
No action; | 0.99152 | 0
No action;-Isolated-pipe225;Repaired pipe225; | 0.99415 | 0
No action; | 0.99415 | 0
No action; | 0.99415 | 0
No action; | 0.99415 | 0
No action; | 0.99415 | 0
No action; | 0.99415 | 0
No action;-Isolated-pipe140;Repaired pipe140;-Isolated-pipe221;Repaired pipe221; | 0.99934 | 0
No action; | 0.99934 | 0
No action; | 0.99934 | 0
No action; | 0.99934 | 0
No action;-Isolated-pipe311;Repaired pipe311; | 0.99961 | 0
No action;-Isolated-pipe186;Replaced pipe186; | 0.99996 | 0
No action; | 0.99996 | 0
No action; | 0.99996 | 0
No action; | 0.99996 | 0
No action;-Isolated-pipe124;Replaced pipe124; | 0.99998 | 0
No action; | 0.99998 | 0
No action;-Isolated-pipe138;Repaired pipe138; | 1 | 0
No action; | 1 | 0
No action;-Isolated-pipe119;Replaced pipe119; | 1 | 0
No action; | 1 | 0
No action; | 1 | 0
No action;-Isolated-pipe189;Replaced pipe189; | 1 | 0
No action;-Isolated-pipe202;Replaced pipe202; | 1 | 0
No action; | 1 | 0
No action; | 1 | 0
No action;-Isolated-pipe210;Replaced pipe210; | 1 | 0
No action; | 1 | 0
No action;-Isolated-pipe214;Replaced pipe214; | 1 | 0

## Scenario3
No action; | 0.44622 | 0
No action;Isolated pipe157;Isolated pipe179; | 0.53441 | 1
No action;Isolated pipe25;Isolated pipe59;Isolated pipe199;Isolated pipe214; | 0.59432 | 2
No action;Isolated pipe105;Isolated pipe148;Isolated pipe237;Isolated pipe295; | 0.64512 | 0
No action;Isolated pipe144;Isolated pipe177;Isolated pipe178;Isolated pipe241; | 0.68424 | 0
No action;Isolated pipe33;Isolated pipe135; | 0.71201 | 0
No action; | 0.7121 | 0
No action; | 0.71212 | 0
No action; | 0.71213 | 0
No action; | 0.71213 | 0
No action; | 0.71213 | 0
No action; | 0.71213 | 0
No action;-Isolated-pipe135;Replaced pipe135; | 0.75438 | 0
No action; | 0.75438 | 0
No action;-Isolated-pipe157;Replaced pipe157; | 0.8651 | 0
No action; | 0.8651 | 0
No action; | 0.8651 | 0
No action; | 0.8651 | 0
No action;-Isolated-pipe59;Replaced pipe59;-Isolated-pipe148;Replaced pipe148; | 0.89531 | 0
No action; | 0.89531 | 0
No action; | 0.89531 | 0
No action; | 0.89531 | 0
No action; | 0.89531 | 0
No action;-Isolated-pipe241;Replaced pipe241; | 0.91156 | 0
No action; | 0.91156 | 0
No action;-Isolated-pipe37;Repaired pipe37; | 0.92128 | 0
No action; | 0.92128 | 0
No action;-Isolated-pipe105;Replaced pipe105; | 0.92869 | 0
No action; | 0.92869 | 0
No action; | 0.92869 | 0
No action; | 0.92869 | 0
No action;-Isolated-pipe107;Repaired pipe107;-Isolated-pipe273;Repaired pipe273; | 0.93784 | 0
No action; | 0.93784 | 0
No action; | 0.93784 | 0
No action; | 0.93784 | 0
No action;-Isolated-pipe78;Repaired pipe78;-Isolated-pipe265;Repaired pipe265; | 0.94695 | 0
No action; | 0.94695 | 0
No action; | 0.94695 | 0
No action; | 0.94695 | 0
No action;-Isolated-pipe262;Repaired pipe262; | 0.95114 | 0
No action;-Isolated-pipe55;Repaired pipe55; | 0.95522 | 0
No action; | 0.95522 | 0
No action; | 0.95522 | 0
No action;-Isolated-pipe87;Repaired pipe87; | 0.95955 | 0
No action;-Isolated-pipe244;Repaired pipe244; | 0.96315 | 0
No action; | 0.96315 | 0
No action; | 0.96315 | 0
No action; | 0.96315 | 0
No action;-Isolated-pipe213;Repaired pipe213;-Isolated-pipe260;Repaired pipe260; | 0.97089 | 0
No action; | 0.97089 | 0
No action; | 0.97089 | 0
No action; | 0.97089 | 0
No action;-Isolated-pipe25;Replaced pipe25;-Isolated-pipe33;Replaced pipe33; | 0.97683 | 0
No action; | 0.97683 | 0
No action; | 0.97683 | 0
No action; | 0.97683 | 0
No action;-Isolated-pipe227;Repaired pipe227; | 0.97888 | 0
No action;-Isolated-pipe181;Repaired pipe181; | 0.98042 | 0
No action; | 0.98042 | 0
No action; | 0.98042 | 0
No action;-Isolated-pipe287;Repaired pipe287; | 0.98167 | 0
No action;-Isolated-pipe144;Replaced pipe144; | 0.98574 | 0
No action; | 0.98574 | 0
No action; | 0.98574 | 0
No action; | 0.98574 | 0
No action;-Isolated-pipe70;Repaired pipe70;-Isolated-pipe199;Replaced pipe199; | 0.98641 | 0
No action; | 0.98641 | 0
No action; | 0.98641 | 0
No action; | 0.98641 | 0
No action; | 0.98641 | 0
No action; | 0.98641 | 0
No action; | 0.98641 | 0
No action;-Isolated-pipe178;Replaced pipe178;-Isolated-pipe179;Replaced pipe179; | 0.99595 | 0
No action; | 0.99595 | 0
No action; | 0.99595 | 0
No action; | 0.99595 | 0
No action; | 0.99595 | 0
No action;-Isolated-pipe177;Replaced pipe177;-Isolated-pipe214;Replaced pipe214; | 1 | 0
No action; | 1 | 0
No action; | 1 | 0
No action; | 1 | 0
No action;-Isolated-pipe237;Replaced pipe237; | 1 | 0
No action;-Isolated-pipe295;Replaced pipe295; | 1 | 0
No action; | 1 | 0
No action; | 1 | 0
No action; | 1 | 0
No action; | 1 | 0
No action; | 1 | 0
No action;-Isolated-pipe308;Repaired pipe308; | 1 | 0

## Scenario4
No action; | 0.31164 | 0
No action;Isolated pipe107;Isolated pipe292; | 0.34621 | 0
No action;Isolated pipe95;Isolated pipe180;Isolated pipe198;Isolated pipe261; | 0.38488 | 0
No action;Isolated pipe108;Isolated pipe281; | 0.39209 | 0
No action; | 0.39213 | 0
No action; | 0.39214 | 0
No action; | 0.39215 | 0
No action; | 0.39215 | 0
No action; | 0.39215 | 0
No action; | 0.39215 | 0
No action; | 0.39215 | 0
No action; | 0.39215 | 0
No action; | 0.39215 | 0
No action;-Isolated-pipe290;Repaired pipe290;-Isolated-pipe292;Replaced pipe292; | 0.65279 | 0
No action; | 0.65391 | 0
No action; | 0.65404 | 0
No action; | 0.65409 | 0
No action; | 0.6541 | 0
No action; | 0.6541 | 0
No action; | 0.6541 | 0
No action;-Isolated-pipe180;Replaced pipe180;-Isolated-pipe183;Repaired pipe183; | 0.68188 | 0
No action; | 0.68188 | 0
No action; | 0.68188 | 0
No action; | 0.68188 | 0
No action; | 0.68188 | 0
No action; | 0.68188 | 0
No action; | 0.68188 | 0
No action;-Isolated-pipe156;Repaired pipe156;-Isolated-pipe179;Repaired pipe179; | 0.70194 | 0
No action; | 0.70194 | 0
No action; | 0.70194 | 0
No action; | 0.70194 | 0
No action; | 0.70194 | 0
No action; | 0.70194 | 0
No action;-Isolated-pipe149;Repaired pipe149;-Isolated-pipe219;Repaired pipe219; | 0.71775 | 0
No action; | 0.71775 | 0
No action; | 0.71775 | 0
No action; | 0.71775 | 0
No action; | 0.71775 | 0
No action; | 0.71775 | 0
No action;-Isolated-pipe177;Repaired pipe177;-Isolated-pipe192;Repaired pipe192; | 0.73349 | 0
No action; | 0.73349 | 0
No action; | 0.73349 | 0
No action; | 0.73349 | 0
No action; | 0.73349 | 0
No action; | 0.73349 | 0
No action;-Isolated-pipe170;Repaired pipe170;-Isolated-pipe281;Replaced pipe281; | 0.7533 | 0
No action; | 0.7533 | 0
No action; | 0.7533 | 0
No action; | 0.7533 | 0
No action; | 0.7533 | 0
No action;-Isolated-pipe59;Repaired pipe59;-Isolated-pipe257;Repaired pipe257; | 0.7672 | 0
No action; | 0.7672 | 0
No action; | 0.7672 | 0
No action; | 0.7672 | 0
No action; | 0.7672 | 0
No action;-Isolated-pipe121;Repaired pipe121;-Isolated-pipe169;Repaired pipe169; | 0.77963 | 0
No action; | 0.77963 | 0
No action; | 0.77963 | 0
No action; | 0.77963 | 0
No action; | 0.77963 | 0
No action;-Isolated-pipe120;Repaired pipe120;-Isolated-pipe125;Repaired pipe125; | 0.78869 | 0
No action; | 0.78869 | 0
No action; | 0.78869 | 0
No action; | 0.78869 | 0
No action; | 0.78869 | 0
No action;-Isolated-pipe187;Repaired pipe187; | 0.79447 | 0
No action; | 0.79447 | 0
No action;-Isolated-pipe21;Repaired pipe21; | 0.8023 | 0
No action; | 0.8023 | 0
No action; | 0.8023 | 0
No action;-Isolated-pipe205;Repaired pipe205; | 0.80762 | 0
No action; | 0.80762 | 0
No action;-Isolated-pipe195;Repaired pipe195; | 0.81392 | 0
No action; | 0.81392 | 0
No action; | 0.81392 | 0
No action; | 0.81392 | 0
No action; | 0.81392 | 0
No action;-Isolated-pipe15;Repaired pipe15;-Isolated-pipe35;Repaired pipe35; | 0.8269 | 0
No action; | 0.8269 | 0
No action; | 0.8269 | 0
No action; | 0.8269 | 0
No action; | 0.8269 | 0
No action;-Isolated-pipe14;Repaired pipe14;-Isolated-pipe144;Repaired pipe144; | 0.83699 | 0
No action; | 0.83699 | 0
No action; | 0.83699 | 0
No action; | 0.83699 | 0
No action;-Isolated-pipe27;Repaired pipe27; | 0.84158 | 0
No action; | 0.84158 | 0
No action; | 0.84158 | 0
No action;-Isolated-pipe38;Repaired pipe38; | 0.84904 | 0
No action; | 0.84904 | 0
No action; | 0.84904 | 0
No action; | 0.84904 | 0
No action;-Isolated-pipe39;Repaired pipe39; | 0.85809 | 0
No action; | 0.85809 | 0
No action; | 0.85809 | 0
No action;-Isolated-pipe45;Repaired pipe45; | 0.8669 | 0
No action; | 0.8669 | 0
No action; | 0.8669 | 0
No action; | 0.8669 | 0
No action;-Isolated-pipe46;Repaired pipe46; | 0.87926 | 0
No action;-Isolated-pipe51;Repaired pipe51; | 0.88809 | 0
No action; | 0.88809 | 0
No action; | 0.88809 | 0
No action;-Isolated-pipe248;Repaired pipe248; | 0.89279 | 0
No action; | 0.89279 | 0
No action;-Isolated-pipe271;Repaired pipe271; | 0.89763 | 0
No action; | 0.89763 | 0
No action; | 0.89763 | 0
No action;-Isolated-pipe18;Repaired pipe18; | 0.90257 | 0
No action;-Isolated-pipe201;Repaired pipe201; | 0.9073 | 0
No action; | 0.9073 | 0
No action; | 0.9073 | 0
No action;-Isolated-pipe259;Repaired pipe259; | 0.91213 | 0
No action;-Isolated-pipe194;Repaired pipe194; | 0.91676 | 0
No action; | 0.91676 | 0
No action; | 0.91676 | 0
No action;-Isolated-pipe222;Repaired pipe222; | 0.92115 | 0
No action; | 0.92115 | 0
No action;-Isolated-pipe264;Repaired pipe264; | 0.92555 | 0
No action; | 0.92555 | 0
No action;-Isolated-pipe211;Repaired pipe211; | 0.93 | 0
No action; | 0.93 | 0
No action; | 0.93 | 0
No action;-Isolated-pipe107;Replaced pipe107; | 0.93518 | 0
No action; | 0.93518 | 0
No action;-Isolated-pipe283;Repaired pipe283; | 0.93859 | 0
No action; | 0.93859 | 0
No action;-Isolated-pipe188;Repaired pipe188; | 0.94198 | 0
No action; | 0.94198 | 0
No action; | 0.94198 | 0
No action; | 0.94198 | 0
No action;-Isolated-pipe189;Repaired pipe189; | 0.94555 | 0
No action;-Isolated-pipe139;Repaired pipe139; | 0.95097 | 0
No action; | 0.95097 | 0
No action; | 0.95097 | 0
No action;-Isolated-pipe94;Repaired pipe94; | 0.95377 | 0
No action;-Isolated-pipe296;Repaired pipe296; | 0.95694 | 0
No action; | 0.95694 | 0
No action; | 0.95694 | 0
No action; | 0.95694 | 0
No action;-Isolated-pipe73;Repaired pipe73;-Isolated-pipe226;Repaired pipe226; | 0.96226 | 0
No action; | 0.96226 | 0
No action; | 0.96226 | 0
No action; | 0.96226 | 0
No action;-Isolated-pipe75;Repaired pipe75; | 0.96545 | 0
No action;-Isolated-pipe79;Repaired pipe79; | 0.96817 | 0
No action; | 0.96817 | 0
No action; | 0.96817 | 0
No action;-Isolated-pipe90;Repaired pipe90; | 0.97072 | 0
No action;-Isolated-pipe231;Repaired pipe231; | 0.97356 | 0
No action; | 0.97356 | 0
No action; | 0.97356 | 0
No action; | 0.97356 | 0
No action;-Isolated-pipe82;Repaired pipe82;-Isolated-pipe83;Repaired pipe83; | 0.98022 | 0
No action; | 0.98022 | 0
No action; | 0.98022 | 0
No action; | 0.98022 | 0
No action;-Isolated-pipe84;Repaired pipe84;-Isolated-pipe86;Repaired pipe86; | 0.98786 | 0
No action; | 0.98786 | 0
No action; | 0.98786 | 0
No action; | 0.98786 | 0
No action;-Isolated-pipe32;Repaired pipe32; | 0.99002 | 0
No action;-Isolated-pipe198;Replaced pipe198; | 0.99229 | 0
No action; | 0.99229 | 0
No action; | 0.99229 | 0
No action;-Isolated-pipe234;Repaired pipe234; | 0.99364 | 0
No action; | 0.99364 | 0
No action;-Isolated-pipe301;Repaired pipe301; | 0.99516 | 0
No action; | 0.99516 | 0
No action; | 0.99516 | 0
No action;-Isolated-pipe108;Replaced pipe108; | 0.99675 | 0
No action;-Isolated-pipe303;Repaired pipe303; | 0.99782 | 0
No action; | 0.99782 | 0
No action; | 0.99782 | 0
No action;-Isolated-pipe309;Repaired pipe309; | 0.99867 | 0
No action; | 0.99867 | 0
No action; | 0.99867 | 0
No action; | 0.99867 | 0
No action;-Isolated-pipe64;Repaired pipe64; | 0.99964 | 0
No action; | 0.99964 | 0
No action; | 0.99964 | 0
No action;-Isolated-pipe138;Repaired pipe138; | 1 | 0
No action;-Isolated-pipe96;Repaired pipe96; | 1 | 0
No action; | 1 | 0
No action; | 1 | 0
No action;-Isolated-pipe95;Replaced pipe95; | 1 | 0
No action; | 1 | 0
No action; | 1 | 0
No action;-Isolated-pipe134;Repaired pipe134; | 1 | 0
No action; | 1 | 0
No action;-Isolated-pipe261;Replaced pipe261; | 1 | 0
No action; | 1 | 0
No action;-Isolated-pipe312;Repaired pipe312; | 1 | 0

## Scenario5
No action; | 0.16561 | 0
No action;Isolated pipe38;Isolated pipe64; | 0.1933 | 0
No action;Isolated pipe121;Isolated pipe122;Isolated pipe199;Isolated pipe279; | 0.22286 | 0
No action;Isolated pipe59;Isolated pipe163;Isolated pipe166;Isolated pipe295; | 0.23248 | 0
No action;Isolated pipe88;Isolated pipe175;Isolated pipe259;Isolated pipe275; | 0.23904 | 0
No action;Isolated pipe82;Isolated pipe147;Isolated pipe226;Isolated pipe255; | 0.25129 | 6
No action;Isolated pipe103;Isolated pipe194;Isolated pipe309;Isolated pipe335; | 0.2536 | 0
No action; | 0.25365 | 0
No action; | 0.25367 | 0
No action; | 0.25367 | 0
No action; | 0.25367 | 0
No action; | 0.25367 | 0
No action; | 0.25367 | 0
No action;-Isolated-pipe64;Replaced pipe64; | 0.29011 | 0
No action; | 0.29011 | 0
No action; | 0.29011 | 0
No action; | 0.29011 | 0
No action; | 0.29011 | 0
No action;-Isolated-pipe335;Replaced pipe335; | 0.59124 | 0
No action; | 0.59133 | 0
No action;-Isolated-pipe163;Replaced pipe163; | 0.63683 | 0
No action; | 0.63786 | 0
No action; | 0.63798 | 0
No action; | 0.63801 | 0
No action;-Isolated-pipe166;Replaced pipe166; | 0.65645 | 0
No action; | 0.65645 | 0
No action; | 0.65645 | 0
No action; | 0.65645 | 0
No action; | 0.65645 | 0
No action; | 0.65645 | 0
No action;-Isolated-pipe157;Repaired pipe157; | 0.67988 | 0
No action;-Isolated-pipe179;Repaired pipe179; | 0.69539 | 0
No action; | 0.69539 | 0
No action; | 0.69539 | 0
No action; | 0.69539 | 0
No action;-Isolated-pipe103;Replaced pipe103; | 0.71283 | 0
No action;-Isolated-pipe59;Replaced pipe59; | 0.72479 | 0
No action; | 0.72483 | 0
No action; | 0.72486 | 0
No action; | 0.72487 | 0
No action; | 0.72487 | 0
No action;-Isolated-pipe101;Repaired pipe101; | 0.72997 | 0
No action;-Isolated-pipe114;Repaired pipe114; | 0.73849 | 0
No action; | 0.73849 | 0
No action; | 0.73849 | 0
No action; | 0.73849 | 0
No action; | 0.73849 | 0
No action;-Isolated-pipe107;Repaired pipe107;-Isolated-pipe149;Repaired pipe149; | 0.75583 | 0
No action; | 0.75583 | 0
No action; | 0.75583 | 0
No action; | 0.75583 | 0
No action; | 0.75583 | 0
No action; | 0.75583 | 0
No action;-Isolated-pipe192;Repaired pipe192;-Isolated-pipe257;Repaired pipe257; | 0.7729 | 0
No action; | 0.7729 | 0
No action; | 0.7729 | 0
No action; | 0.7729 | 0
No action; | 0.7729 | 0
No action;-Isolated-pipe60;Repaired pipe60; | 0.78001 | 0
No action; | 0.78005 | 0
No action;-Isolated-pipe22;Repaired pipe22; | 0.78929 | 0
No action; | 0.78931 | 0
No action; | 0.78931 | 0
No action;-Isolated-pipe226;Replaced pipe226; | 0.8009 | 0
No action; | 0.80091 | 0
No action;-Isolated-pipe224;Repaired pipe224; | 0.80226 | 0
No action; | 0.80226 | 0
No action; | 0.80226 | 0
No action;-Isolated-pipe206;Repaired pipe206; | 0.80778 | 0
No action; | 0.80778 | 0
No action;-Isolated-pipe208;Repaired pipe208; | 0.81439 | 0
No action; | 0.81439 | 0
No action; | 0.81439 | 0
No action;-Isolated-pipe196;Repaired pipe196; | 0.82161 | 0
No action; | 0.82161 | 0
No action; | 0.82161 | 0
No action; | 0.82161 | 0
No action;-Isolated-pipe20;Repaired pipe20; | 0.83059 | 0
No action;-Isolated-pipe18;Repaired pipe18; | 0.83558 | 0
No action; | 0.83558 | 0
No action; | 0.83558 | 0
No action;-Isolated-pipe26;Repaired pipe26; | 0.84056 | 0
No action;-Isolated-pipe124;Repaired pipe124; | 0.84538 | 0
No action; | 0.84538 | 0
No action; | 0.84538 | 0
No action; | 0.84538 | 0
No action;-Isolated-pipe185;Repaired pipe185; | 0.85108 | 0
No action; | 0.85108 | 0
No action; | 0.85108 | 0
No action;-Isolated-pipe36;Repaired pipe36; | 0.85938 | 0
No action; | 0.85943 | 0
No action; | 0.85945 | 0
No action; | 0.85946 | 0
No action;-Isolated-pipe6;Repaired pipe6;-Isolated-pipe68;Repaired pipe68; | 0.87124 | 0
No action; | 0.87124 | 0
No action; | 0.87124 | 0
No action; | 0.87124 | 0
No action; | 0.87124 | 0
No action;-Isolated-pipe56;Repaired pipe56;-Isolated-pipe282;Repaired pipe282; | 0.8795 | 0
No action; | 0.8795 | 0
No action; | 0.8795 | 0
No action; | 0.8795 | 0
No action; | 0.8795 | 0
No action; | 0.8795 | 0
No action; | 0.8795 | 0
No action;-Isolated-pipe38;Replaced pipe38;-Isolated-pipe42;Repaired pipe42; | 0.90279 | 0
No action; | 0.90283 | 0
No action; | 0.90284 | 0
No action; | 0.90284 | 0
No action; | 0.90284 | 0
No action;-Isolated-pipe49;Repaired pipe49; | 0.90676 | 0
No action; | 0.90676 | 0
No action;-Isolated-pipe45;Repaired pipe45; | 0.91544 | 0
No action; | 0.91544 | 0
No action; | 0.91544 | 0
No action; | 0.91544 | 0
No action;-Isolated-pipe48;Repaired pipe48;-Isolated-pipe55;Repaired pipe55; | 0.92708 | 0
No action; | 0.92709 | 0
No action; | 0.92709 | 0
No action; | 0.92709 | 0
No action;-Isolated-pipe29;Repaired pipe29;-Isolated-pipe284;Repaired pipe284; | 0.93519 | 0
No action; | 0.93519 | 0
No action; | 0.93519 | 0
No action; | 0.93519 | 0
No action;-Isolated-pipe78;Repaired pipe78; | 0.93958 | 0
No action;-Isolated-pipe81;Repaired pipe81; | 0.94534 | 0
No action; | 0.94534 | 0
No action; | 0.94534 | 0
No action; | 0.94534 | 0
No action;-Isolated-pipe11;Repaired pipe11;-Isolated-pipe279;Replaced pipe279; | 0.95267 | 0
No action; | 0.95267 | 0
No action; | 0.95267 | 0
No action; | 0.95267 | 0
No action;-Isolated-pipe181;Repaired pipe181;-Isolated-pipe229;Repaired pipe229; | 0.9589 | 0
No action; | 0.9589 | 0
No action; | 0.9589 | 0
No action; | 0.9589 | 0
No action;-Isolated-pipe122;Replaced pipe122; | 0.96096 | 0
No action;-Isolated-pipe127;Repaired pipe127; | 0.9658 | 0
No action; | 0.9658 | 0
No action; | 0.9658 | 0
No action; | 0.9658 | 0
No action;-Isolated-pipe97;Repaired pipe97;-Isolated-pipe245;Repaired pipe245; | 0.97165 | 0
No action; | 0.97165 | 0
No action; | 0.97165 | 0
No action; | 0.97165 | 0
No action;-Isolated-pipe93;Repaired pipe93; | 0.9745 | 0
No action;-Isolated-pipe303;Repaired pipe303; | 0.97697 | 0
No action; | 0.97697 | 0
No action; | 0.97697 | 0
No action;-Isolated-pipe188;Repaired pipe188; | 0.97933 | 0
No action;-Isolated-pipe182;Repaired pipe182; | 0.98171 | 0
No action; | 0.98171 | 0
No action; | 0.98171 | 0
No action; | 0.98171 | 0
No action;-Isolated-pipe70;Repaired pipe70;-Isolated-pipe87;Repaired pipe87; | 0.98595 | 0
No action; | 0.98595 | 0
No action; | 0.98595 | 0
No action; | 0.98595 | 0
No action; | 0.98595 | 0
No action;-Isolated-pipe121;Replaced pipe121;-Isolated-pipe175;Replaced pipe175; | 0.99176 | 0
No action; | 0.99177 | 0
No action; | 0.99177 | 0
No action; | 0.99177 | 0
No action;-Isolated-pipe89;Repaired pipe89;-Isolated-pipe288;Repaired pipe288; | 0.99475 | 0
No action; | 0.99475 | 0
No action; | 0.99475 | 0
No action; | 0.99475 | 0
No action;-Isolated-pipe259;Replaced pipe259; | 0.99626 | 0
No action;-Isolated-pipe82;Replaced pipe82; | 0.99736 | 0
No action; | 0.99736 | 0
No action; | 0.99736 | 0
No action;-Isolated-pipe2;Repaired pipe2; | 0.99842 | 0
No action;-Isolated-pipe199;Replaced pipe199; | 0.99931 | 0
No action; | 0.99931 | 0
No action; | 0.99931 | 0
No action; | 0.99931 | 0
No action;-Isolated-pipe309;Replaced pipe309; | 0.99958 | 0
No action;-Isolated-pipe255;Replaced pipe255; | 0.99983 | 0
No action; | 0.99983 | 0
No action; | 0.99983 | 0
No action;-Isolated-pipe88;Replaced pipe88; | 0.99988 | 0
No action;-Isolated-pipe194;Replaced pipe194; | 0.99996 | 0
No action; | 0.99996 | 0
No action; | 0.99996 | 0
No action;-Isolated-pipe275;Replaced pipe275; | 1 | 0
No action; | 1 | 0
No action;-Isolated-pipe298;Repaired pipe298; | 1 | 0
No action; | 1 | 0
No action;-Isolated-pipe147;Replaced pipe147; | 1 | 0
No action; | 1 | 0
No action;-Isolated-pipe295;Replaced pipe295; | 1 | 0
No action; | 1 | 0
No action; | 1 | 0
No action; | 1 | 0
No action; | 1 | 0
No action; | 1 | 0
No action;-Isolated-pipe330;Repaired pipe330; | 1 | 0

## Scenario6
No action; | 0.29604 | 0
No action;Isolated pipe101;Isolated pipe226; | 0.33306 | 0
No action;Isolated pipe116;Isolated pipe154;Isolated pipe160;Isolated pipe309; | 0.38862 | 0
No action;Isolated pipe211;Isolated pipe217;Isolated pipe260;Isolated pipe280; | 0.43104 | 2
No action;Isolated pipe70;Isolated pipe237;Isolated pipe254;Isolated pipe255; | 0.4647 | 2
No action;Isolated pipe56;Isolated pipe126;Isolated pipe135;Isolated pipe272; | 0.49679 | 2
No action;Isolated pipe7;Isolated pipe13;Isolated pipe144;Isolated pipe174; | 0.53114 | 2
No action;Isolated pipe2;Isolated pipe28;Isolated pipe40;Isolated pipe198; | 0.56566 | 0
No action;Isolated pipe55;Isolated pipe93;Isolated pipe295;Isolated pipe297; | 0.58997 | 6
No action;Isolated pipe71;Isolated pipe125;Isolated pipe232;Isolated pipe266; | 0.598 | 1
No action;Isolated pipe54;Isolated pipe73; | 0.59888 | 2
No action; | 0.60104 | 1
No action; | 0.60497 | 1
No action; | 0.60499 | 2
No action; | 0.60499 | 2
No action;-Isolated-pipe101;Replaced pipe101; | 0.63359 | 2
No action; | 0.63359 | 2
No action;-Isolated-pipe135;Replaced pipe135; | 0.68987 | 0
No action; | 0.68999 | 0
No action; | 0.69 | 0
No action; | 0.69 | 0
No action; | 0.69 | 0
No action;-Isolated-pipe126;Replaced pipe126; | 0.71295 | 0
No action;-Isolated-pipe40;Replaced pipe40; | 0.74099 | 0
No action; | 0.74103 | 0
No action; | 0.74104 | 0
No action; | 0.74104 | 0
No action;-Isolated-pipe123;Repaired pipe123; | 0.74746 | 0
No action;-Isolated-pipe257;Repaired pipe257; | 0.75521 | 0
No action; | 0.75521 | 0
No action; | 0.75521 | 0
No action;-Isolated-pipe288;Repaired pipe288; | 0.75796 | 0
No action; | 0.75796 | 0
No action; | 0.75796 | 0
No action; | 0.75796 | 0
No action;-Isolated-pipe21;Repaired pipe21; | 0.76356 | 0
No action; | 0.76356 | 0
No action;-Isolated-pipe170;Repaired pipe170; | 0.7707 | 0
No action; | 0.7707 | 0
No action; | 0.7707 | 0
No action; | 0.7707 | 0
No action; | 0.7707 | 0
No action;-Isolated-pipe37;Repaired pipe37; | 0.77932 | 0
No action; | 0.77932 | 0
No action;-Isolated-pipe183;Repaired pipe183; | 0.79334 | 0
No action; | 0.79334 | 0
No action; | 0.79334 | 0
No action; | 0.79334 | 0
No action;-Isolated-pipe102;Repaired pipe102; | 0.80271 | 0
No action; | 0.80271 | 0
No action; | 0.80271 | 0
No action;-Isolated-pipe180;Repaired pipe180; | 0.81917 | 0
No action; | 0.81917 | 0
No action; | 0.81917 | 0
No action; | 0.81917 | 0
No action;-Isolated-pipe39;Repaired pipe39;-Isolated-pipe253;Repaired pipe253; | 0.83447 | 0
No action; | 0.83447 | 0
No action; | 0.83447 | 0
No action; | 0.83447 | 0
No action;-Isolated-pipe216;Repaired pipe216; | 0.83902 | 0
No action; | 0.83902 | 0
No action;-Isolated-pipe154;Replaced pipe154; | 0.84758 | 0
No action; | 0.84758 | 0
No action; | 0.84758 | 0
No action; | 0.84758 | 0
No action;-Isolated-pipe177;Repaired pipe177;-Isolated-pipe226;Replaced pipe226; | 0.86775 | 1
No action; | 0.86775 | 2
No action; | 0.86775 | 2
No action; | 0.869 | 1
No action;-Isolated-pipe93;Replaced pipe93;-Isolated-pipe213;Repaired pipe213; | 0.87519 | 2
No action; | 0.87519 | 1
No action; | 0.87522 | 1
No action; | 0.87522 | 1
No action; | 0.87522 | 1
No action;-Isolated-pipe280;Replaced pipe280; | 0.88423 | 0
No action;-Isolated-pipe195;Repaired pipe195; | 0.89105 | 0
No action; | 0.89105 | 0
No action; | 0.89105 | 0
No action; | 0.89105 | 0
No action;-Isolated-pipe47;Repaired pipe47;-Isolated-pipe86;Repaired pipe86; | 0.90247 | 0
No action; | 0.90247 | 0
No action; | 0.90247 | 0
No action; | 0.90247 | 0
No action; | 0.90247 | 0
No action;-Isolated-pipe18;Repaired pipe18;-Isolated-pipe269;Repaired pipe269; | 0.91232 | 0
No action; | 0.91232 | 0
No action; | 0.91232 | 0
No action; | 0.91232 | 0
No action;-Isolated-pipe201;Repaired pipe201;-Isolated-pipe274;Repaired pipe274; | 0.92137 | 0
No action; | 0.92137 | 0
No action; | 0.92137 | 0
No action; | 0.92137 | 0
No action;-Isolated-pipe24;Repaired pipe24; | 0.9252 | 0
No action; | 0.9252 | 0
No action;-Isolated-pipe166;Repaired pipe166; | 0.92954 | 0
No action; | 0.92954 | 0
No action; | 0.92954 | 0
No action;-Isolated-pipe260;Replaced pipe260; | 0.93489 | 0
No action; | 0.93489 | 0
No action;-Isolated-pipe58;Repaired pipe58; | 0.93902 | 0
No action; | 0.93902 | 0
No action;-Isolated-pipe182;Repaired pipe182; | 0.94248 | 0
No action; | 0.94248 | 0
No action;-Isolated-pipe189;Repaired pipe189; | 0.94549 | 0
No action; | 0.94549 | 0
No action;-Isolated-pipe94;Repaired pipe94; | 0.94821 | 0
No action; | 0.94821 | 0
No action;-Isolated-pipe73;Replaced pipe73; | 0.95617 | 0
No action; | 0.95617 | 0
No action;-Isolated-pipe56;Replaced pipe56; | 0.96007 | 0
No action; | 0.96007 | 0
No action; | 0.96007 | 0
No action; | 0.96007 | 0
No action; | 0.96007 | 0
No action;-Isolated-pipe68;Repaired pipe68;-Isolated-pipe232;Replaced pipe232; | 0.96335 | 0
No action; | 0.96335 | 0
No action; | 0.96335 | 0
No action; | 0.96335 | 0
No action; | 0.96335 | 0
No action;-Isolated-pipe165;Repaired pipe165;-Isolated-pipe305;Repaired pipe305; | 0.9693 | 0
No action; | 0.9693 | 0
No action; | 0.9693 | 0
No action; | 0.9693 | 0
No action;-Isolated-pipe301;Repaired pipe301; | 0.97151 | 0
No action;-Isolated-pipe174;Replaced pipe174; | 0.97374 | 0
No action; | 0.97375 | 0
No action; | 0.97375 | 0
No action; | 0.97375 | 0
No action;-Isolated-pipe272;Replaced pipe272; | 0.97608 | 0
No action; | 0.97608 | 0
No action; | 0.97608 | 0
No action; | 0.97608 | 0
No action;-Isolated-pipe125;Replaced pipe125; | 0.97849 | 0
No action; | 0.97849 | 0
No action;-Isolated-pipe291;Repaired pipe291; | 0.98078 | 0
No action; | 0.98078 | 0
No action;-Isolated-pipe11;Repaired pipe11; | 0.98192 | 0
No action; | 0.98192 | 0
No action;-Isolated-pipe55;Replaced pipe55; | 0.98192 | 0
No action; | 0.98336 | 0
No action; | 0.98336 | 0
No action;-Isolated-pipe160;Replaced pipe160; | 0.98421 | 0
No action; | 0.98421 | 0
No action; | 0.98421 | 0
No action; | 0.98421 | 0
No action;-Isolated-pipe266;Replaced pipe266; | 0.98509 | 0
No action;-Isolated-pipe66;Repaired pipe66; | 0.98668 | 0
No action; | 0.98668 | 0
No action; | 0.98668 | 0
No action;-Isolated-pipe217;Replaced pipe217; | 0.9875 | 0
No action; | 0.9875 | 0
No action;-Isolated-pipe198;Replaced pipe198; | 0.98802 | 0
No action; | 0.98802 | 0
No action;-Isolated-pipe2;Replaced pipe2; | 0.98854 | 0
No action; | 0.98854 | 0
No action;-Isolated-pipe7;Replaced pipe7; | 0.98927 | 0
No action; | 0.98927 | 0
No action; | 0.98927 | 0
No action;-Isolated-pipe54;Replaced pipe54; | 0.98958 | 0
No action;-Isolated-pipe13;Replaced pipe13; | 0.98978 | 0
No action; | 0.98978 | 0
No action; | 0.98978 | 0
No action;-Isolated-pipe211;Replaced pipe211; | 0.99009 | 0
No action;-Isolated-pipe144;Replaced pipe144; | 0.99049 | 0
No action; | 0.99049 | 0
No action; | 0.99049 | 0
No action;-Isolated-pipe295;Replaced pipe295; | 0.99061 | 0
No action; | 0.99061 | 0
No action;-Isolated-pipe255;Replaced pipe255; | 0.99068 | 0
No action; | 0.99068 | 0
No action; | 0.99068 | 0
No action;-Isolated-pipe116;Replaced pipe116; | 0.99085 | 0
No action; | 0.99085 | 0
No action;-Isolated-pipe70;Replaced pipe70; | 0.99089 | 0
No action; | 0.99089 | 0
No action;-Isolated-pipe71;Replaced pipe71; | 1 | 0
No action; | 1 | 0
No action;-Isolated-pipe28;Replaced pipe28; | 1 | 0
No action; | 1 | 0
No action;-Isolated-pipe254;Replaced pipe254; | 1 | 0
No action; | 1 | 0
No action;-Isolated-pipe237;Replaced pipe237; | 1 | 0
No action; | 1 | 0
No action;-Isolated-pipe312;Repaired pipe312; | 1 | 0
No action; | 1 | 0
No action; | 1 | 0
No action;-Isolated-pipe309;Replaced pipe309; | 1 | 0
No action; | 1 | 0
No action;-Isolated-pipe310;Repaired pipe310; | 1 | 0
No action; | 1 | 0
No action;-Isolated-pipe297;Replaced pipe297; | 1 | 0

## Scenario7
No action; | 0.19973 | 0
No action;Isolated pipe34;Isolated pipe239; | 0.24283 | 1
No action;Isolated pipe24;Isolated pipe59;Isolated pipe292;Isolated pipe298; | 0.27667 | 0
No action;Isolated pipe224;Isolated pipe265;Isolated pipe279;Isolated pipe313; | 0.29544 | 0
No action;Isolated pipe37;Isolated pipe40;Isolated pipe78;Isolated pipe194; | 0.29756 | 0
No action; | 0.29756 | 0
No action; | 0.29756 | 0
No action; | 0.29756 | 0
No action; | 0.29756 | 0
No action; | 0.29756 | 0
No action; | 0.29756 | 0
No action;-Isolated-pipe313;Replaced pipe313; | 0.29828 | 0
No action; | 0.29828 | 0
No action; | 0.29828 | 0
No action; | 0.29828 | 0
No action;-Isolated-pipe292;Replaced pipe292; | 0.50602 | 0
No action; | 0.50627 | 0
No action; | 0.50636 | 0
No action; | 0.5064 | 0
No action; | 0.50641 | 0
No action; | 0.50642 | 0
No action;-Isolated-pipe59;Replaced pipe59;-Isolated-pipe158;Repaired pipe158; | 0.53674 | 0
No action; | 0.53681 | 0
No action; | 0.53684 | 0
No action; | 0.53693 | 0
No action; | 0.53694 | 0
No action; | 0.53694 | 0
No action; | 0.53694 | 0
No action;-Isolated-pipe155;Repaired pipe155;-Isolated-pipe162;Repaired pipe162; | 0.55534 | 0
No action; | 0.55534 | 0
No action; | 0.55534 | 0
No action; | 0.55534 | 0
No action; | 0.55534 | 0
No action; | 0.55534 | 0
No action; | 0.55534 | 0
No action;-Isolated-pipe179;Repaired pipe179;-Isolated-pipe183;Repaired pipe183; | 0.57328 | 0
No action; | 0.57328 | 0
No action; | 0.57328 | 0
No action; | 0.57328 | 0
No action; | 0.57328 | 0
No action;-Isolated-pipe103;Repaired pipe103; | 0.58046 | 0
No action;-Isolated-pipe191;Repaired pipe191; | 0.58728 | 0
No action; | 0.58728 | 0
No action; | 0.58728 | 0
No action; | 0.58728 | 0
No action; | 0.58728 | 0
No action;-Isolated-pipe107;Repaired pipe107;-Isolated-pipe149;Repaired pipe149; | 0.5993 | 0
No action; | 0.5993 | 0
No action; | 0.5993 | 0
No action; | 0.5993 | 0
No action; | 0.5993 | 0
No action;-Isolated-pipe224;Replaced pipe224; | 0.60692 | 0
No action;-Isolated-pipe166;Repaired pipe166; | 0.61169 | 0
No action; | 0.61169 | 0
No action; | 0.61169 | 0
No action; | 0.61169 | 0
No action;-Isolated-pipe110;Repaired pipe110; | 0.61686 | 0
No action; | 0.61686 | 0
No action; | 0.61686 | 0
No action;-Isolated-pipe22;Repaired pipe22; | 0.62397 | 0
No action; | 0.62397 | 0
No action;-Isolated-pipe177;Repaired pipe177; | 0.62934 | 0
No action; | 0.62934 | 0
No action; | 0.62934 | 0
No action; | 0.62934 | 0
No action;-Isolated-pipe171;Repaired pipe171; | 0.63529 | 0
No action;-Isolated-pipe187;Repaired pipe187; | 0.64025 | 0
No action; | 0.64025 | 0
No action; | 0.64025 | 0
No action; | 0.64025 | 0
No action;-Isolated-pipe185;Repaired pipe185; | 0.64532 | 0
No action;-Isolated-pipe108;Repaired pipe108; | 0.64967 | 0
No action; | 0.64967 | 0
No action; | 0.64967 | 0
No action; | 0.64967 | 0
No action;-Isolated-pipe169;Repaired pipe169;-Isolated-pipe223;Repaired pipe223; | 0.65823 | 0
No action; | 0.65823 | 0
No action; | 0.65823 | 0
No action; | 0.65823 | 0
No action; | 0.65823 | 0
No action;-Isolated-pipe218;Repaired pipe218; | 0.6634 | 0
No action;-Isolated-pipe197;Repaired pipe197; | 0.66835 | 0
No action; | 0.66838 | 0
No action; | 0.66839 | 0
No action; | 0.66839 | 0
No action;-Isolated-pipe222;Repaired pipe222; | 0.67187 | 0
No action;-Isolated-pipe165;Repaired pipe165; | 0.67714 | 0
No action; | 0.67714 | 0
No action; | 0.67714 | 0
No action;-Isolated-pipe182;Repaired pipe182; | 0.68088 | 0
No action; | 0.68088 | 0
No action;-Isolated-pipe188;Repaired pipe188; | 0.6847 | 0
No action; | 0.6847 | 0
No action; | 0.6847 | 0
No action;-Isolated-pipe175;Repaired pipe175; | 0.68902 | 0
No action;-Isolated-pipe275;Repaired pipe275; | 0.69268 | 0
No action; | 0.69268 | 0
No action; | 0.69268 | 0
No action;-Isolated-pipe274;Repaired pipe274; | 0.6964 | 0
No action; | 0.6964 | 0
No action;-Isolated-pipe256;Repaired pipe256; | 0.70073 | 0
No action; | 0.70073 | 0
No action;-Isolated-pipe116;Repaired pipe116; | 0.70438 | 0
No action; | 0.70438 | 0
No action;-Isolated-pipe210;Repaired pipe210; | 0.70774 | 0
No action; | 0.70774 | 0
No action; | 0.70774 | 0
No action;-Isolated-pipe214;Repaired pipe214; | 0.71135 | 0
No action; | 0.71135 | 0
No action; | 0.71135 | 0
No action;-Isolated-pipe63;Repaired pipe63; | 0.71433 | 0
No action; | 0.71433 | 0
No action;-Isolated-pipe58;Repaired pipe58; | 0.71739 | 0
No action; | 0.71739 | 0
No action; | 0.71739 | 0
No action; | 0.71739 | 0
No action;-Isolated-pipe143;Repaired pipe143;-Isolated-pipe288;Repaired pipe288; | 0.72456 | 0
No action; | 0.72456 | 0
No action; | 0.72456 | 0
No action; | 0.72456 | 0
No action; | 0.72456 | 0
No action;-Isolated-pipe241;Repaired pipe241; | 0.72848 | 0
No action; | 0.72848 | 0
No action;-Isolated-pipe141;Repaired pipe141; | 0.73439 | 0
No action; | 0.73439 | 0
No action;-Isolated-pipe147;Repaired pipe147; | 0.73773 | 0
No action; | 0.73773 | 0
No action;-Isolated-pipe144;Repaired pipe144; | 0.74107 | 0
No action; | 0.74107 | 0
No action; | 0.74107 | 0
No action;-Isolated-pipe145;Repaired pipe145; | 0.74468 | 0
No action;-Isolated-pipe173;Repaired pipe173; | 0.74797 | 0
No action; | 0.74797 | 0
No action; | 0.74797 | 0
No action;-Isolated-pipe27;Repaired pipe27; | 0.75125 | 0
No action;-Isolated-pipe26;Repaired pipe26; | 0.7547 | 0
No action; | 0.7547 | 0
No action; | 0.7547 | 0
No action;-Isolated-pipe247;Repaired pipe247; | 0.75795 | 0
No action; | 0.75795 | 0
No action; | 0.75795 | 0
No action;-Isolated-pipe205;Repaired pipe205; | 0.7614 | 0
No action;-Isolated-pipe253;Repaired pipe253; | 0.76486 | 0
No action; | 0.76486 | 0
No action; | 0.76486 | 0
No action;-Isolated-pipe248;Repaired pipe248; | 0.7683 | 0
No action; | 0.7683 | 0
No action;-Isolated-pipe258;Repaired pipe258; | 0.77162 | 0
No action; | 0.77162 | 0
No action;-Isolated-pipe270;Repaired pipe270; | 0.77513 | 0
No action; | 0.77516 | 0
No action;-Isolated-pipe283;Repaired pipe283; | 0.77784 | 0
No action; | 0.77784 | 0
No action;-Isolated-pipe259;Repaired pipe259; | 0.78105 | 0
No action; | 0.78105 | 0
No action;-Isolated-pipe251;Repaired pipe251; | 0.78436 | 0
No action; | 0.78436 | 0
No action; | 0.78436 | 0
No action;-Isolated-pipe252;Repaired pipe252; | 0.78793 | 0
No action; | 0.78793 | 0
No action;-Isolated-pipe204;Repaired pipe204; | 0.79131 | 0
No action; | 0.79131 | 0
No action;-Isolated-pipe203;Repaired pipe203; | 0.79475 | 0
No action; | 0.79475 | 0
No action;-Isolated-pipe13;Repaired pipe13; | 0.79792 | 0
No action; | 0.79792 | 0
No action;-Isolated-pipe12;Repaired pipe12; | 0.8013 | 0
No action; | 0.8013 | 0
No action;-Isolated-pipe267;Repaired pipe267; | 0.80467 | 0
No action; | 0.80467 | 0
No action;-Isolated-pipe264;Repaired pipe264; | 0.80758 | 0
No action; | 0.80758 | 0
No action;-Isolated-pipe276;Repaired pipe276; | 0.81089 | 0
No action; | 0.81089 | 0
No action; | 0.81089 | 0
No action;-Isolated-pipe277;Repaired pipe277; | 0.81443 | 0
No action; | 0.81443 | 0
No action;-Isolated-pipe263;Repaired pipe263; | 0.81861 | 0
No action; | 0.81862 | 0
No action;-Isolated-pipe305;Repaired pipe305; | 0.82143 | 0
No action; | 0.82143 | 0
No action;-Isolated-pipe124;Repaired pipe124; | 0.82439 | 0
No action; | 0.82439 | 0
No action;-Isolated-pipe266;Repaired pipe266; | 0.82777 | 0
No action; | 0.82777 | 0
No action;-Isolated-pipe56;Repaired pipe56; | 0.83203 | 0
No action; | 0.83209 | 0
No action; | 0.83212 | 0
No action;-Isolated-pipe121;Repaired pipe121; | 0.83574 | 0
No action; | 0.83574 | 0
No action;-Isolated-pipe127;Repaired pipe127; | 0.83952 | 0
No action; | 0.83952 | 0
No action; | 0.83952 | 0
No action;-Isolated-pipe128;Repaired pipe128; | 0.84329 | 0
No action;-Isolated-pipe7;Repaired pipe7; | 0.84641 | 0
No action; | 0.84641 | 0
No action; | 0.84641 | 0
No action; | 0.84641 | 0
No action;-Isolated-pipe119;Repaired pipe119; | 0.85007 | 0
No action;-Isolated-pipe120;Repaired pipe120; | 0.85409 | 0
No action; | 0.85409 | 0
No action; | 0.85409 | 0
No action; | 0.85409 | 0
No action;-Isolated-pipe5;Repaired pipe5;-Isolated-pipe130;Repaired pipe130; | 0.86249 | 0
No action; | 0.86249 | 0
No action; | 0.86249 | 0
No action; | 0.86249 | 0
No action;-Isolated-pipe6;Repaired pipe6;-Isolated-pipe246;Repaired pipe246; | 0.87101 | 0
No action; | 0.87101 | 0
No action; | 0.87101 | 0
No action; | 0.87101 | 0
No action;-Isolated-pipe244;Repaired pipe244; | 0.875 | 0
No action;-Isolated-pipe32;Repaired pipe32; | 0.87792 | 0
No action; | 0.87792 | 0
No action; | 0.87792 | 0
No action; | 0.87792 | 0
No action;-Isolated-pipe1;Repaired pipe1;-Isolated-pipe72;Repaired pipe72; | 0.88319 | 0
No action; | 0.88319 | 0
No action; | 0.88319 | 0
No action; | 0.88319 | 0
No action;-Isolated-pipe11;Repaired pipe11;-Isolated-pipe279;Replaced pipe279; | 0.89023 | 0
No action; | 0.89023 | 0
No action; | 0.89023 | 0
No action; | 0.89023 | 0
No action;-Isolated-pipe55;Repaired pipe55; | 0.89281 | 0
No action;-Isolated-pipe75;Repaired pipe75; | 0.89522 | 0
No action; | 0.89522 | 0
No action; | 0.89522 | 0
No action; | 0.89522 | 0
No action;-Isolated-pipe24;Replaced pipe24;-Isolated-pipe77;Repaired pipe77; | 0.9022 | 0
No action; | 0.9022 | 0
No action; | 0.9022 | 0
No action; | 0.9022 | 0
No action;-Isolated-pipe227;Repaired pipe227;-Isolated-pipe237;Repaired pipe237; | 0.90589 | 0
No action; | 0.90589 | 0
No action; | 0.90589 | 0
No action; | 0.90589 | 0
No action;-Isolated-pipe294;Repaired pipe294; | 0.90782 | 0
No action;-Isolated-pipe95;Repaired pipe95; | 0.90971 | 0
No action; | 0.90971 | 0
No action; | 0.90971 | 0
No action; | 0.90971 | 0
No action;-Isolated-pipe98;Repaired pipe98;-Isolated-pipe297;Repaired pipe297; | 0.91434 | 0
No action; | 0.91434 | 0
No action; | 0.91434 | 0
No action; | 0.91434 | 0
No action;-Isolated-pipe286;Repaired pipe286;-Isolated-pipe299;Repaired pipe299; | 0.91901 | 0
No action; | 0.91901 | 0
No action; | 0.91901 | 0
No action; | 0.91901 | 0
No action;-Isolated-pipe93;Repaired pipe93;-Isolated-pipe228;Repaired pipe228; | 0.92275 | 0
No action; | 0.92275 | 0
No action; | 0.92275 | 0
No action; | 0.92275 | 0
No action; | 0.92275 | 0
No action;-Isolated-pipe92;Repaired pipe92; | 0.92428 | 0
No action;-Isolated-pipe51;Repaired pipe51; | 0.9265 | 0
No action; | 0.9265 | 0
No action; | 0.9265 | 0
No action;-Isolated-pipe91;Repaired pipe91; | 0.92833 | 0
No action;-Isolated-pipe90;Repaired pipe90; | 0.93058 | 0
No action; | 0.93058 | 0
No action; | 0.93058 | 0
No action;-Isolated-pipe229;Repaired pipe229; | 0.93238 | 0
No action;-Isolated-pipe230;Repaired pipe230; | 0.93471 | 0
No action; | 0.93471 | 0
No action; | 0.93471 | 0
No action; | 0.93471 | 0
No action;-Isolated-pipe79;Repaired pipe79; | 0.93693 | 0
No action;-Isolated-pipe233;Repaired pipe233; | 0.93968 | 0
No action; | 0.93968 | 0
No action; | 0.93968 | 0
No action;-Isolated-pipe82;Repaired pipe82; | 0.9433 | 0
No action;-Isolated-pipe85;Repaired pipe85; | 0.94688 | 0
No action; | 0.94688 | 0
No action; | 0.94688 | 0
No action;-Isolated-pipe86;Repaired pipe86; | 0.95113 | 0
No action;-Isolated-pipe70;Repaired pipe70; | 0.9521 | 0
No action; | 0.9521 | 0
No action; | 0.9521 | 0
No action; | 0.9521 | 0
No action;-Isolated-pipe78;Replaced pipe78; | 0.95301 | 0
No action; | 0.95301 | 0
No action; | 0.95301 | 0
No action;-Isolated-pipe331;Repaired pipe331; | 0.95535 | 0
No action; | 0.95535 | 0
No action; | 0.95535 | 0
No action; | 0.95535 | 0
No action;-Isolated-pipe138;Repaired pipe138; | 0.95699 | 0
No action; | 0.95699 | 0
No action; | 0.95699 | 0
No action;-Isolated-pipe34;Replaced pipe34; | 0.95756 | 0
No action; | 0.95756 | 0
No action; | 0.95756 | 0
No action; | 0.95756 | 0
No action; | 0.95756 | 0
No action;-Isolated-pipe41;Repaired pipe41; | 0.95874 | 0
No action; | 0.95874 | 0
No action;-Isolated-pipe43;Repaired pipe43; | 0.96186 | 0
No action; | 0.96197 | 0
No action; | 0.96202 | 0
No action; | 0.96203 | 0
No action; | 0.96204 | 0
No action;-Isolated-pipe45;Repaired pipe45; | 0.96787 | 0
No action;-Isolated-pipe47;Repaired pipe47; | 0.97594 | 0
No action; | 0.97594 | 0
No action; | 0.97594 | 0
No action; | 0.97594 | 0
No action;-Isolated-pipe133;Repaired pipe133;-Isolated-pipe194;Replaced pipe194; | 0.97713 | 0
No action; | 0.97713 | 0
No action; | 0.97713 | 0
No action; | 0.97713 | 0
No action; | 0.97713 | 0
No action;-Isolated-pipe312;Repaired pipe312; | 0.97739 | 0
No action; | 0.97739 | 0
No action;-Isolated-pipe137;Repaired pipe137; | 0.97765 | 0
No action; | 0.97765 | 0
No action;-Isolated-pipe293;Repaired pipe293; | 0.97779 | 0
No action; | 0.97779 | 0
No action; | 0.97779 | 0
No action; | 0.97779 | 0
No action;-Isolated-pipe134;Repaired pipe134;-Isolated-pipe265;Replaced pipe265; | 0.97802 | 0
No action; | 0.97802 | 0
No action; | 0.97802 | 0
No action; | 0.97802 | 0
No action; | 0.97802 | 0
No action; | 0.97802 | 0
No action; | 0.97802 | 0
No action;-Isolated-pipe135;Repaired pipe135;-Isolated-pipe308;Repaired pipe308; | 0.97813 | 0
No action; | 0.97813 | 0
No action; | 0.97813 | 0
No action; | 0.97813 | 0
No action; | 0.97813 | 0
No action;-Isolated-pipe298;Replaced pipe298; | 0.97816 | 0
No action; | 0.97816 | 0
No action;-Isolated-pipe336;Repaired pipe336; | 0.97816 | 0
No action; | 0.97816 | 0
No action;-Isolated-pipe239;Replaced pipe239; | 0.97816 | 0
No action; | 0.97816 | 0
No action; | 0.97816 | 0
No action; | 0.97816 | 0
No action; | 0.97816 | 0
No action;-Isolated-pipe38;Repaired pipe38; | 0.97816 | 2
No action; | 0.97816 | 1
No action;-Isolated-pipe39;Repaired pipe39; | 0.97816 | 2
No action; | 0.97816 | 2
No action; | 0.97816 | 2
No action; | 0.97816 | 2
No action; | 0.97816 | 2
No action;-Isolated-pipe37;Replaced pipe37; | 0.98099 | 0
No action; | 0.98099 | 0
No action;-Isolated-pipe40;Replaced pipe40; | 1 | 0

## Scenario8
No action; | 0.13628 | 0
No action;Isolated pipe164;Isolated pipe225; | 0.16609 | 0
No action;Isolated pipe54;Isolated pipe80;Isolated pipe155;Isolated pipe185; | 0.18012 | 0
No action;Isolated pipe61;Isolated pipe178;Isolated pipe190;Isolated pipe282; | 0.2103 | 0
No action;Isolated pipe91;Isolated pipe131;Isolated pipe139;Isolated pipe244; | 0.2248 | 0
No action;Isolated pipe73;Isolated pipe130;Isolated pipe274;Isolated pipe284; | 0.23241 | 0
No action;Isolated pipe14;Isolated pipe15;Isolated pipe112;Isolated pipe277; | 0.23456 | 1
No action;Isolated pipe78;Isolated pipe107;Isolated pipe169;Isolated pipe189; | 0.23585 | 0
No action;Isolated pipe13;Isolated pipe87;Isolated pipe100;Isolated pipe303; | 0.24263 | 0
No action;Isolated pipe82;Isolated pipe114;Isolated pipe204;Isolated pipe304; | 0.24463 | 0
No action;Isolated pipe12;Isolated pipe68;Isolated pipe104;Isolated pipe177; | 0.24869 | 0
No action;Isolated pipe4;Isolated pipe24;Isolated pipe128;Isolated pipe331; | 0.24869 | 0
No action; | 0.24869 | 0
No action; | 0.24869 | 0
No action; | 0.24869 | 0
No action; | 0.24869 | 0
No action; | 0.24869 | 0
No action;-Isolated-pipe100;Replaced pipe100; | 0.30442 | 2
No action; | 0.30442 | 0
No action; | 0.30442 | 0
No action;-Isolated-pipe331;Replaced pipe331; | 0.37592 | 0
No action; | 0.37593 | 0
No action; | 0.37593 | 0
No action; | 0.37593 | 0
No action;-Isolated-pipe68;Replaced pipe68; | 0.42221 | 1
No action; | 0.42221 | 1
No action; | 0.4228 | 6
No action;-Isolated-pipe139;Replaced pipe139; | 0.46174 | 2
No action; | 0.46177 | 1
No action; | 0.46177 | 1
No action;-Isolated-pipe61;Replaced pipe61; | 0.49038 | 1
No action; | 0.49038 | 2
No action; | 0.49038 | 1
No action; | 0.49038 | 2
No action;-Isolated-pipe164;Replaced pipe164; | 0.52074 | 0
No action;-Isolated-pipe257;Repaired pipe257; | 0.52458 | 1
No action; | 0.52458 | 0
No action; | 0.52458 | 2
No action; | 0.52458 | 2
No action; | 0.52458 | 1
No action;-Isolated-pipe225;Replaced pipe225; | 0.53914 | 1
No action;-Isolated-pipe155;Replaced pipe155; | 0.56054 | 1
No action; | 0.56054 | 0
No action; | 0.56054 | 2
No action; | 0.56054 | 1
No action;-Isolated-pipe285;Repaired pipe285; | 0.56054 | 1
No action; | 0.56054 | 0
No action; | 0.56054 | 2
No action; | 0.56054 | 1
No action; | 0.56085 | 2
No action;-Isolated-pipe175;Repaired pipe175; | 0.56277 | 2
No action;-Isolated-pipe290;Repaired pipe290; | 0.57097 | 2
No action; | 0.57097 | 2
No action; | 0.57097 | 2
No action; | 0.57097 | 2
No action;-Isolated-pipe295;Repaired pipe295; | 0.57215 | 2
No action; | 0.57215 | 2
No action;-Isolated-pipe162;Repaired pipe162; | 0.57822 | 2
No action; | 0.57822 | 2
No action; | 0.58057 | 1
No action; | 0.58057 | 2
No action;-Isolated-pipe90;Repaired pipe90; | 0.58058 | 1
No action; | 0.58058 | 2
No action; | 0.58058 | 1
No action; | 0.58058 | 2
No action;-Isolated-pipe118;Repaired pipe118;-Isolated-pipe157;Repaired pipe157; | 0.59874 | 1
No action; | 0.59874 | 1
No action; | 0.59874 | 1
No action; | 0.59874 | 1
No action; | 0.59874 | 2
No action;-Isolated-pipe185;Replaced pipe185; | 0.60095 | 2
No action; | 0.60095 | 2
No action;-Isolated-pipe21;Repaired pipe21; | 0.60801 | 2
No action; | 0.60801 | 2
No action;-Isolated-pipe252;Repaired pipe252; | 0.60981 | 2
No action; | 0.60981 | 2
No action; | 0.60981 | 1
No action; | 0.60981 | 2
No action;-Isolated-pipe278;Repaired pipe278; | 0.61267 | 2
No action;-Isolated-pipe156;Repaired pipe156; | 0.62219 | 1
No action; | 0.62219 | 1
No action; | 0.62219 | 2
No action; | 0.62219 | 1
No action; | 0.62281 | 2
No action;-Isolated-pipe281;Repaired pipe281; | 0.63046 | 1
No action; | 0.63046 | 1
No action;-Isolated-pipe183;Repaired pipe183; | 0.64024 | 2
No action; | 0.64024 | 1
No action; | 0.64024 | 2
No action; | 0.64024 | 1
No action;-Isolated-pipe191;Repaired pipe191; | 0.64625 | 2
No action;-Isolated-pipe13;Replaced pipe13; | 0.64625 | 0
No action; | 0.64625 | 0
No action; | 0.64625 | 0
No action; | 0.64645 | 0
No action; | 0.64645 | 0
No action;-Isolated-pipe206;Repaired pipe206; | 0.65035 | 0
No action;-Isolated-pipe38;Repaired pipe38; | 0.65882 | 0
No action; | 0.65882 | 0
No action; | 0.65882 | 0
No action;-Isolated-pipe94;Repaired pipe94; | 0.66153 | 0
No action;-Isolated-pipe293;Repaired pipe293; | 0.66329 | 0
No action; | 0.66329 | 0
No action; | 0.66329 | 0
No action;-Isolated-pipe6;Repaired pipe6; | 0.66479 | 0
No action; | 0.6648 | 0
No action; | 0.6648 | 0
No action; | 0.6648 | 0
No action;-Isolated-pipe35;Repaired pipe35; | 0.67406 | 0
No action;-Isolated-pipe12;Replaced pipe12; | 0.67473 | 0
No action; | 0.67473 | 0
No action; | 0.67473 | 0
No action; | 0.67473 | 0
No action; | 0.67473 | 0
No action; | 0.67473 | 0
No action;-Isolated-pipe313;Repaired pipe313; | 0.68274 | 0
No action;-Isolated-pipe308;Repaired pipe308; | 0.68332 | 0
No action; | 0.68332 | 0
No action; | 0.68332 | 0
No action; | 0.68332 | 0
No action;-Isolated-pipe83;Repaired pipe83;-Isolated-pipe181;Repaired pipe181; | 0.68537 | 0
No action; | 0.68537 | 0
No action; | 0.68537 | 0
No action; | 0.68537 | 0
No action;-Isolated-pipe3;Repaired pipe3;-Isolated-pipe222;Repaired pipe222; | 0.6915 | 0
No action; | 0.6915 | 0
No action; | 0.6915 | 0
No action; | 0.6915 | 0
No action;-Isolated-pipe16;Repaired pipe16; | 0.69424 | 0
No action; | 0.69424 | 0
No action; | 0.69424 | 0
No action;-Isolated-pipe20;Repaired pipe20; | 0.70433 | 0
No action;-Isolated-pipe274;Replaced pipe274; | 0.71018 | 0
No action; | 0.71063 | 0
No action; | 0.71066 | 0
No action; | 0.71067 | 0
No action;-Isolated-pipe282;Replaced pipe282; | 0.71126 | 0
No action;-Isolated-pipe236;Repaired pipe236; | 0.71345 | 0
No action; | 0.71345 | 0
No action; | 0.71345 | 0
No action; | 0.71345 | 0
No action;-Isolated-pipe14;Replaced pipe14;-Isolated-pipe303;Replaced pipe303; | 0.71927 | 0
No action; | 0.72031 | 0
No action; | 0.72031 | 0
No action; | 0.72031 | 0
No action;-Isolated-pipe182;Repaired pipe182;-Isolated-pipe204;Replaced pipe204; | 0.72072 | 0
No action; | 0.72072 | 0
No action; | 0.72072 | 0
No action; | 0.72072 | 0
No action;-Isolated-pipe237;Repaired pipe237; | 0.72295 | 0
No action;-Isolated-pipe187;Repaired pipe187; | 0.72402 | 0
No action; | 0.72402 | 0
No action; | 0.72402 | 0
No action;-Isolated-pipe223;Repaired pipe223; | 0.72662 | 0
No action; | 0.72662 | 0
No action;-Isolated-pipe80;Replaced pipe80; | 0.72662 | 2
No action; | 0.73531 | 1
No action; | 0.73531 | 2
No action;-Isolated-pipe297;Repaired pipe297; | 0.73845 | 2
No action;-Isolated-pipe78;Replaced pipe78; | 0.73845 | 2
No action; | 0.73845 | 2
No action; | 0.73845 | 2
No action;-Isolated-pipe189;Replaced pipe189; | 0.74263 | 0
No action;-Isolated-pipe71;Repaired pipe71; | 0.74322 | 0
No action; | 0.74322 | 0
No action; | 0.74322 | 0
No action;-Isolated-pipe233;Repaired pipe233; | 0.74416 | 0
No action;-Isolated-pipe76;Repaired pipe76; | 0.74416 | 0
No action; | 0.74416 | 0
No action; | 0.74416 | 0
No action;-Isolated-pipe286;Repaired pipe286; | 0.74416 | 0
No action; | 0.74416 | 0
No action;-Isolated-pipe9;Repaired pipe9; | 0.74664 | 0
No action; | 0.74664 | 0
No action; | 0.74664 | 0
No action;-Isolated-pipe262;Repaired pipe262; | 0.7488 | 0
No action;-Isolated-pipe243;Repaired pipe243; | 0.75063 | 0
No action; | 0.75063 | 0
No action; | 0.75063 | 0
No action;-Isolated-pipe234;Repaired pipe234; | 0.75309 | 0
No action; | 0.75309 | 0
No action; | 0.75309 | 0
No action; | 0.75309 | 0
No action;-Isolated-pipe178;Replaced pipe178; | 0.76696 | 0
No action;-Isolated-pipe208;Repaired pipe208; | 0.77056 | 0
No action; | 0.77056 | 0
No action; | 0.77056 | 0
No action; | 0.77056 | 0
No action;-Isolated-pipe115;Repaired pipe115;-Isolated-pipe310;Repaired pipe310; | 0.77414 | 0
No action; | 0.77414 | 0
No action; | 0.77414 | 0
No action; | 0.77414 | 0
No action;-Isolated-pipe75;Repaired pipe75; | 0.77414 | 0
No action;-Isolated-pipe226;Repaired pipe226; | 0.77559 | 0
No action; | 0.77559 | 0
No action; | 0.77559 | 0
No action; | 0.77559 | 0
No action;-Isolated-pipe15;Replaced pipe15; | 0.7852 | 0
No action;-Isolated-pipe207;Repaired pipe207; | 0.79024 | 0
No action; | 0.79024 | 0
No action; | 0.79024 | 0
No action; | 0.79024 | 0
No action;-Isolated-pipe190;Replaced pipe190; | 0.79033 | 0
No action;-Isolated-pipe177;Replaced pipe177; | 0.80485 | 0
No action; | 0.80485 | 0
No action; | 0.80485 | 0
No action;-Isolated-pipe104;Replaced pipe104; | 0.80485 | 0
No action; | 0.80485 | 0
No action;-Isolated-pipe209;Repaired pipe209; | 0.80818 | 0
No action; | 0.80818 | 0
No action;-Isolated-pipe296;Repaired pipe296; | 0.81158 | 0
No action; | 0.81158 | 0
No action; | 0.81158 | 0
No action;-Isolated-pipe56;Repaired pipe56; | 0.81502 | 0
No action;-Isolated-pipe264;Repaired pipe264; | 0.81872 | 0
No action; | 0.81872 | 0
No action; | 0.81872 | 0
No action; | 0.81872 | 0
No action;-Isolated-pipe23;Repaired pipe23; | 0.82064 | 0
No action;-Isolated-pipe215;Repaired pipe215; | 0.82438 | 0
No action; | 0.82438 | 0
No action; | 0.82438 | 0
No action; | 0.82438 | 0
No action;-Isolated-pipe171;Repaired pipe171; | 0.83021 | 0
No action;-Isolated-pipe168;Repaired pipe168; | 0.83564 | 0
No action; | 0.83564 | 0
No action; | 0.83564 | 0
No action; | 0.83564 | 0
No action;-Isolated-pipe247;Repaired pipe247; | 0.8396 | 0
No action;-Isolated-pipe48;Repaired pipe48; | 0.84684 | 0
No action; | 0.84684 | 0
No action; | 0.84684 | 0
No action;-Isolated-pipe201;Repaired pipe201; | 0.85019 | 0
No action; | 0.85019 | 0
No action; | 0.85019 | 0
No action; | 0.85019 | 0
No action;-Isolated-pipe84;Repaired pipe84;-Isolated-pipe336;Repaired pipe336; | 0.85233 | 0
No action; | 0.85233 | 0
No action; | 0.85233 | 0
No action; | 0.85233 | 0
No action; | 0.85233 | 0
No action;-Isolated-pipe24;Replaced pipe24;-Isolated-pipe123;Repaired pipe123; | 0.86429 | 0
No action; | 0.86429 | 0
No action; | 0.86429 | 0
No action; | 0.86429 | 0
No action; | 0.86429 | 0
No action;-Isolated-pipe255;Repaired pipe255;-Isolated-pipe305;Repaired pipe305; | 0.87155 | 0
No action; | 0.87155 | 0
No action; | 0.87155 | 0
No action; | 0.87155 | 0
No action;-Isolated-pipe229;Repaired pipe229;-Isolated-pipe238;Repaired pipe238; | 0.87659 | 0
No action; | 0.87659 | 0
No action; | 0.87659 | 0
No action; | 0.87659 | 0
No action;-Isolated-pipe26;Repaired pipe26;-Isolated-pipe227;Repaired pipe227; | 0.8832 | 0
No action; | 0.8832 | 0
No action; | 0.8832 | 0
No action; | 0.8832 | 0
No action;-Isolated-pipe304;Replaced pipe304; | 0.88322 | 0
No action;-Isolated-pipe110;Repaired pipe110; | 0.88322 | 0
No action; | 0.88322 | 0
No action; | 0.88322 | 0
No action; | 0.88322 | 0
No action;-Isolated-pipe277;Replaced pipe277; | 0.88499 | 0
No action;-Isolated-pipe54;Replaced pipe54; | 0.88678 | 0
No action; | 0.88678 | 0
No action; | 0.88678 | 0
No action; | 0.88678 | 0
No action;-Isolated-pipe134;Repaired pipe134; | 0.88679 | 0
No action;-Isolated-pipe169;Replaced pipe169; | 0.88889 | 0
No action; | 0.88889 | 0
No action; | 0.88889 | 0
No action; | 0.88889 | 0
No action;-Isolated-pipe244;Replaced pipe244; | 0.89382 | 0
No action;-Isolated-pipe131;Replaced pipe131; | 0.89642 | 0
No action; | 0.89642 | 0
No action; | 0.89642 | 0
No action; | 0.89642 | 0
No action; | 0.89642 | 0
No action;-Isolated-pipe130;Replaced pipe130; | 0.89913 | 0
No action;-Isolated-pipe66;Repaired pipe66; | 0.90102 | 0
No action; | 0.90102 | 0
No action; | 0.90102 | 0
No action; | 0.90102 | 0
No action;-Isolated-pipe88;Repaired pipe88;-Isolated-pipe172;Repaired pipe172; | 0.90749 | 0
No action; | 0.90749 | 0
No action; | 0.90749 | 0
No action; | 0.90749 | 0
No action;-Isolated-pipe89;Repaired pipe89; | 0.90749 | 0
No action;-Isolated-pipe5;Repaired pipe5; | 0.91024 | 0
No action; | 0.91024 | 0
No action; | 0.91024 | 0
No action; | 0.91024 | 0
No action;-Isolated-pipe91;Replaced pipe91; | 0.91024 | 0
No action;-Isolated-pipe107;Replaced pipe107; | 0.92714 | 0
No action; | 0.92765 | 0
No action; | 0.92765 | 0
No action; | 0.92765 | 0
No action;-Isolated-pipe127;Repaired pipe127; | 0.93245 | 0
No action;-Isolated-pipe142;Repaired pipe142; | 0.93889 | 0
No action; | 0.93889 | 0
No action; | 0.93889 | 0
No action;-Isolated-pipe87;Replaced pipe87; | 0.93899 | 0
No action; | 0.93899 | 0
No action;-Isolated-pipe119;Repaired pipe119; | 0.94138 | 0
No action; | 0.94138 | 0
No action;-Isolated-pipe275;Repaired pipe275; | 0.94498 | 0
No action; | 0.94498 | 0
No action;-Isolated-pipe144;Repaired pipe144; | 0.94852 | 0
No action; | 0.94852 | 0
No action;-Isolated-pipe311;Repaired pipe311; | 0.94936 | 0
No action; | 0.94936 | 0
No action;-Isolated-pipe4;Replaced pipe4; | 0.95062 | 0
No action; | 0.95062 | 0
No action; | 0.95062 | 0
No action;-Isolated-pipe147;Repaired pipe147; | 0.95368 | 0
No action;-Isolated-pipe105;Repaired pipe105; | 0.95408 | 0
No action; | 0.95408 | 0
No action; | 0.95408 | 0
No action; | 0.95408 | 0
No action;-Isolated-pipe113;Repaired pipe113; | 0.96096 | 0
No action; | 0.96096 | 0
No action;-Isolated-pipe128;Replaced pipe128; | 0.96769 | 0
No action; | 0.96769 | 0
No action; | 0.96769 | 0
No action;-Isolated-pipe73;Replaced pipe73; | 0.97155 | 0
No action;-Isolated-pipe82;Replaced pipe82; | 0.97347 | 0
No action; | 0.97347 | 0
No action; | 0.97347 | 0
No action;-Isolated-pipe108;Repaired pipe108; | 0.97777 | 0
No action;-Isolated-pipe77;Repaired pipe77; | 0.97888 | 0
No action; | 0.97888 | 0
No action; | 0.97888 | 0
No action;-Isolated-pipe81;Repaired pipe81; | 0.98097 | 0
No action; | 0.98097 | 0
No action; | 0.98097 | 0
No action;-Isolated-pipe112;Replaced pipe112; | 0.98873 | 0
No action; | 0.98873 | 0
No action; | 0.98873 | 0
No action;-Isolated-pipe114;Replaced pipe114; | 0.99609 | 0
No action;-Isolated-pipe18;Repaired pipe18; | 0.99665 | 0
No action; | 0.99665 | 0
No action; | 0.99665 | 0
No action;-Isolated-pipe284;Replaced pipe284; | 0.99891 | 0
No action;-Isolated-pipe211;Repaired pipe211; | 0.99937 | 0
No action; | 0.99937 | 0
No action; | 0.99937 | 0
No action;-Isolated-pipe287;Repaired pipe287; | 0.9998 | 0
No action; | 0.9998 | 0
No action; | 0.9998 | 0
No action;-Isolated-pipe136;Repaired pipe136; | 1 | 0
No action; | 1 | 0
No action;-Isolated-pipe97;Repaired pipe97; | 1 | 0
No action; | 1 | 0
No action; | 1 | 0
No action; | 1 | 0
No action; | 1 | 0
No action;-Isolated-pipe135;Repaired pipe135; | 1 | 0

## Scenario9
No action; | 0.1335 | 0
No action;Isolated pipe99;Isolated pipe300; | 0.16239 | 0
No action;Isolated pipe65;Isolated pipe156;Isolated pipe161;Isolated pipe260; | 0.20804 | 0
No action;Isolated pipe7;Isolated pipe151;Isolated pipe159;Isolated pipe282; | 0.23304 | 0
No action;Isolated pipe5;Isolated pipe126;Isolated pipe210;Isolated pipe288; | 0.25074 | 1
No action;Isolated pipe55;Isolated pipe173;Isolated pipe269;Isolated pipe284; | 0.25621 | 0
No action;Isolated pipe13;Isolated pipe104;Isolated pipe155;Isolated pipe246; | 0.25882 | 0
No action;Isolated pipe39;Isolated pipe71;Isolated pipe91;Isolated pipe116; | 0.25969 | 0
No action;Isolated pipe89;Isolated pipe146;Isolated pipe168;Isolated pipe298; | 0.26125 | 0
No action;Isolated pipe37;Isolated pipe113;Isolated pipe255;Isolated pipe256; | 0.2614 | 0
No action;Isolated pipe8;Isolated pipe185;Isolated pipe206;Isolated pipe275; | 0.26306 | 0
No action;Isolated pipe98;Isolated pipe253;Isolated pipe271;Isolated pipe294; | 0.27184 | 0
No action;Isolated pipe6;Isolated pipe75;Isolated pipe90;Isolated pipe138; | 0.27429 | 0
No action;Isolated pipe19;Isolated pipe73;Isolated pipe252;Isolated pipe308; | 0.27691 | 1
No action;Isolated pipe238;Isolated pipe240;Isolated pipe241;Isolated pipe264; | 0.27939 | 0
No action;Isolated pipe137;Isolated pipe171;Isolated pipe176;Isolated pipe178; | 0.27973 | 0
No action;Isolated pipe1;Isolated pipe150;Isolated pipe174;Isolated pipe263; | 0.28016 | 0
No action;Isolated pipe93;Isolated pipe115;Isolated pipe153;Isolated pipe198; | 0.28045 | 0
No action;Isolated pipe88;Isolated pipe175;Isolated pipe202; | 0.28045 | 0
No action; | 0.28045 | 0
No action; | 0.28045 | 0
No action; | 0.28045 | 0
No action; | 0.28045 | 0
No action;-Isolated-pipe1;Replaced pipe1; | 0.31875 | 2
No action; | 0.31978 | 1
No action;-Isolated-pipe161;Replaced pipe161; | 0.36132 | 2
No action; | 0.36311 | 6
No action; | 0.36311 | 0
No action; | 0.36311 | 0
No action; | 0.36311 | 0
No action;-Isolated-pipe65;Replaced pipe65; | 0.39521 | 2
No action; | 0.39619 | 2
No action;-Isolated-pipe19;Replaced pipe19; | 0.43138 | 2
No action; | 0.43138 | 1
No action; | 0.43455 | 1
No action; | 0.44194 | 1
No action; | 0.44196 | 2
No action;-Isolated-pipe308;Replaced pipe308; | 0.45936 | 1
No action;-Isolated-pipe99;Replaced pipe99; | 0.50165 | 0
No action; | 0.50165 | 0
No action; | 0.50165 | 0
No action;-Isolated-pipe294;Replaced pipe294; | 0.51508 | 2
No action;-Isolated-pipe283;Repaired pipe283; | 0.51796 | 0
No action; | 0.52013 | 2
No action; | 0.52013 | 2
No action; | 0.52013 | 2
No action; | 0.52013 | 1
No action;-Isolated-pipe208;Repaired pipe208; | 0.52217 | 2
No action;-Isolated-pipe22;Repaired pipe22; | 0.53035 | 2
No action; | 0.53035 | 1
No action; | 0.53035 | 1
No action; | 0.53035 | 2
No action;-Isolated-pipe71;Replaced pipe71;-Isolated-pipe129;Repaired pipe129; | 0.54985 | 2
No action; | 0.54985 | 1
No action; | 0.5532 | 1
No action; | 0.5532 | 1
No action; | 0.5532 | 2
No action;-Isolated-pipe88;Replaced pipe88;-Isolated-pipe126;Replaced pipe126; | 0.57255 | 0
No action; | 0.57276 | 0
No action; | 0.57286 | 0
No action; | 0.57291 | 0
No action; | 0.57366 | 0
No action;-Isolated-pipe98;Replaced pipe98; | 0.57937 | 0
No action; | 0.57937 | 0
No action;-Isolated-pipe21;Repaired pipe21; | 0.58424 | 0
No action; | 0.58424 | 0
No action; | 0.58424 | 0
No action; | 0.58424 | 0
No action; | 0.58424 | 0
No action;-Isolated-pipe150;Replaced pipe150;-Isolated-pipe300;Replaced pipe300; | 0.60639 | 1
No action; | 0.60649 | 2
No action; | 0.6072 | 1
No action; | 0.6072 | 2
No action;-Isolated-pipe226;Repaired pipe226; | 0.60784 | 2
No action; | 0.60784 | 1
No action; | 0.60784 | 0
No action; | 0.60784 | 0
No action;-Isolated-pipe236;Repaired pipe236; | 0.60818 | 0
No action; | 0.6082 | 0
No action;-Isolated-pipe157;Repaired pipe157; | 0.61575 | 2
No action; | 0.61575 | 1
No action; | 0.61575 | 1
No action;-Isolated-pipe93;Replaced pipe93; | 0.61843 | 0
No action; | 0.61843 | 0
No action; | 0.61843 | 0
No action;-Isolated-pipe281;Repaired pipe281; | 0.62707 | 0
No action; | 0.62707 | 0
No action;-Isolated-pipe149;Repaired pipe149; | 0.62874 | 0
No action; | 0.62874 | 0
No action;-Isolated-pipe251;Repaired pipe251; | 0.63071 | 0
No action; | 0.63071 | 0
No action; | 0.63071 | 0
No action;-Isolated-pipe33;Repaired pipe33; | 0.63375 | 0
No action; | 0.63376 | 2
No action; | 0.63382 | 2
No action;-Isolated-pipe218;Repaired pipe218; | 0.63966 | 0
No action;-Isolated-pipe297;Repaired pipe297; | 0.64159 | 0
No action; | 0.64159 | 0
No action; | 0.64159 | 0
No action; | 0.64159 | 0
No action; | 0.64159 | 0
No action; | 0.64159 | 0
No action;-Isolated-pipe36;Repaired pipe36; | 0.64827 | 0
No action;-Isolated-pipe178;Replaced pipe178; | 0.66114 | 1
No action; | 0.66114 | 2
No action; | 0.66114 | 2
No action;-Isolated-pipe25;Repaired pipe25; | 0.6633 | 0
No action;-Isolated-pipe278;Repaired pipe278; | 0.66685 | 0
No action; | 0.66685 | 0
No action; | 0.66685 | 0
No action;-Isolated-pipe24;Repaired pipe24; | 0.67047 | 0
No action; | 0.67047 | 0
No action; | 0.67047 | 0
No action; | 0.67047 | 1
No action;-Isolated-pipe37;Replaced pipe37; | 0.67076 | 0
No action;-Isolated-pipe238;Replaced pipe238; | 0.67634 | 0
No action; | 0.67634 | 0
No action; | 0.67634 | 0
No action;-Isolated-pipe73;Replaced pipe73; | 0.67998 | 0
No action;-Isolated-pipe277;Repaired pipe277; | 0.68352 | 0
No action; | 0.68352 | 0
No action; | 0.68352 | 0
No action; | 0.68352 | 0
No action; | 0.68352 | 0
No action;-Isolated-pipe132;Repaired pipe132; | 0.68783 | 0
No action;-Isolated-pipe154;Repaired pipe154; | 0.69396 | 0
No action; | 0.69396 | 0
No action; | 0.69396 | 0
No action;-Isolated-pipe260;Replaced pipe260; | 0.69986 | 0
No action;-Isolated-pipe95;Repaired pipe95; | 0.70329 | 0
No action; | 0.70329 | 0
No action; | 0.70329 | 0
No action; | 0.70329 | 0
No action;-Isolated-pipe249;Repaired pipe249; | 0.70674 | 0
No action; | 0.70674 | 0
No action; | 0.70674 | 0
No action;-Isolated-pipe164;Repaired pipe164; | 0.70769 | 0
No action; | 0.70769 | 0
No action;-Isolated-pipe221;Repaired pipe221; | 0.71356 | 0
No action; | 0.71356 | 0
No action; | 0.71356 | 0
No action; | 0.71356 | 0
No action;-Isolated-pipe177;Repaired pipe177; | 0.71602 | 0
No action;-Isolated-pipe274;Repaired pipe274; | 0.71999 | 0
No action; | 0.71999 | 0
No action; | 0.71999 | 0
No action; | 0.71999 | 0
No action;-Isolated-pipe62;Repaired pipe62;-Isolated-pipe194;Repaired pipe194; | 0.7278 | 0
No action; | 0.7278 | 0
No action; | 0.7278 | 0
No action; | 0.7278 | 0
No action; | 0.7278 | 0
No action;-Isolated-pipe261;Repaired pipe261; | 0.73116 | 0
No action;-Isolated-pipe63;Repaired pipe63; | 0.7378 | 0
No action; | 0.7378 | 0
No action; | 0.7378 | 0
No action;-Isolated-pipe247;Repaired pipe247; | 0.74251 | 0
No action;-Isolated-pipe144;Repaired pipe144; | 0.74566 | 0
No action; | 0.74566 | 0
No action; | 0.74566 | 0
No action;-Isolated-pipe227;Repaired pipe227; | 0.74827 | 0
No action; | 0.74828 | 0
No action; | 0.74828 | 0
No action; | 0.74828 | 0
No action;-Isolated-pipe66;Repaired pipe66; | 0.75336 | 0
No action;-Isolated-pipe225;Repaired pipe225; | 0.75648 | 0
No action; | 0.75648 | 0
No action; | 0.75648 | 0
No action;-Isolated-pipe79;Repaired pipe79; | 0.75744 | 0
No action; | 0.7575 | 0
No action; | 0.75752 | 0
No action; | 0.75753 | 0
No action;-Isolated-pipe156;Replaced pipe156; | 0.76219 | 0
No action; | 0.76219 | 0
No action; | 0.76219 | 0
No action;-Isolated-pipe155;Replaced pipe155; | 0.78502 | 0
No action;-Isolated-pipe271;Replaced pipe271; | 0.79002 | 0
No action; | 0.79002 | 0
No action; | 0.79002 | 0
No action; | 0.79002 | 0
No action;-Isolated-pipe264;Replaced pipe264; | 0.79484 | 0
No action;-Isolated-pipe153;Replaced pipe153; | 0.80354 | 0
No action; | 0.80354 | 0
No action; | 0.80354 | 0
No action; | 0.80354 | 0
No action;-Isolated-pipe172;Repaired pipe172;-Isolated-pipe267;Repaired pipe267; | 0.80626 | 2
No action; | 0.80692 | 2
No action; | 0.80935 | 1
No action; | 0.81067 | 1
No action;-Isolated-pipe108;Repaired pipe108; | 0.81278 | 1
No action;-Isolated-pipe109;Repaired pipe109; | 0.81524 | 1
No action; | 0.81857 | 1
No action; | 0.81857 | 1
No action; | 0.81858 | 1
No action;-Isolated-pipe233;Repaired pipe233; | 0.81997 | 2
No action;-Isolated-pipe49;Repaired pipe49; | 0.81997 | 0
No action; | 0.81997 | 0
No action; | 0.82007 | 0
No action;-Isolated-pipe199;Repaired pipe199; | 0.82144 | 0
No action;-Isolated-pipe230;Repaired pipe230; | 0.82452 | 0
No action; | 0.82452 | 0
No action; | 0.82452 | 0
No action;-Isolated-pipe82;Repaired pipe82; | 0.82768 | 0
No action; | 0.82768 | 0
No action;-Isolated-pipe106;Repaired pipe106; | 0.8291 | 0
No action; | 0.8291 | 0
No action; | 0.8291 | 0
No action;-Isolated-pipe7;Replaced pipe7; | 0.83021 | 0
No action;-Isolated-pipe285;Repaired pipe285; | 0.83451 | 0
No action; | 0.83451 | 0
No action; | 0.83451 | 0
No action;-Isolated-pipe246;Replaced pipe246; | 0.83646 | 0
No action;-Isolated-pipe288;Replaced pipe288; | 0.83666 | 0
No action; | 0.83666 | 0
No action; | 0.83666 | 0
No action;-Isolated-pipe91;Replaced pipe91; | 0.83666 | 0
No action;-Isolated-pipe85;Repaired pipe85; | 0.83666 | 0
No action; | 0.83666 | 0
No action; | 0.83666 | 0
No action; | 0.83685 | 0
No action;-Isolated-pipe241;Replaced pipe241; | 0.83799 | 0
No action;-Isolated-pipe296;Repaired pipe296; | 0.83844 | 0
No action; | 0.83844 | 0
No action; | 0.83844 | 0
No action; | 0.83844 | 0
No action;-Isolated-pipe89;Replaced pipe89;-Isolated-pipe174;Replaced pipe174; | 0.83845 | 2
No action; | 0.83845 | 2
No action; | 0.83845 | 2
No action; | 0.83845 | 2
No action;-Isolated-pipe90;Replaced pipe90;-Isolated-pipe282;Replaced pipe282; | 0.83891 | 1
No action; | 0.83891 | 2
No action; | 0.83891 | 2
No action; | 0.83891 | 2
No action;-Isolated-pipe6;Replaced pipe6;-Isolated-pipe159;Replaced pipe159; | 0.83902 | 2
No action; | 0.83902 | 2
No action; | 0.83902 | 2
No action; | 0.83902 | 2
No action;-Isolated-pipe303;Repaired pipe303; | 0.83968 | 2
No action;-Isolated-pipe284;Replaced pipe284; | 0.8478 | 2
No action; | 0.8478 | 2
No action; | 0.8478 | 2
No action; | 0.8478 | 2
No action;-Isolated-pipe26;Repaired pipe26; | 0.85164 | 2
No action;-Isolated-pipe256;Replaced pipe256; | 0.85415 | 2
No action; | 0.85415 | 1
No action; | 0.85415 | 2
No action; | 0.85415 | 2
No action; | 0.85415 | 2
No action; | 0.85415 | 2
No action;-Isolated-pipe176;Replaced pipe176;-Isolated-pipe307;Repaired pipe307; | 0.85854 | 2
No action; | 0.85854 | 1
No action; | 0.85854 | 2
No action; | 0.85854 | 2
No action;-Isolated-pipe173;Replaced pipe173; | 0.85864 | 2
No action;-Isolated-pipe186;Repaired pipe186; | 0.85929 | 1
No action; | 0.85929 | 2
No action; | 0.85929 | 2
No action; | 0.85929 | 2
No action;-Isolated-pipe8;Replaced pipe8;-Isolated-pipe175;Replaced pipe175; | 0.8728 | 0
No action; | 0.8728 | 0
No action; | 0.8728 | 0
No action; | 0.8728 | 0
No action; | 0.8728 | 0
No action;-Isolated-pipe240;Replaced pipe240; | 0.87627 | 0
No action;-Isolated-pipe112;Repaired pipe112; | 0.88185 | 0
No action; | 0.88186 | 0
No action; | 0.88186 | 0
No action; | 0.88186 | 0
No action;-Isolated-pipe275;Replaced pipe275; | 0.88667 | 0
No action;-Isolated-pipe170;Repaired pipe170; | 0.88972 | 0
No action; | 0.88972 | 0
No action; | 0.88972 | 0
No action; | 0.88972 | 0
No action;-Isolated-pipe115;Replaced pipe115;-Isolated-pipe116;Replaced pipe116; | 0.89339 | 0
No action; | 0.89339 | 0
No action; | 0.89339 | 0
No action; | 0.89339 | 0
No action;-Isolated-pipe87;Repaired pipe87; | 0.89355 | 0
No action; | 0.89355 | 0
No action;-Isolated-pipe113;Replaced pipe113; | 0.91024 | 0
No action; | 0.91024 | 0
No action; | 0.91024 | 0
No action;-Isolated-pipe185;Replaced pipe185; | 0.91024 | 0
No action;-Isolated-pipe9;Repaired pipe9; | 0.91034 | 0
No action; | 0.91034 | 0
No action; | 0.91034 | 0
No action; | 0.91034 | 0
No action;-Isolated-pipe13;Replaced pipe13; | 0.91073 | 0
No action; | 0.91073 | 0
No action; | 0.91073 | 0
No action;-Isolated-pipe39;Replaced pipe39; | 0.92701 | 0
No action; | 0.92701 | 0
No action; | 0.92701 | 0
No action; | 0.92701 | 0
No action;-Isolated-pipe43;Repaired pipe43; | 0.93288 | 0
No action; | 0.93288 | 0
No action; | 0.93288 | 0
No action;-Isolated-pipe46;Repaired pipe46; | 0.94126 | 0
No action; | 0.94126 | 0
No action;-Isolated-pipe52;Repaired pipe52; | 0.94607 | 0
No action; | 0.94607 | 0
No action; | 0.94607 | 0
No action; | 0.94607 | 0
No action;-Isolated-pipe171;Replaced pipe171;-Isolated-pipe181;Repaired pipe181; | 0.94851 | 0
No action; | 0.94851 | 0
No action; | 0.94851 | 0
No action; | 0.94851 | 0
No action; | 0.94851 | 0
No action;-Isolated-pipe205;Repaired pipe205;-Isolated-pipe206;Replaced pipe206; | 0.96135 | 0
No action; | 0.96135 | 0
No action; | 0.96135 | 0
No action; | 0.96135 | 0
No action;-Isolated-pipe190;Repaired pipe190;-Isolated-pipe201;Repaired pipe201; | 0.9646 | 0
No action; | 0.9646 | 0
No action; | 0.9646 | 0
No action; | 0.9646 | 0
No action; | 0.9646 | 0
No action;-Isolated-pipe168;Replaced pipe168;-Isolated-pipe189;Repaired pipe189; | 0.96846 | 0
No action; | 0.96846 | 0
No action; | 0.96846 | 0
No action; | 0.96846 | 0
No action;-Isolated-pipe75;Replaced pipe75; | 0.9703 | 0
No action; | 0.9703 | 0
No action; | 0.9703 | 0
No action;-Isolated-pipe64;Repaired pipe64; | 0.97294 | 0
No action; | 0.97294 | 0
No action;-Isolated-pipe255;Replaced pipe255; | 0.97498 | 0
No action; | 0.97498 | 0
No action; | 0.97498 | 0
No action; | 0.97498 | 0
No action;-Isolated-pipe133;Repaired pipe133; | 0.97582 | 0
No action;-Isolated-pipe198;Replaced pipe198; | 0.97956 | 0
No action; | 0.97956 | 0
No action; | 0.97956 | 0
No action;-Isolated-pipe253;Replaced pipe253; | 0.97984 | 0
No action;-Isolated-pipe104;Replaced pipe104; | 0.98023 | 0
No action; | 0.98023 | 0
No action; | 0.98023 | 0
No action; | 0.98023 | 0
No action;-Isolated-pipe146;Replaced pipe146; | 0.9812 | 0
No action; | 0.9812 | 0
No action; | 0.9812 | 0
No action;-Isolated-pipe137;Replaced pipe137; | 0.98155 | 0
No action; | 0.98155 | 0
No action; | 0.98155 | 0
No action; | 0.98155 | 0
No action;-Isolated-pipe5;Replaced pipe5;-Isolated-pipe138;Replaced pipe138; | 0.99999 | 0
No action; | 0.99999 | 0
No action; | 0.99999 | 0
No action; | 0.99999 | 0
No action;-Isolated-pipe55;Replaced pipe55; | 1 | 0
No action;-Isolated-pipe151;Replaced pipe151; | 1 | 0
No action; | 1 | 0
No action; | 1 | 0
No action; | 1 | 0
No action;-Isolated-pipe202;Replaced pipe202;-Isolated-pipe210;Replaced pipe210; | 1 | 0
No action; | 1 | 0
No action; | 1 | 0
No action; | 1 | 0
No action;-Isolated-pipe252;Replaced pipe252;-Isolated-pipe263;Replaced pipe263; | 1 | 0
No action; | 1 | 0
No action; | 1 | 0
No action; | 1 | 0
No action;-Isolated-pipe269;Replaced pipe269; | 1 | 0
No action;-Isolated-pipe298;Replaced pipe298; | 1 | 0