## Scenario9
No action; | 0.1335 | 0
No action;Isolated pipe65;Isolated pipe308; | 0.14821 | 0
No action;Isolated pipe37;Isolated pipe99;Isolated pipe137;Isolated pipe138; | 0.15324 | 0
No action;Isolated pipe39;Isolated pipe71;Isolated pipe161;Isolated pipe300; | 0.18509 | 0
No action;Isolated pipe19;Isolated pipe155;Isolated pipe156;Isolated pipe178; | 0.2032 | 0
No action;Isolated pipe93;Isolated pipe113;Isolated pipe150;Isolated pipe294; | 0.2052 | 0
No action;Isolated pipe1;Isolated pipe73;Isolated pipe98;Isolated pipe115; | 0.20581 | 0
No action;Isolated pipe91;Isolated pipe126;Isolated pipe240;Isolated pipe284; | 0.21182 | 0
No action;Isolated pipe89;Isolated pipe90;Isolated pipe171;Isolated pipe241; | 0.21182 | 0
No action;Isolated pipe8;Isolated pipe75;Isolated pipe88;Isolated pipe176; | 0.21194 | 2
No action;Isolated pipe175;Isolated pipe185;Isolated pipe198;Isolated pipe260; | 0.21777 | 0
No action;Isolated pipe6;Isolated pipe256;Isolated pipe282;Isolated pipe288; | 0.23282 | 0
No action;Isolated pipe5;Isolated pipe173;Isolated pipe174;Isolated pipe255; | 0.23282 | 0
No action;Isolated pipe7;Isolated pipe168;Isolated pipe206;Isolated pipe298; | 0.23404 | 0
No action;Isolated pipe13;Isolated pipe146;Isolated pipe159;Isolated pipe271; | 0.25201 | 0
No action;Isolated pipe153;Isolated pipe246;Isolated pipe264;Isolated pipe275; | 0.25972 | 0
No action;Isolated pipe55;Isolated pipe104;Isolated pipe238;Isolated pipe253; | 0.26817 | 0
No action;Isolated pipe151;Isolated pipe202;Isolated pipe252;Isolated pipe269; | 0.27269 | 1
No action;Isolated pipe116;Isolated pipe210;Isolated pipe263; | 0.2804 | 0
No action; | 0.28134 | 0
No action; | 0.28575 | 1
No action; | 0.28575 | 0
No action; | 0.28575 | 0
No action; | 0.28575 | 0
No action; | 0.2873 | 2
No action;-Isolated-pipe308;Replaced pipe308; | 0.3047 | 0
No action; | 0.3047 | 0
No action;-Isolated-pipe157;Repaired pipe157; | 0.31364 | 0
No action; | 0.31364 | 0
No action; | 0.31364 | 0
No action; | 0.31364 | 0
No action; | 0.31364 | 0
No action;-Isolated-pipe307;Repaired pipe307; | 0.31365 | 0
No action; | 0.31365 | 0
No action;-Isolated-pipe65;Replaced pipe65; | 0.3469 | 2
No action; | 0.3469 | 0
No action; | 0.3469 | 0
No action; | 0.3517 | 1
No action; | 0.3517 | 1
No action;-Isolated-pipe66;Repaired pipe66; | 0.35413 | 0
No action; | 0.35413 | 0
No action;-Isolated-pipe137;Replaced pipe137; | 0.35447 | 1
No action; | 0.35447 | 0
No action; | 0.35451 | 0
No action; | 0.35451 | 0
No action; | 0.35451 | 2
No action;-Isolated-pipe138;Replaced pipe138; | 0.40789 | 1
No action; | 0.40874 | 2
No action;-Isolated-pipe36;Repaired pipe36; | 0.40874 | 2
No action; | 0.40874 | 0
No action; | 0.40874 | 2
No action; | 0.411 | 2
No action; | 0.411 | 2
No action;-Isolated-pipe37;Replaced pipe37; | 0.41129 | 0
No action;-Isolated-pipe99;Replaced pipe99; | 0.45567 | 1
No action; | 0.45568 | 0
No action; | 0.45671 | 2
No action; | 0.45671 | 1
No action; | 0.45986 | 1
No action; | 0.45986 | 0
No action;-Isolated-pipe64;Repaired pipe64; | 0.46201 | 2
No action;-Isolated-pipe39;Replaced pipe39; | 0.48448 | 0
No action; | 0.48493 | 0
No action; | 0.48494 | 0
No action; | 0.48494 | 0
No action; | 0.48494 | 0
No action; | 0.48494 | 0
No action;-Isolated-pipe133;Repaired pipe133; | 0.48566 | 0
No action;-Isolated-pipe164;Repaired pipe164; | 0.48775 | 0
No action; | 0.48775 | 0
No action; | 0.48775 | 0
No action; | 0.48775 | 0
No action; | 0.48775 | 0
No action; | 0.48775 | 0
No action;-Isolated-pipe161;Replaced pipe161; | 0.53168 | 2
No action;-Isolated-pipe300;Replaced pipe300; | 0.53917 | 2
No action; | 0.53917 | 2
No action; | 0.53917 | 2
No action; | 0.54052 | 1
No action; | 0.54052 | 1
No action;-Isolated-pipe63;Repaired pipe63; | 0.54478 | 0
No action; | 0.54478 | 0
No action;-Isolated-pipe43;Repaired pipe43; | 0.5511 | 0
No action; | 0.5511 | 0
No action; | 0.5511 | 0
No action;-Isolated-pipe221;Repaired pipe221; | 0.55436 | 0
No action; | 0.55436 | 0
No action;-Isolated-pipe132;Repaired pipe132; | 0.55505 | 0
No action; | 0.55505 | 0
No action; | 0.55505 | 0
No action;-Isolated-pipe71;Replaced pipe71; | 0.56696 | 2
No action; | 0.56696 | 2
No action; | 0.56717 | 1
No action; | 0.56717 | 2
No action;-Isolated-pipe156;Replaced pipe156; | 0.57169 | 2
No action; | 0.57189 | 2
No action; | 0.57261 | 1
No action;-Isolated-pipe19;Replaced pipe19; | 0.60579 | 2
No action; | 0.60579 | 2
No action; | 0.61107 | 1
No action;-Isolated-pipe62;Repaired pipe62; | 0.61652 | 1
No action; | 0.61685 | 2
No action; | 0.61821 | 1
No action; | 0.61821 | 1
No action;-Isolated-pipe155;Replaced pipe155; | 0.65439 | 1
No action; | 0.65439 | 1
No action; | 0.65439 | 1
No action;-Isolated-pipe178;Replaced pipe178; | 0.66307 | 2
No action; | 0.66307 | 2
No action; | 0.66307 | 2
No action; | 0.66307 | 2
No action;-Isolated-pipe21;Repaired pipe21; | 0.66787 | 0
No action; | 0.66788 | 0
No action; | 0.66788 | 0
No action;-Isolated-pipe22;Repaired pipe22; | 0.67605 | 0
No action;-Isolated-pipe106;Repaired pipe106; | 0.67606 | 0
No action; | 0.67606 | 0
No action; | 0.67606 | 0
No action;-Isolated-pipe226;Repaired pipe226; | 0.67614 | 0
No action; | 0.67614 | 0
No action; | 0.67614 | 0
No action;-Isolated-pipe218;Repaired pipe218; | 0.67961 | 0
No action; | 0.67961 | 0
No action; | 0.67961 | 0
No action;-Isolated-pipe150;Replaced pipe150; | 0.69534 | 1
No action;-Isolated-pipe294;Replaced pipe294; | 0.71166 | 2
No action; | 0.71166 | 2
No action; | 0.71166 | 2
No action; | 0.71166 | 2
No action;-Isolated-pipe227;Repaired pipe227; | 0.71269 | 0
No action;-Isolated-pipe281;Repaired pipe281; | 0.7147 | 0
No action; | 0.71472 | 2
No action; | 0.71472 | 2
No action; | 0.71472 | 2
No action; | 0.71472 | 2
No action;-Isolated-pipe149;Repaired pipe149; | 0.71628 | 0
No action;-Isolated-pipe113;Replaced pipe113; | 0.71631 | 2
No action; | 0.71631 | 2
No action; | 0.71631 | 2
No action;-Isolated-pipe93;Replaced pipe93; | 0.71865 | 0
No action; | 0.71865 | 0
No action;-Isolated-pipe129;Repaired pipe129; | 0.71963 | 0
No action; | 0.71963 | 0
No action; | 0.71963 | 0
No action; | 0.71963 | 0
No action;-Isolated-pipe98;Replaced pipe98; | 0.72624 | 0
No action;-Isolated-pipe46;Repaired pipe46; | 0.73141 | 0
No action; | 0.73141 | 0
No action; | 0.73141 | 0
No action; | 0.73141 | 0
No action;-Isolated-pipe115;Replaced pipe115; | 0.74401 | 0
No action; | 0.74406 | 0
No action;-Isolated-pipe112;Repaired pipe112; | 0.74939 | 0
No action; | 0.74939 | 0
No action; | 0.74939 | 0
No action;-Isolated-pipe225;Repaired pipe225; | 0.75217 | 0
No action; | 0.75217 | 0
No action; | 0.75217 | 0
No action;-Isolated-pipe49;Repaired pipe49; | 0.75885 | 0
No action;-Isolated-pipe73;Replaced pipe73; | 0.76303 | 0
No action; | 0.76303 | 0
No action; | 0.76303 | 0
No action; | 0.76303 | 0
No action;-Isolated-pipe1;Replaced pipe1; | 0.77256 | 0
No action;-Isolated-pipe283;Repaired pipe283; | 0.77596 | 0
No action; | 0.77596 | 0
No action; | 0.77596 | 0
No action; | 0.77596 | 0
No action;-Isolated-pipe240;Replaced pipe240; | 0.77756 | 0
No action;-Isolated-pipe154;Repaired pipe154; | 0.78322 | 0
No action; | 0.78322 | 0
No action; | 0.78322 | 0
No action; | 0.78322 | 0
No action;-Isolated-pipe177;Repaired pipe177; | 0.78702 | 0
No action; | 0.78702 | 0
No action;-Isolated-pipe172;Repaired pipe172; | 0.79144 | 0
No action; | 0.79144 | 0
No action; | 0.79144 | 0
No action;-Isolated-pipe33;Repaired pipe33; | 0.79189 | 0
No action;-Isolated-pipe284;Replaced pipe284; | 0.79716 | 1
No action; | 0.79716 | 1
No action; | 0.79716 | 1
No action; | 0.79716 | 1
No action;-Isolated-pipe126;Replaced pipe126; | 0.82819 | 2
No action;-Isolated-pipe91;Replaced pipe91; | 0.82819 | 0
No action; | 0.82819 | 0
No action; | 0.82819 | 0
No action; | 0.82819 | 0
No action;-Isolated-pipe241;Replaced pipe241; | 0.84451 | 0
No action;-Isolated-pipe171;Replaced pipe171; | 0.85263 | 0
No action; | 0.85263 | 0
No action; | 0.85271 | 0
No action;-Isolated-pipe90;Replaced pipe90; | 0.85271 | 0
No action; | 0.85271 | 0
No action; | 0.85271 | 0
No action;-Isolated-pipe170;Repaired pipe170; | 0.85387 | 0
No action;-Isolated-pipe285;Repaired pipe285; | 0.85561 | 0
No action; | 0.85561 | 0
No action; | 0.85561 | 0
No action;-Isolated-pipe230;Repaired pipe230; | 0.85783 | 0
No action; | 0.85783 | 0
No action;-Isolated-pipe89;Replaced pipe89; | 0.85783 | 0
No action; | 0.85783 | 0
No action; | 0.85783 | 0
No action;-Isolated-pipe8;Replaced pipe8; | 0.8625 | 0
No action;-Isolated-pipe75;Replaced pipe75; | 0.86761 | 0
No action; | 0.86761 | 0
No action; | 0.86761 | 0
No action; | 0.86761 | 0
No action;-Isolated-pipe9;Repaired pipe9;-Isolated-pipe176;Replaced pipe176; | 0.87003 | 0
No action; | 0.87003 | 0
No action; | 0.87003 | 0
No action; | 0.87003 | 0
No action; | 0.87003 | 0
No action;-Isolated-pipe88;Replaced pipe88;-Isolated-pipe186;Repaired pipe186; | 0.87118 | 0
No action; | 0.87118 | 0
No action; | 0.8716 | 0
No action; | 0.87162 | 0
No action;-Isolated-pipe260;Replaced pipe260; | 0.87737 | 0
No action;-Isolated-pipe52;Repaired pipe52; | 0.8804 | 0
No action; | 0.8804 | 0
No action; | 0.8804 | 0
No action; | 0.8804 | 0
No action;-Isolated-pipe87;Repaired pipe87; | 0.88043 | 0
No action;-Isolated-pipe175;Replaced pipe175; | 0.88043 | 0
No action; | 0.88043 | 0
No action; | 0.88043 | 0
No action; | 0.88043 | 0
No action;-Isolated-pipe198;Replaced pipe198;-Isolated-pipe278;Repaired pipe278; | 0.8893 | 0
No action; | 0.8893 | 0
No action; | 0.8893 | 0
No action; | 0.8893 | 0
No action;-Isolated-pipe24;Repaired pipe24; | 0.88958 | 0
No action;-Isolated-pipe185;Replaced pipe185; | 0.88999 | 0
No action; | 0.88999 | 0
No action; | 0.88999 | 0
No action;-Isolated-pipe282;Replaced pipe282; | 0.89162 | 0
No action;-Isolated-pipe108;Repaired pipe108; | 0.89475 | 0
No action; | 0.89475 | 0
No action; | 0.89475 | 0
No action; | 0.89475 | 0
No action;-Isolated-pipe288;Replaced pipe288; | 0.89508 | 0
No action;-Isolated-pipe256;Replaced pipe256; | 0.89739 | 0
No action; | 0.89739 | 0
No action; | 0.89739 | 0
No action;-Isolated-pipe6;Replaced pipe6; | 0.89739 | 1
No action;-Isolated-pipe277;Repaired pipe277; | 0.89915 | 1
No action; | 0.89915 | 1
No action; | 0.89915 | 1
No action;-Isolated-pipe174;Replaced pipe174; | 0.89924 | 2
No action; | 0.89924 | 1
No action;-Isolated-pipe208;Repaired pipe208; | 0.90279 | 1
No action; | 0.90279 | 1
No action; | 0.90279 | 1
No action;-Isolated-pipe25;Repaired pipe25; | 0.90507 | 1
No action; | 0.90507 | 1
No action;-Isolated-pipe5;Replaced pipe5; | 0.90875 | 0
No action; | 0.90875 | 0
No action;-Isolated-pipe303;Repaired pipe303; | 0.91011 | 0
No action; | 0.91011 | 0
No action;-Isolated-pipe233;Repaired pipe233; | 0.91255 | 0
No action; | 0.91255 | 0
No action; | 0.91255 | 0
No action;-Isolated-pipe255;Replaced pipe255; | 0.91635 | 0
No action;-Isolated-pipe173;Replaced pipe173; | 0.91866 | 0
No action; | 0.91866 | 0
No action; | 0.91866 | 0
No action;-Isolated-pipe7;Replaced pipe7; | 0.91916 | 0
No action; | 0.91916 | 0
No action;-Isolated-pipe85;Repaired pipe85; | 0.91917 | 0
No action; | 0.91917 | 0
No action;-Isolated-pipe298;Replaced pipe298; | 0.92025 | 0
No action; | 0.92025 | 0
No action;-Isolated-pipe236;Repaired pipe236; | 0.92136 | 0
No action; | 0.92136 | 0
No action; | 0.92136 | 0
No action;-Isolated-pipe168;Replaced pipe168; | 0.93287 | 0
No action; | 0.93287 | 0
No action;-Isolated-pipe206;Replaced pipe206; | 0.93872 | 0
No action; | 0.93872 | 0
No action; | 0.93872 | 0
No action;-Isolated-pipe26;Repaired pipe26; | 0.9412 | 0
No action;-Isolated-pipe271;Replaced pipe271; | 0.94255 | 0
No action; | 0.94255 | 0
No action; | 0.94255 | 0
No action;-Isolated-pipe194;Repaired pipe194; | 0.94327 | 0
No action;-Isolated-pipe199;Repaired pipe199; | 0.9452 | 0
No action; | 0.9452 | 0
No action; | 0.9452 | 0
No action; | 0.9452 | 0
No action;-Isolated-pipe146;Replaced pipe146; | 0.94865 | 0
No action;-Isolated-pipe95;Repaired pipe95; | 0.95183 | 0
No action; | 0.95183 | 0
No action; | 0.95183 | 0
No action;-Isolated-pipe159;Replaced pipe159; | 0.95195 | 0
No action;-Isolated-pipe296;Repaired pipe296; | 0.95333 | 0
No action; | 0.95333 | 0
No action; | 0.95333 | 0
No action; | 0.95333 | 0
No action;-Isolated-pipe13;Replaced pipe13;-Isolated-pipe153;Replaced pipe153; | 0.9549 | 0
No action; | 0.9549 | 0
No action; | 0.9549 | 0
No action; | 0.9549 | 0
No action;-Isolated-pipe264;Replaced pipe264;-Isolated-pipe275;Replaced pipe275; | 0.95961 | 0
No action; | 0.95961 | 0
No action; | 0.95961 | 0
No action; | 0.95961 | 0
No action; | 0.95961 | 0
No action;-Isolated-pipe205;Repaired pipe205;-Isolated-pipe246;Replaced pipe246; | 0.96236 | 0
No action; | 0.96236 | 0
No action; | 0.96236 | 0
No action; | 0.96236 | 0
No action;-Isolated-pipe104;Replaced pipe104;-Isolated-pipe190;Repaired pipe190; | 0.9646 | 0
No action; | 0.9646 | 0
No action; | 0.9646 | 0
No action; | 0.9646 | 0
No action;-Isolated-pipe181;Repaired pipe181;-Isolated-pipe253;Replaced pipe253; | 0.96653 | 0
No action; | 0.96653 | 0
No action; | 0.96653 | 0
No action; | 0.96653 | 0
No action; | 0.96653 | 0
No action;-Isolated-pipe82;Repaired pipe82;-Isolated-pipe238;Replaced pipe238; | 0.96894 | 0
No action; | 0.96894 | 0
No action; | 0.96894 | 0
No action; | 0.96894 | 0
No action;-Isolated-pipe55;Replaced pipe55;-Isolated-pipe267;Repaired pipe267; | 0.97356 | 0
No action; | 0.97356 | 0
No action; | 0.97356 | 0
No action; | 0.97356 | 0
No action;-Isolated-pipe261;Repaired pipe261;-Isolated-pipe297;Repaired pipe297; | 0.97778 | 0
No action; | 0.97778 | 0
No action; | 0.97778 | 0
No action; | 0.97778 | 0
No action;-Isolated-pipe144;Repaired pipe144;-Isolated-pipe201;Repaired pipe201; | 0.98348 | 0
No action; | 0.98348 | 0
No action; | 0.98348 | 0
No action; | 0.98348 | 0
No action; | 0.98348 | 0
No action;-Isolated-pipe249;Repaired pipe249;-Isolated-pipe252;Replaced pipe252; | 0.98691 | 0
No action; | 0.98691 | 0
No action; | 0.98691 | 0
No action; | 0.98691 | 0
No action;-Isolated-pipe202;Replaced pipe202;-Isolated-pipe251;Repaired pipe251; | 0.98981 | 0
No action; | 0.98981 | 0
No action; | 0.98981 | 0
No action; | 0.98981 | 0
No action;-Isolated-pipe151;Replaced pipe151;-Isolated-pipe269;Replaced pipe269; | 0.99003 | 0
No action; | 0.99003 | 0
No action; | 0.99003 | 0
No action; | 0.99003 | 0
No action; | 0.99003 | 0
No action;-Isolated-pipe189;Repaired pipe189;-Isolated-pipe274;Repaired pipe274; | 0.99391 | 0
No action; | 0.99391 | 0
No action; | 0.99391 | 0
No action; | 0.99391 | 0
No action;-Isolated-pipe210;Replaced pipe210;-Isolated-pipe263;Replaced pipe263; | 0.99412 | 0
No action; | 0.99412 | 0
No action; | 0.99412 | 0
No action; | 0.99412 | 0
No action;-Isolated-pipe116;Replaced pipe116;-Isolated-pipe247;Repaired pipe247; | 0.99642 | 0
No action; | 0.99642 | 0
No action; | 0.99642 | 0
No action; | 0.99642 | 0
No action;-Isolated-pipe79;Repaired pipe79;-Isolated-pipe109;Repaired pipe109; | 1 | 0

## Scenario8
No action; | 0.13628 | 0
No action;Isolated pipe68;Isolated pipe331; | 0.13836 | 0
No action;Isolated pipe100;Isolated pipe139;Isolated pipe155;Isolated pipe164; | 0.17184 | 0
No action;Isolated pipe61;Isolated pipe130;Isolated pipe131;Isolated pipe178; | 0.18844 | 0
No action;Isolated pipe112;Isolated pipe114;Isolated pipe128;Isolated pipe225; | 0.20547 | 0
No action;Isolated pipe73;Isolated pipe91;Isolated pipe177;Isolated pipe284; | 0.2158 | 0
No action;Isolated pipe14;Isolated pipe87;Isolated pipe107;Isolated pipe244; | 0.2158 | 0
No action;Isolated pipe15;Isolated pipe24;Isolated pipe185;Isolated pipe282; | 0.22933 | 0
No action;Isolated pipe78;Isolated pipe169;Isolated pipe277;Isolated pipe303; | 0.23352 | 0
No action;Isolated pipe12;Isolated pipe13;Isolated pipe54;Isolated pipe104; | 0.23353 | 0
No action;Isolated pipe82;Isolated pipe189;Isolated pipe190;Isolated pipe204; | 0.24296 | 0
No action;Isolated pipe4;Isolated pipe80;Isolated pipe274;Isolated pipe304; | 0.24652 | 0
No action; | 0.24652 | 0
No action; | 0.24652 | 0
No action; | 0.24652 | 0
No action; | 0.24652 | 0
No action; | 0.24652 | 0
No action; | 0.24652 | 0
No action; | 0.24652 | 0
No action; | 0.24652 | 0
No action;-Isolated-pipe331;Replaced pipe331; | 0.31788 | 0
No action; | 0.31795 | 0
No action;-Isolated-pipe290;Repaired pipe290; | 0.32525 | 0
No action; | 0.32529 | 0
No action; | 0.32532 | 0
No action; | 0.32533 | 0
No action; | 0.32533 | 0
No action; | 0.32533 | 0
No action; | 0.32533 | 0
No action;-Isolated-pipe157;Repaired pipe157;-Isolated-pipe336;Repaired pipe336; | 0.33923 | 0
No action; | 0.3394 | 0
No action; | 0.33947 | 0
No action; | 0.3395 | 0
No action; | 0.3395 | 0
No action; | 0.3395 | 0
No action; | 0.3395 | 0
No action;-Isolated-pipe66;Repaired pipe66;-Isolated-pipe308;Repaired pipe308; | 0.3396 | 0
No action; | 0.3396 | 0
No action; | 0.3396 | 0
No action; | 0.3396 | 0
No action; | 0.3396 | 0
No action; | 0.3396 | 0
No action; | 0.3396 | 0
No action;-Isolated-pipe68;Replaced pipe68;-Isolated-pipe135;Repaired pipe135; | 0.39324 | 2
No action; | 0.39342 | 2
No action; | 0.39342 | 2
No action; | 0.3973 | 1
No action; | 0.3973 | 0
No action; | 0.3973 | 0
No action; | 0.3973 | 0
No action;-Isolated-pipe35;Repaired pipe35;-Isolated-pipe38;Repaired pipe38; | 0.41315 | 0
No action; | 0.41315 | 0
No action; | 0.41315 | 0
No action; | 0.41315 | 0
No action; | 0.41315 | 0
No action; | 0.41315 | 0
No action;-Isolated-pipe100;Replaced pipe100; | 0.46363 | 0
No action;-Isolated-pipe139;Replaced pipe139; | 0.50341 | 2
No action; | 0.50341 | 0
No action; | 0.50341 | 0
No action; | 0.50341 | 0
No action; | 0.50341 | 0
No action;-Isolated-pipe134;Repaired pipe134; | 0.50341 | 2
No action; | 0.50341 | 0
No action;-Isolated-pipe164;Replaced pipe164; | 0.53645 | 1
No action; | 0.53645 | 2
No action; | 0.53645 | 0
No action;-Isolated-pipe136;Repaired pipe136; | 0.53646 | 1
No action; | 0.53646 | 0
No action; | 0.53646 | 0
No action; | 0.53646 | 0
No action;-Isolated-pipe313;Repaired pipe313; | 0.5416 | 1
No action;-Isolated-pipe71;Repaired pipe71; | 0.54243 | 1
No action; | 0.54243 | 2
No action; | 0.54243 | 0
No action; | 0.54243 | 2
No action; | 0.54243 | 2
No action;-Isolated-pipe142;Repaired pipe142; | 0.54781 | 2
No action; | 0.54781 | 0
No action;-Isolated-pipe156;Repaired pipe156; | 0.55331 | 2
No action; | 0.55415 | 0
No action; | 0.55415 | 0
No action; | 0.55415 | 0
No action;-Isolated-pipe293;Repaired pipe293; | 0.55477 | 0
No action;-Isolated-pipe162;Repaired pipe162; | 0.5603 | 0
No action; | 0.5603 | 0
No action; | 0.5603 | 0
No action; | 0.5603 | 0
No action; | 0.5603 | 0
No action; | 0.5603 | 0
No action;-Isolated-pipe155;Replaced pipe155; | 0.59743 | 0
No action;-Isolated-pipe178;Replaced pipe178; | 0.61085 | 1
No action; | 0.61085 | 1
No action; | 0.61085 | 0
No action; | 0.61085 | 0
No action; | 0.61085 | 1
No action; | 0.61085 | 1
No action;-Isolated-pipe20;Repaired pipe20; | 0.61914 | 1
No action;-Isolated-pipe183;Repaired pipe183; | 0.62226 | 2
No action; | 0.62226 | 1
No action; | 0.62226 | 1
No action; | 0.62434 | 1
No action; | 0.62434 | 1
No action; | 0.62434 | 1
No action;-Isolated-pipe21;Repaired pipe21;-Isolated-pipe61;Replaced pipe61; | 0.65986 | 2
No action; | 0.66018 | 2
No action; | 0.66018 | 2
No action; | 0.66018 | 2
No action;-Isolated-pipe226;Repaired pipe226; | 0.66103 | 2
No action;-Isolated-pipe131;Replaced pipe131; | 0.66363 | 0
No action; | 0.66363 | 0
No action; | 0.66363 | 0
No action; | 0.66363 | 0
No action;-Isolated-pipe130;Replaced pipe130; | 0.66633 | 0
No action; | 0.66633 | 0
No action;-Isolated-pipe281;Repaired pipe281; | 0.67325 | 0
No action; | 0.67325 | 0
No action;-Isolated-pipe227;Repaired pipe227; | 0.67491 | 0
No action; | 0.67491 | 0
No action; | 0.67491 | 0
No action;-Isolated-pipe113;Repaired pipe113; | 0.67617 | 0
No action;-Isolated-pipe105;Repaired pipe105; | 0.67828 | 0
No action; | 0.67828 | 0
No action; | 0.67828 | 0
No action; | 0.67828 | 0
No action; | 0.67828 | 0
No action;-Isolated-pipe128;Replaced pipe128;-Isolated-pipe191;Repaired pipe191; | 0.69952 | 0
No action; | 0.69958 | 0
No action; | 0.69959 | 0
No action; | 0.69959 | 0
No action; | 0.69959 | 0
No action;-Isolated-pipe115;Repaired pipe115; | 0.70225 | 0
No action;-Isolated-pipe114;Replaced pipe114; | 0.70787 | 0
No action; | 0.70787 | 0
No action; | 0.70787 | 0
No action; | 0.70787 | 0
No action; | 0.70787 | 0
No action;-Isolated-pipe112;Replaced pipe112; | 0.71955 | 0
No action;-Isolated-pipe48;Repaired pipe48; | 0.72668 | 0
No action; | 0.72668 | 0
No action; | 0.72668 | 0
No action; | 0.72668 | 0
No action;-Isolated-pipe127;Repaired pipe127; | 0.72757 | 0
No action;-Isolated-pipe225;Replaced pipe225; | 0.74381 | 0
No action; | 0.74381 | 0
No action; | 0.74381 | 0
No action;-Isolated-pipe73;Replaced pipe73; | 0.74622 | 0
No action;-Isolated-pipe229;Repaired pipe229; | 0.74695 | 0
No action; | 0.74709 | 0
No action; | 0.74709 | 0
No action;-Isolated-pipe311;Repaired pipe311; | 0.7475 | 0
No action; | 0.7475 | 0
No action; | 0.7475 | 0
No action;-Isolated-pipe177;Replaced pipe177; | 0.75681 | 0
No action; | 0.75681 | 0
No action;-Isolated-pipe187;Repaired pipe187; | 0.75857 | 0
No action; | 0.75857 | 0
No action; | 0.75857 | 0
No action; | 0.75857 | 0
No action;-Isolated-pipe172;Repaired pipe172; | 0.76148 | 0
No action;-Isolated-pipe284;Replaced pipe284; | 0.76657 | 0
No action; | 0.76693 | 0
No action; | 0.76708 | 0
No action;-Isolated-pipe91;Replaced pipe91; | 0.76721 | 0
No action; | 0.76721 | 0
No action;-Isolated-pipe171;Repaired pipe171; | 0.77107 | 0
No action; | 0.77107 | 0
No action; | 0.77107 | 0
No action;-Isolated-pipe107;Replaced pipe107; | 0.77819 | 0
No action; | 0.77819 | 0
No action;-Isolated-pipe310;Repaired pipe310; | 0.77951 | 0
No action; | 0.77951 | 0
No action;-Isolated-pipe90;Repaired pipe90; | 0.77953 | 0
No action; | 0.77953 | 0
No action;-Isolated-pipe285;Repaired pipe285; | 0.78137 | 0
No action; | 0.78137 | 0
No action; | 0.78137 | 0
No action;-Isolated-pipe234;Repaired pipe234; | 0.78402 | 0
No action;-Isolated-pipe89;Repaired pipe89; | 0.78405 | 0
No action; | 0.78405 | 0
No action; | 0.78405 | 0
No action;-Isolated-pipe75;Repaired pipe75; | 0.78461 | 0
No action; | 0.78461 | 0
No action;-Isolated-pipe9;Repaired pipe9; | 0.78689 | 0
No action; | 0.78689 | 0
No action;-Isolated-pipe88;Repaired pipe88; | 0.78694 | 0
No action; | 0.78694 | 0
No action; | 0.78694 | 0
No action;-Isolated-pipe23;Repaired pipe23; | 0.7918 | 0
No action;-Isolated-pipe76;Repaired pipe76; | 0.79282 | 0
No action; | 0.79282 | 0
No action; | 0.79282 | 0
No action; | 0.79282 | 0
No action;-Isolated-pipe14;Replaced pipe14; | 0.79388 | 0
No action; | 0.79388 | 0
No action;-Isolated-pipe257;Repaired pipe257; | 0.79901 | 0
No action; | 0.79901 | 0
No action;-Isolated-pipe87;Replaced pipe87; | 0.79901 | 0
No action; | 0.79947 | 0
No action; | 0.79947 | 0
No action;-Isolated-pipe175;Repaired pipe175; | 0.80394 | 0
No action;-Isolated-pipe244;Replaced pipe244; | 0.80678 | 0
No action; | 0.80678 | 0
No action; | 0.80678 | 0
No action; | 0.80678 | 0
No action;-Isolated-pipe123;Repaired pipe123;-Isolated-pipe278;Repaired pipe278; | 0.81315 | 0
No action; | 0.81315 | 0
No action; | 0.81315 | 0
No action; | 0.81315 | 0
No action; | 0.81315 | 0
No action;-Isolated-pipe15;Replaced pipe15;-Isolated-pipe185;Replaced pipe185; | 0.82636 | 0
No action; | 0.82636 | 0
No action; | 0.82636 | 0
No action; | 0.82636 | 0
No action;-Isolated-pipe24;Replaced pipe24; | 0.8336 | 0
No action;-Isolated-pipe282;Replaced pipe282; | 0.83503 | 0
No action; | 0.83503 | 0
No action; | 0.83503 | 0
No action; | 0.83503 | 0
No action;-Isolated-pipe77;Repaired pipe77;-Isolated-pipe108;Repaired pipe108; | 0.83814 | 0
No action; | 0.83814 | 0
No action; | 0.83814 | 0
No action; | 0.83814 | 0
No action; | 0.83814 | 0
No action;-Isolated-pipe169;Replaced pipe169;-Isolated-pipe209;Repaired pipe209; | 0.84673 | 0
No action; | 0.84673 | 0
No action; | 0.84673 | 0
No action; | 0.84673 | 0
No action;-Isolated-pipe6;Repaired pipe6;-Isolated-pipe277;Replaced pipe277; | 0.85214 | 0
No action; | 0.85214 | 0
No action; | 0.85214 | 0
No action; | 0.85214 | 0
No action;-Isolated-pipe3;Repaired pipe3; | 0.85298 | 0
No action;-Isolated-pipe223;Repaired pipe223; | 0.85515 | 0
No action; | 0.85515 | 0
No action; | 0.85515 | 0
No action; | 0.85515 | 0
No action;-Isolated-pipe56;Repaired pipe56;-Isolated-pipe208;Repaired pipe208; | 0.86233 | 0
No action; | 0.86233 | 0
No action; | 0.86233 | 0
No action; | 0.86233 | 0
No action;-Isolated-pipe5;Repaired pipe5; | 0.86567 | 0
No action;-Isolated-pipe16;Repaired pipe16; | 0.86834 | 0
No action; | 0.86834 | 0
No action; | 0.86834 | 0
No action;-Isolated-pipe303;Replaced pipe303; | 0.87416 | 0
No action;-Isolated-pipe233;Repaired pipe233; | 0.87488 | 0
No action; | 0.87488 | 0
No action; | 0.87488 | 0
No action; | 0.87488 | 0
No action;-Isolated-pipe255;Repaired pipe255;-Isolated-pipe287;Repaired pipe287; | 0.88153 | 0
No action; | 0.88153 | 0
No action; | 0.88153 | 0
No action; | 0.88153 | 0
No action;-Isolated-pipe97;Repaired pipe97; | 0.88361 | 0
No action;-Isolated-pipe236;Repaired pipe236; | 0.88477 | 0
No action; | 0.88477 | 0
No action; | 0.88477 | 0
No action; | 0.88477 | 0
No action;-Isolated-pipe168;Repaired pipe168; | 0.88968 | 0
No action;-Isolated-pipe207;Repaired pipe207; | 0.89489 | 0
No action; | 0.89489 | 0
No action; | 0.89489 | 0
No action; | 0.89489 | 0
No action;-Isolated-pipe12;Replaced pipe12;-Isolated-pipe78;Replaced pipe78; | 0.89915 | 0
No action; | 0.89915 | 0
No action; | 0.89915 | 0
No action; | 0.89915 | 0
No action;-Isolated-pipe26;Repaired pipe26; | 0.90265 | 0
No action;-Isolated-pipe206;Repaired pipe206; | 0.90852 | 0
No action; | 0.90852 | 0
No action; | 0.90852 | 0
No action; | 0.90852 | 0
No action;-Isolated-pipe182;Repaired pipe182;-Isolated-pipe295;Repaired pipe295; | 0.9147 | 0
No action; | 0.9147 | 0
No action; | 0.9147 | 0
No action; | 0.9147 | 0
No action;-Isolated-pipe54;Replaced pipe54;-Isolated-pipe296;Repaired pipe296; | 0.91977 | 0
No action; | 0.91977 | 0
No action; | 0.91977 | 0
No action; | 0.91977 | 0
No action;-Isolated-pipe13;Replaced pipe13; | 0.92062 | 0
No action;-Isolated-pipe275;Repaired pipe275; | 0.92464 | 0
No action; | 0.92464 | 0
No action; | 0.92464 | 0
No action;-Isolated-pipe264;Repaired pipe264; | 0.92805 | 0
No action;-Isolated-pipe119;Repaired pipe119; | 0.93145 | 0
No action; | 0.93145 | 0
No action; | 0.93145 | 0
No action; | 0.93145 | 0
No action;-Isolated-pipe104;Replaced pipe104;-Isolated-pipe305;Repaired pipe305; | 0.93399 | 0
No action; | 0.93399 | 0
No action; | 0.93399 | 0
No action; | 0.93399 | 0
No action;-Isolated-pipe181;Repaired pipe181;-Isolated-pipe190;Replaced pipe190; | 0.94089 | 0
No action; | 0.94089 | 0
No action; | 0.94089 | 0
No action; | 0.94089 | 0
No action;-Isolated-pipe82;Replaced pipe82; | 0.94089 | 0
No action;-Isolated-pipe238;Repaired pipe238; | 0.94268 | 0
No action; | 0.94268 | 0
No action; | 0.94268 | 0
No action; | 0.94268 | 0
No action;-Isolated-pipe144;Repaired pipe144;-Isolated-pipe297;Repaired pipe297; | 0.94725 | 0
No action; | 0.94725 | 0
No action; | 0.94725 | 0
No action; | 0.94725 | 0
No action;-Isolated-pipe18;Repaired pipe18;-Isolated-pipe201;Repaired pipe201; | 0.95393 | 0
No action; | 0.95393 | 0
No action; | 0.95393 | 0
No action; | 0.95393 | 0
No action;-Isolated-pipe262;Repaired pipe262; | 0.95779 | 0
No action;-Isolated-pipe147;Repaired pipe147; | 0.96179 | 0
No action; | 0.96179 | 0
No action; | 0.96179 | 0
No action;-Isolated-pipe204;Replaced pipe204; | 0.96189 | 0
No action;-Isolated-pipe252;Repaired pipe252; | 0.96615 | 0
No action; | 0.96615 | 0
No action; | 0.96615 | 0
No action; | 0.96615 | 0
No action;-Isolated-pipe189;Replaced pipe189;-Isolated-pipe274;Replaced pipe274; | 0.96623 | 0
No action; | 0.96623 | 0
No action; | 0.96623 | 0
No action; | 0.96623 | 0
No action;-Isolated-pipe94;Repaired pipe94;-Isolated-pipe222;Repaired pipe222; | 0.97049 | 0
No action; | 0.97049 | 0
No action; | 0.97049 | 0
No action; | 0.97049 | 0
No action;-Isolated-pipe4;Replaced pipe4; | 0.97072 | 0
No action;-Isolated-pipe110;Repaired pipe110; | 0.97673 | 0
No action; | 0.97673 | 0
No action; | 0.97673 | 0
No action;-Isolated-pipe237;Repaired pipe237; | 0.97866 | 0
No action; | 0.97866 | 0
No action;-Isolated-pipe118;Repaired pipe118; | 0.98245 | 0
No action; | 0.98245 | 0
No action; | 0.98245 | 0
No action;-Isolated-pipe304;Replaced pipe304; | 0.98285 | 0
No action;-Isolated-pipe247;Repaired pipe247; | 0.98608 | 0
No action; | 0.98608 | 0
No action; | 0.98608 | 0
No action;-Isolated-pipe243;Repaired pipe243; | 0.9894 | 0
No action;-Isolated-pipe211;Repaired pipe211; | 0.99178 | 0
No action; | 0.99178 | 0
No action; | 0.99178 | 0
No action;-Isolated-pipe215;Repaired pipe215; | 0.99381 | 0
No action;-Isolated-pipe84;Repaired pipe84; | 0.99505 | 0
No action; | 0.99506 | 0
No action; | 0.99506 | 0
No action; | 0.99508 | 0
No action;-Isolated-pipe81;Repaired pipe81; | 0.99647 | 0
No action;-Isolated-pipe83;Repaired pipe83; | 0.99681 | 0
No action; | 0.99681 | 0
No action; | 0.99681 | 0
No action;-Isolated-pipe80;Replaced pipe80; | 0.99896 | 0
No action;-Isolated-pipe286;Repaired pipe286; | 1 | 0

## Scenario7
No action; | 0.19973 | 0
No action;Isolated pipe34;Isolated pipe292; | 0.23998 | 0
No action;Isolated pipe37;Isolated pipe40;Isolated pipe59;Isolated pipe313; | 0.25235 | 0
No action;Isolated pipe24;Isolated pipe224;Isolated pipe279;Isolated pipe298; | 0.27717 | 0
No action;Isolated pipe78;Isolated pipe194;Isolated pipe239;Isolated pipe265; | 0.29677 | 0
No action; | 0.29679 | 0
No action; | 0.29679 | 0
No action; | 0.29679 | 0
No action; | 0.29679 | 0
No action; | 0.29679 | 0
No action; | 0.29679 | 0
No action; | 0.29679 | 0
No action; | 0.29679 | 0
No action;-Isolated-pipe331;Repaired pipe331; | 0.30023 | 0
No action; | 0.30023 | 0
No action;-Isolated-pipe292;Replaced pipe292; | 0.48312 | 0
No action; | 0.48312 | 0
No action; | 0.48312 | 0
No action; | 0.48312 | 0
No action; | 0.48312 | 0
No action; | 0.48312 | 0
No action; | 0.48312 | 0
No action;-Isolated-pipe158;Repaired pipe158;-Isolated-pipe336;Repaired pipe336; | 0.49897 | 0
No action; | 0.49913 | 0
No action; | 0.49916 | 0
No action; | 0.49919 | 0
No action; | 0.4992 | 0
No action; | 0.49925 | 0
No action; | 0.49925 | 0
No action;-Isolated-pipe34;Replaced pipe34;-Isolated-pipe308;Repaired pipe308; | 0.50132 | 0
No action; | 0.50132 | 0
No action; | 0.50132 | 0
No action; | 0.50132 | 0
No action; | 0.50132 | 0
No action; | 0.50132 | 0
No action; | 0.50132 | 0
No action;-Isolated-pipe135;Repaired pipe135;-Isolated-pipe137;Repaired pipe137; | 0.50214 | 0
No action; | 0.50214 | 0
No action; | 0.50214 | 0
No action; | 0.50214 | 0
No action; | 0.50214 | 0
No action; | 0.50214 | 0
No action; | 0.50214 | 0
No action;-Isolated-pipe37;Replaced pipe37;-Isolated-pipe138;Repaired pipe138; | 0.50519 | 0
No action; | 0.50523 | 0
No action; | 0.50524 | 0
No action; | 0.50524 | 0
No action; | 0.50524 | 0
No action; | 0.50524 | 0
No action; | 0.50524 | 0
No action;-Isolated-pipe38;Repaired pipe38;-Isolated-pipe39;Repaired pipe39; | 0.5073 | 0
No action; | 0.50733 | 0
No action; | 0.50737 | 0
No action; | 0.50738 | 0
No action; | 0.50739 | 0
No action; | 0.50739 | 0
No action;-Isolated-pipe134;Repaired pipe134; | 0.50822 | 0
No action;-Isolated-pipe141;Repaired pipe141; | 0.5128 | 0
No action; | 0.5128 | 0
No action; | 0.5128 | 0
No action; | 0.5128 | 0
No action; | 0.5128 | 0
No action; | 0.5128 | 0
No action;-Isolated-pipe40;Replaced pipe40; | 0.52707 | 0
No action;-Isolated-pipe41;Repaired pipe41; | 0.52997 | 0
No action; | 0.52997 | 0
No action; | 0.52997 | 0
No action; | 0.52997 | 0
No action;-Isolated-pipe133;Repaired pipe133; | 0.53073 | 0
No action; | 0.53073 | 0
No action;-Isolated-pipe166;Repaired pipe166; | 0.53392 | 0
No action; | 0.53392 | 0
No action; | 0.53392 | 0
No action; | 0.53392 | 0
No action;-Isolated-pipe70;Repaired pipe70;-Isolated-pipe165;Repaired pipe165; | 0.5385 | 0
No action; | 0.5385 | 0
No action; | 0.5385 | 0
No action; | 0.5385 | 0
No action; | 0.5385 | 0
No action; | 0.5385 | 0
No action;-Isolated-pipe63;Repaired pipe63; | 0.539 | 0
No action;-Isolated-pipe313;Replaced pipe313; | 0.57195 | 0
No action; | 0.57195 | 0
No action; | 0.57195 | 0
No action; | 0.57195 | 0
No action; | 0.57195 | 0
No action; | 0.57195 | 0
No action;-Isolated-pipe43;Repaired pipe43; | 0.5757 | 0
No action;-Isolated-pipe162;Repaired pipe162; | 0.58074 | 0
No action; | 0.58074 | 0
No action; | 0.58074 | 0
No action;-Isolated-pipe293;Repaired pipe293; | 0.58212 | 0
No action; | 0.58212 | 0
No action; | 0.58212 | 0
No action; | 0.58212 | 0
No action;-Isolated-pipe179;Repaired pipe179; | 0.5894 | 0
No action; | 0.5894 | 0
No action; | 0.5894 | 0
No action;-Isolated-pipe155;Repaired pipe155; | 0.59881 | 0
No action; | 0.59881 | 0
No action; | 0.59881 | 0
No action; | 0.59881 | 0
No action;-Isolated-pipe183;Repaired pipe183; | 0.60889 | 0
No action; | 0.60889 | 0
No action; | 0.60889 | 0
No action;-Isolated-pipe22;Repaired pipe22; | 0.61351 | 0
No action; | 0.61351 | 0
No action; | 0.61351 | 0
No action;-Isolated-pipe103;Repaired pipe103; | 0.62074 | 0
No action; | 0.62074 | 0
No action; | 0.62074 | 0
No action;-Isolated-pipe218;Repaired pipe218; | 0.62608 | 0
No action;-Isolated-pipe294;Repaired pipe294; | 0.6282 | 0
No action; | 0.6282 | 0
No action; | 0.6282 | 0
No action; | 0.6282 | 0
No action;-Isolated-pipe130;Repaired pipe130; | 0.63053 | 0
No action;-Isolated-pipe227;Repaired pipe227; | 0.63224 | 0
No action; | 0.63224 | 0
No action; | 0.63224 | 0
No action; | 0.63224 | 0
No action; | 0.63224 | 0
No action;-Isolated-pipe149;Repaired pipe149; | 0.63854 | 0
No action; | 0.63854 | 0
No action;-Isolated-pipe45;Repaired pipe45; | 0.64534 | 0
No action; | 0.64534 | 0
No action;-Isolated-pipe93;Repaired pipe93; | 0.64657 | 0
No action; | 0.64657 | 0
No action; | 0.64657 | 0
No action;-Isolated-pipe59;Replaced pipe59; | 0.66066 | 0
No action; | 0.66066 | 0
No action; | 0.66066 | 0
No action;-Isolated-pipe191;Repaired pipe191; | 0.66753 | 0
No action; | 0.66753 | 0
No action;-Isolated-pipe98;Repaired pipe98; | 0.66957 | 0
No action; | 0.66957 | 0
No action; | 0.66957 | 0
No action; | 0.66957 | 0
No action;-Isolated-pipe47;Repaired pipe47; | 0.6744 | 0
No action;-Isolated-pipe128;Repaired pipe128; | 0.67726 | 0
No action; | 0.67726 | 0
No action; | 0.67726 | 0
No action;-Isolated-pipe72;Repaired pipe72; | 0.67952 | 0
No action; | 0.67952 | 0
No action;-Isolated-pipe143;Repaired pipe143; | 0.68455 | 0
No action; | 0.68455 | 0
No action;-Isolated-pipe228;Repaired pipe228; | 0.6862 | 0
No action; | 0.6862 | 0
No action; | 0.6862 | 0
No action;-Isolated-pipe127;Repaired pipe127; | 0.68966 | 0
No action;-Isolated-pipe92;Repaired pipe92; | 0.69073 | 0
No action; | 0.69073 | 0
No action; | 0.69073 | 0
No action; | 0.69073 | 0
No action;-Isolated-pipe312;Repaired pipe312; | 0.6916 | 0
No action;-Isolated-pipe1;Repaired pipe1; | 0.69485 | 0
No action; | 0.69485 | 0
No action; | 0.69485 | 0
No action;-Isolated-pipe283;Repaired pipe283; | 0.69697 | 0
No action; | 0.69697 | 0
No action;-Isolated-pipe229;Repaired pipe229; | 0.69858 | 0
No action; | 0.69858 | 0
No action; | 0.69858 | 0
No action; | 0.69858 | 0
No action;-Isolated-pipe177;Repaired pipe177; | 0.70427 | 0
No action;-Isolated-pipe187;Repaired pipe187; | 0.70893 | 0
No action; | 0.70893 | 0
No action; | 0.70893 | 0
No action;-Isolated-pipe91;Repaired pipe91; | 0.71026 | 0
No action; | 0.71026 | 0
No action;-Isolated-pipe51;Repaired pipe51; | 0.71674 | 0
No action; | 0.71675 | 0
No action; | 0.71675 | 0
No action;-Isolated-pipe241;Repaired pipe241; | 0.72142 | 0
No action; | 0.72142 | 0
No action; | 0.72142 | 0
No action;-Isolated-pipe171;Repaired pipe171; | 0.72783 | 0
No action; | 0.72783 | 0
No action;-Isolated-pipe224;Replaced pipe224; | 0.73809 | 0
No action; | 0.73809 | 0
No action; | 0.73809 | 0
No action;-Isolated-pipe107;Repaired pipe107; | 0.74349 | 0
No action;-Isolated-pipe90;Repaired pipe90; | 0.74503 | 0
No action; | 0.74503 | 0
No action; | 0.74503 | 0
No action; | 0.74503 | 0
No action; | 0.74503 | 0
No action;-Isolated-pipe197;Repaired pipe197;-Isolated-pipe230;Repaired pipe230; | 0.75346 | 0
No action; | 0.75346 | 0
No action; | 0.75346 | 0
No action; | 0.75346 | 0
No action;-Isolated-pipe75;Repaired pipe75;-Isolated-pipe279;Replaced pipe279; | 0.76104 | 0
No action; | 0.76104 | 0
No action; | 0.76104 | 0
No action; | 0.76104 | 0
No action; | 0.76104 | 0
No action;-Isolated-pipe58;Repaired pipe58;-Isolated-pipe121;Repaired pipe121; | 0.76713 | 0
No action; | 0.76713 | 0
No action; | 0.76713 | 0
No action; | 0.76713 | 0
No action;-Isolated-pipe32;Repaired pipe32; | 0.76999 | 0
No action;-Isolated-pipe175;Repaired pipe175; | 0.77413 | 0
No action; | 0.77413 | 0
No action; | 0.77413 | 0
No action; | 0.77413 | 0
No action;-Isolated-pipe244;Repaired pipe244; | 0.77707 | 0
No action;-Isolated-pipe185;Repaired pipe185; | 0.78231 | 0
No action; | 0.78231 | 0
No action; | 0.78231 | 0
No action;-Isolated-pipe24;Replaced pipe24; | 0.78837 | 0
No action;-Isolated-pipe108;Repaired pipe108; | 0.79221 | 0
No action; | 0.79221 | 0
No action; | 0.79221 | 0
No action;-Isolated-pipe86;Repaired pipe86; | 0.7937 | 0
No action;-Isolated-pipe288;Repaired pipe288; | 0.79632 | 0
No action; | 0.79632 | 0
No action; | 0.79632 | 0
No action; | 0.79632 | 0
No action;-Isolated-pipe77;Repaired pipe77; | 0.79919 | 0
No action;-Isolated-pipe11;Repaired pipe11; | 0.80026 | 0
No action; | 0.80026 | 0
No action; | 0.80026 | 0
No action;-Isolated-pipe120;Repaired pipe120; | 0.80301 | 0
No action; | 0.80301 | 0
No action;-Isolated-pipe169;Repaired pipe169; | 0.80813 | 0
No action; | 0.80813 | 0
No action; | 0.80813 | 0
No action;-Isolated-pipe256;Repaired pipe256; | 0.81216 | 0
No action;-Isolated-pipe6;Repaired pipe6; | 0.81496 | 0
No action; | 0.81496 | 0
No action; | 0.81496 | 0
No action;-Isolated-pipe277;Repaired pipe277; | 0.81718 | 0
No action;-Isolated-pipe223;Repaired pipe223; | 0.82119 | 0
No action; | 0.82119 | 0
No action; | 0.82119 | 0
No action;-Isolated-pipe56;Repaired pipe56; | 0.82336 | 0
No action; | 0.82336 | 0
No action;-Isolated-pipe5;Repaired pipe5; | 0.82651 | 0
No action; | 0.82651 | 0
No action; | 0.82651 | 0
No action;-Isolated-pipe233;Repaired pipe233; | 0.82855 | 0
No action;-Isolated-pipe173;Repaired pipe173; | 0.83185 | 0
No action; | 0.83185 | 0
No action; | 0.83185 | 0
No action;-Isolated-pipe7;Repaired pipe7; | 0.8356 | 0
No action;-Isolated-pipe85;Repaired pipe85; | 0.83819 | 0
No action; | 0.83819 | 0
No action; | 0.83819 | 0
No action;-Isolated-pipe298;Replaced pipe298; | 0.83936 | 0
No action;-Isolated-pipe78;Replaced pipe78; | 0.8434 | 0
No action; | 0.8434 | 0
No action; | 0.8434 | 0
No action;-Isolated-pipe12;Repaired pipe12; | 0.84671 | 0
No action; | 0.84671 | 0
No action;-Isolated-pipe276;Repaired pipe276; | 0.84929 | 0
No action; | 0.84929 | 0
No action; | 0.84929 | 0
No action;-Isolated-pipe26;Repaired pipe26; | 0.85286 | 0
No action;-Isolated-pipe182;Repaired pipe182; | 0.85673 | 0
No action; | 0.85673 | 0
No action; | 0.85673 | 0
No action;-Isolated-pipe194;Replaced pipe194; | 0.85854 | 0
No action;-Isolated-pipe95;Repaired pipe95; | 0.86141 | 0
No action; | 0.86141 | 0
No action; | 0.86141 | 0
No action;-Isolated-pipe266;Repaired pipe266; | 0.86379 | 0
No action; | 0.86379 | 0
No action;-Isolated-pipe239;Replaced pipe239; | 0.86513 | 0
No action; | 0.86513 | 0
No action; | 0.86513 | 0
No action;-Isolated-pipe13;Repaired pipe13; | 0.86837 | 0
No action;-Isolated-pipe275;Repaired pipe275; | 0.87199 | 0
No action; | 0.87199 | 0
No action; | 0.87199 | 0
No action;-Isolated-pipe259;Repaired pipe259; | 0.87449 | 0
No action;-Isolated-pipe264;Repaired pipe264; | 0.87744 | 0
No action; | 0.87744 | 0
No action; | 0.87744 | 0
No action; | 0.87744 | 0
No action;-Isolated-pipe205;Repaired pipe205;-Isolated-pipe246;Repaired pipe246; | 0.88573 | 0
No action; | 0.88573 | 0
No action; | 0.88573 | 0
No action; | 0.88573 | 0
No action;-Isolated-pipe299;Repaired pipe299; | 0.88927 | 0
No action;-Isolated-pipe119;Repaired pipe119; | 0.89327 | 0
No action; | 0.89327 | 0
No action; | 0.89327 | 0
No action;-Isolated-pipe145;Repaired pipe145; | 0.89696 | 0
No action;-Isolated-pipe305;Repaired pipe305; | 0.89968 | 0
No action; | 0.89968 | 0
No action; | 0.89968 | 0
No action; | 0.89968 | 0
No action;-Isolated-pipe248;Repaired pipe248;-Isolated-pipe253;Repaired pipe253; | 0.9069 | 0
No action; | 0.9069 | 0
No action; | 0.9069 | 0
No action; | 0.9069 | 0
No action;-Isolated-pipe82;Repaired pipe82;-Isolated-pipe267;Repaired pipe267; | 0.91359 | 0
No action; | 0.91359 | 0
No action; | 0.91359 | 0
No action; | 0.91359 | 0
No action;-Isolated-pipe55;Repaired pipe55; | 0.9176 | 0
No action;-Isolated-pipe297;Repaired pipe297; | 0.91944 | 0
No action; | 0.91944 | 0
No action; | 0.91944 | 0
No action; | 0.91944 | 0
No action;-Isolated-pipe144;Repaired pipe144;-Isolated-pipe270;Repaired pipe270; | 0.92753 | 0
No action; | 0.92753 | 0
No action; | 0.92753 | 0
No action; | 0.92753 | 0
No action;-Isolated-pipe147;Repaired pipe147;-Isolated-pipe265;Replaced pipe265; | 0.93179 | 0
No action; | 0.93179 | 0
No action; | 0.93179 | 0
No action; | 0.93179 | 0
No action;-Isolated-pipe204;Repaired pipe204; | 0.93555 | 0
No action;-Isolated-pipe258;Repaired pipe258; | 0.93978 | 0
No action; | 0.93978 | 0
No action; | 0.93978 | 0
No action;-Isolated-pipe252;Repaired pipe252; | 0.94405 | 0
No action;-Isolated-pipe188;Repaired pipe188; | 0.94741 | 0
No action; | 0.94741 | 0
No action; | 0.94741 | 0
No action; | 0.94741 | 0
No action;-Isolated-pipe203;Repaired pipe203;-Isolated-pipe251;Repaired pipe251; | 0.95644 | 0
No action; | 0.95644 | 0
No action; | 0.95644 | 0
No action; | 0.95644 | 0
No action;-Isolated-pipe27;Repaired pipe27;-Isolated-pipe274;Repaired pipe274; | 0.96524 | 0
No action; | 0.96524 | 0
No action; | 0.96524 | 0
No action; | 0.96524 | 0
No action;-Isolated-pipe222;Repaired pipe222; | 0.96914 | 0
No action;-Isolated-pipe263;Repaired pipe263; | 0.97294 | 0
No action; | 0.97294 | 0
No action; | 0.97294 | 0
No action;-Isolated-pipe210;Repaired pipe210; | 0.9764 | 0
No action; | 0.9764 | 0
No action;-Isolated-pipe110;Repaired pipe110; | 0.98359 | 0
No action; | 0.98359 | 0
No action; | 0.98359 | 0
No action;-Isolated-pipe237;Repaired pipe237; | 0.98547 | 0
No action;-Isolated-pipe124;Repaired pipe124; | 0.98922 | 0
No action; | 0.98922 | 0
No action; | 0.98922 | 0
No action;-Isolated-pipe247;Repaired pipe247; | 0.9925 | 0
No action;-Isolated-pipe214;Repaired pipe214; | 0.99447 | 0
No action; | 0.99447 | 0
No action; | 0.99447 | 0
No action;-Isolated-pipe116;Repaired pipe116; | 0.99637 | 0
No action; | 0.99637 | 0
No action;-Isolated-pipe79;Repaired pipe79; | 0.99876 | 0
No action; | 0.99876 | 0
No action; | 0.99876 | 0
No action;-Isolated-pipe286;Repaired pipe286; | 1 | 0

## Scenario6
No action; | 0.29604 | 0
No action;Isolated pipe101;Isolated pipe135; | 0.31378 | 0
No action;Isolated pipe40;Isolated pipe70;Isolated pipe71;Isolated pipe226; | 0.34301 | 0
No action;Isolated pipe73;Isolated pipe93;Isolated pipe154;Isolated pipe280; | 0.36642 | 6
No action;Isolated pipe126;Isolated pipe160;Isolated pipe260;Isolated pipe309; | 0.41494 | 0
No action;Isolated pipe2;Isolated pipe198;Isolated pipe217;Isolated pipe232; | 0.43366 | 1
No action;Isolated pipe56;Isolated pipe174;Isolated pipe255;Isolated pipe272; | 0.46658 | 1
No action;Isolated pipe7;Isolated pipe54;Isolated pipe266;Isolated pipe295; | 0.4825 | 1
No action;Isolated pipe13;Isolated pipe55;Isolated pipe125;Isolated pipe297; | 0.51398 | 0
No action;Isolated pipe28;Isolated pipe144;Isolated pipe237;Isolated pipe254; | 0.55626 | 0
No action;Isolated pipe116;Isolated pipe211; | 0.59488 | 2
No action; | 0.59497 | 1
No action; | 0.59497 | 2
No action; | 0.59516 | 1
No action; | 0.59516 | 2
No action; | 0.59678 | 2
No action; | 0.59678 | 1
No action;-Isolated-pipe66;Repaired pipe66; | 0.59965 | 2
No action; | 0.59965 | 1
No action; | 0.59965 | 2
No action;-Isolated-pipe291;Repaired pipe291; | 0.60568 | 1
No action; | 0.60634 | 2
No action; | 0.60634 | 2
No action; | 0.60634 | 2
No action;-Isolated-pipe68;Repaired pipe68; | 0.6104 | 2
No action; | 0.6104 | 2
No action; | 0.6104 | 2
No action;-Isolated-pipe135;Replaced pipe135; | 0.66677 | 2
No action; | 0.66677 | 2
No action; | 0.66677 | 2
No action; | 0.66677 | 2
No action;-Isolated-pipe37;Repaired pipe37; | 0.67223 | 2
No action; | 0.67223 | 2
No action; | 0.67223 | 2
No action;-Isolated-pipe39;Repaired pipe39; | 0.67725 | 2
No action; | 0.67725 | 2
No action; | 0.67725 | 2
No action;-Isolated-pipe101;Replaced pipe101; | 0.70593 | 1
No action; | 0.70593 | 2
No action; | 0.70593 | 2
No action; | 0.71762 | 1
No action;-Isolated-pipe40;Replaced pipe40; | 0.7562 | 1
No action;-Isolated-pipe102;Repaired pipe102; | 0.76482 | 2
No action; | 0.76482 | 1
No action; | 0.76482 | 2
No action; | 0.76761 | 1
No action; | 0.76761 | 1
No action;-Isolated-pipe166;Repaired pipe166; | 0.77253 | 2
No action;-Isolated-pipe165;Repaired pipe165; | 0.77705 | 2
No action; | 0.77705 | 1
No action; | 0.77729 | 1
No action;-Isolated-pipe70;Replaced pipe70; | 0.77734 | 2
No action;-Isolated-pipe71;Replaced pipe71; | 0.79206 | 2
No action; | 0.79206 | 2
No action; | 0.79206 | 1
No action; | 0.79262 | 1
No action; | 0.79262 | 1
No action; | 0.79262 | 2
No action;-Isolated-pipe183;Repaired pipe183; | 0.80451 | 2
No action;-Isolated-pipe21;Repaired pipe21; | 0.81174 | 2
No action; | 0.81174 | 2
No action; | 0.81174 | 1
No action; | 0.81174 | 1
No action;-Isolated-pipe226;Replaced pipe226; | 0.82548 | 2
No action; | 0.82548 | 1
No action; | 0.82548 | 2
No action;-Isolated-pipe180;Repaired pipe180; | 0.83841 | 1
No action;-Isolated-pipe93;Replaced pipe93; | 0.84384 | 0
No action; | 0.84393 | 0
No action; | 0.84395 | 0
No action; | 0.84395 | 0
No action;-Isolated-pipe280;Replaced pipe280; | 0.84964 | 0
No action;-Isolated-pipe47;Repaired pipe47; | 0.85599 | 0
No action; | 0.85599 | 0
No action; | 0.85599 | 0
No action; | 0.85599 | 0
No action;-Isolated-pipe312;Repaired pipe312; | 0.856 | 0
No action;-Isolated-pipe195;Repaired pipe195; | 0.8634 | 0
No action; | 0.8634 | 0
No action; | 0.8634 | 0
No action; | 0.8634 | 0
No action;-Isolated-pipe73;Replaced pipe73; | 0.86751 | 0
No action; | 0.86752 | 0
No action;-Isolated-pipe154;Replaced pipe154; | 0.87593 | 0
No action; | 0.87593 | 0
No action; | 0.87593 | 0
No action;-Isolated-pipe177;Repaired pipe177; | 0.88343 | 0
No action; | 0.88343 | 0
No action;-Isolated-pipe126;Replaced pipe126; | 0.90296 | 0
No action; | 0.90297 | 0
No action; | 0.90297 | 0
No action;-Isolated-pipe310;Repaired pipe310; | 0.90297 | 0
No action; | 0.90297 | 0
No action;-Isolated-pipe170;Repaired pipe170; | 0.90905 | 0
No action; | 0.90905 | 0
No action;-Isolated-pipe309;Replaced pipe309; | 0.91191 | 0
No action; | 0.91191 | 0
No action; | 0.91191 | 0
No action;-Isolated-pipe58;Repaired pipe58; | 0.91207 | 0
No action;-Isolated-pipe260;Replaced pipe260; | 0.9221 | 0
No action; | 0.9221 | 0
No action; | 0.9221 | 0
No action; | 0.9221 | 0
No action; | 0.9221 | 0
No action;-Isolated-pipe160;Replaced pipe160;-Isolated-pipe257;Repaired pipe257; | 0.93134 | 0
No action; | 0.93134 | 0
No action; | 0.93134 | 0
No action; | 0.93134 | 0
No action;-Isolated-pipe2;Replaced pipe2; | 0.93233 | 0
No action;-Isolated-pipe198;Replaced pipe198; | 0.93539 | 0
No action; | 0.93539 | 0
No action; | 0.93539 | 0
No action;-Isolated-pipe232;Replaced pipe232; | 0.9373 | 0
No action; | 0.9373 | 0
No action;-Isolated-pipe123;Repaired pipe123; | 0.94413 | 0
No action; | 0.94413 | 0
No action;-Isolated-pipe24;Repaired pipe24; | 0.94686 | 0
No action; | 0.94686 | 0
No action; | 0.94686 | 0
No action;-Isolated-pipe86;Repaired pipe86; | 0.94995 | 0
No action; | 0.94995 | 0
No action;-Isolated-pipe288;Repaired pipe288; | 0.95218 | 0
No action; | 0.95218 | 0
No action;-Isolated-pipe11;Repaired pipe11; | 0.95401 | 0
No action; | 0.95401 | 0
No action;-Isolated-pipe217;Replaced pipe217; | 0.9569 | 0
No action; | 0.9569 | 0
No action;-Isolated-pipe174;Replaced pipe174; | 0.95906 | 0
No action; | 0.95906 | 0
No action;-Isolated-pipe56;Replaced pipe56; | 0.96308 | 0
No action; | 0.96308 | 0
No action; | 0.96308 | 0
No action;-Isolated-pipe272;Replaced pipe272; | 0.9666 | 0
No action; | 0.9666 | 0
No action;-Isolated-pipe255;Replaced pipe255; | 0.96831 | 0
No action; | 0.96831 | 0
No action;-Isolated-pipe216;Repaired pipe216; | 0.9702 | 0
No action; | 0.9702 | 0
No action;-Isolated-pipe7;Replaced pipe7; | 0.97237 | 0
No action; | 0.97237 | 0
No action; | 0.97237 | 0
No action;-Isolated-pipe182;Repaired pipe182; | 0.97331 | 0
No action; | 0.97331 | 0
No action;-Isolated-pipe295;Replaced pipe295; | 0.97339 | 0
No action; | 0.97339 | 0
No action;-Isolated-pipe266;Replaced pipe266; | 0.97528 | 0
No action; | 0.97528 | 0
No action;-Isolated-pipe54;Replaced pipe54; | 0.97667 | 0
No action; | 0.97667 | 0
No action;-Isolated-pipe13;Replaced pipe13; | 0.97727 | 0
No action; | 0.97727 | 0
No action;-Isolated-pipe125;Replaced pipe125; | 0.97727 | 0
No action; | 0.97727 | 0
No action;-Isolated-pipe213;Repaired pipe213; | 0.98022 | 0
No action; | 0.98022 | 0
No action; | 0.98022 | 0
No action;-Isolated-pipe305;Repaired pipe305; | 0.98261 | 0
No action; | 0.98261 | 0
No action;-Isolated-pipe253;Repaired pipe253; | 0.98625 | 0
No action; | 0.98625 | 0
No action;-Isolated-pipe55;Replaced pipe55; | 0.98681 | 0
No action; | 0.98681 | 0
No action;-Isolated-pipe297;Replaced pipe297; | 0.98681 | 0
No action; | 0.98681 | 0
No action;-Isolated-pipe144;Replaced pipe144; | 0.98713 | 0
No action; | 0.98713 | 0
No action;-Isolated-pipe201;Repaired pipe201; | 0.98973 | 0
No action; | 0.98973 | 0
No action;-Isolated-pipe254;Replaced pipe254; | 0.99031 | 0
No action; | 0.99031 | 0
No action; | 0.99031 | 0
No action;-Isolated-pipe28;Replaced pipe28; | 0.99053 | 0
No action; | 0.99053 | 0
No action;-Isolated-pipe18;Repaired pipe18; | 0.99386 | 0
No action; | 0.99386 | 0
No action;-Isolated-pipe301;Repaired pipe301; | 0.99572 | 0
No action; | 0.99572 | 0
No action;-Isolated-pipe269;Repaired pipe269; | 0.99842 | 0
No action; | 0.99842 | 0
No action;-Isolated-pipe189;Repaired pipe189; | 0.99958 | 0
No action; | 0.99958 | 0
No action;-Isolated-pipe274;Repaired pipe274; | 1 | 0
No action; | 1 | 0
No action;-Isolated-pipe94;Repaired pipe94; | 1 | 0
No action; | 1 | 0
No action; | 1 | 0
No action;-Isolated-pipe237;Replaced pipe237; | 1 | 0
No action; | 1 | 0
No action;-Isolated-pipe211;Replaced pipe211; | 1 | 0
No action; | 1 | 0
No action;-Isolated-pipe116;Replaced pipe116; | 1 | 0

## Scenario5
No action; | 0.16561 | 0
No action;Isolated pipe64;Isolated pipe335; | 0.17497 | 0
No action;Isolated pipe38;Isolated pipe163;Isolated pipe166;Isolated pipe226; | 0.20028 | 0
No action;Isolated pipe59;Isolated pipe103;Isolated pipe279;Isolated pipe309; | 0.21071 | 0
No action;Isolated pipe88;Isolated pipe121;Isolated pipe175;Isolated pipe255; | 0.21103 | 0
No action;Isolated pipe122;Isolated pipe194;Isolated pipe199;Isolated pipe295; | 0.23921 | 0
No action;Isolated pipe82;Isolated pipe147;Isolated pipe259;Isolated pipe275; | 0.25211 | 0
No action; | 0.2522 | 0
No action; | 0.25224 | 0
No action; | 0.25229 | 0
No action; | 0.2523 | 0
No action; | 0.25231 | 0
No action; | 0.25231 | 0
No action;-Isolated-pipe330;Repaired pipe330; | 0.25302 | 0
No action; | 0.25308 | 0
No action; | 0.25311 | 0
No action; | 0.25312 | 0
No action; | 0.25312 | 0
No action;-Isolated-pipe335;Replaced pipe335; | 0.55725 | 0
No action; | 0.55738 | 0
No action; | 0.5574 | 0
No action; | 0.5574 | 0
No action; | 0.5574 | 0
No action;-Isolated-pipe157;Repaired pipe157; | 0.58209 | 0
No action; | 0.58209 | 0
No action;-Isolated-pipe68;Repaired pipe68; | 0.58952 | 0
No action; | 0.58952 | 0
No action; | 0.58952 | 0
No action; | 0.58952 | 0
No action; | 0.58952 | 0
No action;-Isolated-pipe36;Repaired pipe36; | 0.59616 | 0
No action; | 0.59616 | 0
No action;-Isolated-pipe64;Replaced pipe64; | 0.63261 | 0
No action; | 0.63261 | 0
No action; | 0.63261 | 0
No action; | 0.63261 | 0
No action; | 0.63261 | 0
No action;-Isolated-pipe38;Replaced pipe38; | 0.64982 | 0
No action;-Isolated-pipe101;Repaired pipe101; | 0.65357 | 0
No action; | 0.65357 | 0
No action; | 0.65357 | 0
No action; | 0.65357 | 0
No action; | 0.65357 | 0
No action;-Isolated-pipe166;Replaced pipe166; | 0.67511 | 0
No action; | 0.67511 | 0
No action;-Isolated-pipe42;Repaired pipe42; | 0.67951 | 0
No action; | 0.67951 | 0
No action; | 0.67951 | 0
No action; | 0.67951 | 0
No action;-Isolated-pipe70;Repaired pipe70; | 0.68201 | 0
No action;-Isolated-pipe163;Replaced pipe163; | 0.72595 | 0
No action; | 0.72704 | 0
No action; | 0.72716 | 0
No action; | 0.72719 | 0
No action; | 0.7272 | 0
No action; | 0.7272 | 0
No action;-Isolated-pipe179;Repaired pipe179; | 0.73757 | 0
No action;-Isolated-pipe20;Repaired pipe20; | 0.74247 | 0
No action; | 0.74247 | 0
No action; | 0.74247 | 0
No action; | 0.74247 | 0
No action;-Isolated-pipe226;Replaced pipe226; | 0.75371 | 0
No action; | 0.75371 | 0
No action;-Isolated-pipe22;Repaired pipe22; | 0.76167 | 0
No action; | 0.76167 | 0
No action; | 0.76167 | 0
No action; | 0.76167 | 0
No action;-Isolated-pipe103;Replaced pipe103; | 0.78273 | 0
No action; | 0.78273 | 0
No action;-Isolated-pipe60;Repaired pipe60; | 0.78292 | 0
No action; | 0.78292 | 0
No action; | 0.78292 | 0
No action;-Isolated-pipe149;Repaired pipe149; | 0.78959 | 0
No action; | 0.78959 | 0
No action;-Isolated-pipe192;Repaired pipe192; | 0.79546 | 0
No action; | 0.79546 | 0
No action; | 0.79546 | 0
No action; | 0.79546 | 0
No action; | 0.79546 | 0
No action;-Isolated-pipe45;Repaired pipe45;-Isolated-pipe93;Repaired pipe93; | 0.80696 | 0
No action; | 0.80696 | 0
No action; | 0.80696 | 0
No action; | 0.80696 | 0
No action; | 0.80696 | 0
No action;-Isolated-pipe59;Replaced pipe59; | 0.82392 | 0
No action;-Isolated-pipe114;Repaired pipe114; | 0.83359 | 0
No action; | 0.83359 | 0
No action; | 0.83359 | 0
No action; | 0.83359 | 0
No action; | 0.83359 | 0
No action;-Isolated-pipe48;Repaired pipe48;-Isolated-pipe127;Repaired pipe127; | 0.84433 | 0
No action; | 0.84433 | 0
No action; | 0.84433 | 0
No action; | 0.84433 | 0
No action; | 0.84433 | 0
No action; | 0.84433 | 0
No action;-Isolated-pipe49;Repaired pipe49;-Isolated-pipe196;Repaired pipe196; | 0.86139 | 0
No action; | 0.86139 | 0
No action; | 0.86139 | 0
No action; | 0.86139 | 0
No action;-Isolated-pipe229;Repaired pipe229;-Isolated-pipe284;Repaired pipe284; | 0.86773 | 0
No action; | 0.86773 | 0
No action; | 0.86773 | 0
No action; | 0.86773 | 0
No action; | 0.86773 | 0
No action;-Isolated-pipe107;Repaired pipe107;-Isolated-pipe224;Repaired pipe224; | 0.88126 | 0
No action; | 0.88126 | 0
No action; | 0.88126 | 0
No action; | 0.88126 | 0
No action;-Isolated-pipe89;Repaired pipe89; | 0.88448 | 0
No action;-Isolated-pipe309;Replaced pipe309; | 0.88854 | 0
No action; | 0.88854 | 0
No action; | 0.88854 | 0
No action; | 0.88854 | 0
No action;-Isolated-pipe88;Replaced pipe88;-Isolated-pipe279;Replaced pipe279; | 0.89514 | 0
No action; | 0.89514 | 0
No action; | 0.89514 | 0
No action; | 0.89514 | 0
No action; | 0.89514 | 0
No action;-Isolated-pipe121;Replaced pipe121; | 0.90022 | 0
No action;-Isolated-pipe257;Repaired pipe257; | 0.90743 | 0
No action; | 0.90743 | 0
No action; | 0.90743 | 0
No action;-Isolated-pipe87;Repaired pipe87; | 0.90966 | 0
No action;-Isolated-pipe2;Repaired pipe2; | 0.91247 | 0
No action; | 0.91247 | 0
No action; | 0.91247 | 0
No action; | 0.91247 | 0
No action;-Isolated-pipe175;Replaced pipe175; | 0.91883 | 0
No action;-Isolated-pipe185;Repaired pipe185; | 0.92203 | 0
No action; | 0.92203 | 0
No action; | 0.92203 | 0
No action;-Isolated-pipe282;Repaired pipe282; | 0.9264 | 0
No action;-Isolated-pipe288;Repaired pipe288; | 0.92872 | 0
No action; | 0.92872 | 0
No action; | 0.92872 | 0
No action; | 0.92872 | 0
No action;-Isolated-pipe6;Repaired pipe6;-Isolated-pipe11;Repaired pipe11; | 0.93608 | 0
No action; | 0.93608 | 0
No action; | 0.93608 | 0
No action; | 0.93608 | 0
No action; | 0.93608 | 0
No action;-Isolated-pipe56;Repaired pipe56;-Isolated-pipe208;Repaired pipe208; | 0.94638 | 0
No action; | 0.94638 | 0
No action; | 0.94638 | 0
No action; | 0.94638 | 0
No action;-Isolated-pipe303;Repaired pipe303; | 0.94875 | 0
No action;-Isolated-pipe255;Replaced pipe255; | 0.95222 | 0
No action; | 0.95222 | 0
No action; | 0.95222 | 0
No action;-Isolated-pipe97;Repaired pipe97; | 0.953 | 0
No action;-Isolated-pipe298;Repaired pipe298; | 0.95366 | 0
No action; | 0.95366 | 0
No action; | 0.95366 | 0
No action;-Isolated-pipe78;Repaired pipe78; | 0.95776 | 0
No action; | 0.95776 | 0
No action;-Isolated-pipe206;Repaired pipe206; | 0.96446 | 0
No action; | 0.96446 | 0
No action; | 0.96446 | 0
No action;-Isolated-pipe26;Repaired pipe26; | 0.96907 | 0
No action;-Isolated-pipe182;Repaired pipe182; | 0.97225 | 0
No action; | 0.97225 | 0
No action; | 0.97225 | 0
No action;-Isolated-pipe194;Replaced pipe194; | 0.97304 | 0
No action; | 0.97304 | 0
No action;-Isolated-pipe199;Replaced pipe199; | 0.97463 | 0
No action; | 0.97463 | 0
No action;-Isolated-pipe295;Replaced pipe295; | 0.97466 | 0
No action; | 0.97466 | 0
No action;-Isolated-pipe122;Replaced pipe122; | 0.97666 | 0
No action; | 0.97666 | 0
No action; | 0.97666 | 0
No action;-Isolated-pipe275;Replaced pipe275; | 0.9773 | 0
No action;-Isolated-pipe259;Replaced pipe259; | 0.97839 | 0
No action; | 0.97839 | 0
No action; | 0.97839 | 0
No action;-Isolated-pipe245;Repaired pipe245; | 0.98027 | 0
No action;-Isolated-pipe29;Repaired pipe29; | 0.98283 | 0
No action; | 0.98283 | 0
No action; | 0.98283 | 0
No action;-Isolated-pipe181;Repaired pipe181; | 0.9856 | 0
No action; | 0.9856 | 0
No action;-Isolated-pipe82;Replaced pipe82; | 0.99011 | 0
No action; | 0.99011 | 0
No action;-Isolated-pipe55;Repaired pipe55; | 0.99325 | 0
No action; | 0.99325 | 0
No action;-Isolated-pipe18;Repaired pipe18; | 0.99596 | 0
No action; | 0.99596 | 0
No action; | 0.99596 | 0
No action;-Isolated-pipe147;Replaced pipe147; | 0.99613 | 0
No action;-Isolated-pipe188;Repaired pipe188; | 0.99719 | 0
No action; | 0.99719 | 0
No action; | 0.99719 | 0
No action;-Isolated-pipe124;Repaired pipe124; | 0.99882 | 0
No action;-Isolated-pipe81;Repaired pipe81; | 1 | 0

## Scenario4
No action; | 0.31164 | 0
No action;Isolated pipe180;Isolated pipe292; | 0.33119 | 0
No action;Isolated pipe107;Isolated pipe108;Isolated pipe198;Isolated pipe281; | 0.36897 | 0
No action;Isolated pipe95;Isolated pipe261; | 0.39136 | 0
No action; | 0.39148 | 0
No action; | 0.39153 | 0
No action; | 0.39154 | 0
No action; | 0.39154 | 0
No action; | 0.39154 | 0
No action; | 0.39154 | 0
No action; | 0.39154 | 0
No action; | 0.39154 | 0
No action; | 0.39154 | 0
No action;-Isolated-pipe290;Repaired pipe290;-Isolated-pipe292;Replaced pipe292; | 0.65279 | 0
No action; | 0.65391 | 0
No action; | 0.65404 | 0
No action; | 0.65409 | 0
No action; | 0.6541 | 0
No action; | 0.6541 | 0
No action; | 0.6541 | 0
No action;-Isolated-pipe35;Repaired pipe35;-Isolated-pipe138;Repaired pipe138; | 0.66381 | 0
No action; | 0.66381 | 0
No action; | 0.66381 | 0
No action; | 0.66381 | 0
No action; | 0.66381 | 0
No action; | 0.66381 | 0
No action; | 0.66381 | 0
No action;-Isolated-pipe38;Repaired pipe38;-Isolated-pipe64;Repaired pipe64; | 0.67366 | 0
No action; | 0.67366 | 0
No action; | 0.67366 | 0
No action; | 0.67366 | 0
No action; | 0.67366 | 0
No action; | 0.67366 | 0
No action; | 0.67366 | 0
No action;-Isolated-pipe39;Repaired pipe39;-Isolated-pipe139;Repaired pipe139; | 0.68634 | 0
No action; | 0.68634 | 0
No action; | 0.68634 | 0
No action; | 0.68634 | 0
No action; | 0.68634 | 0
No action; | 0.68634 | 0
No action;-Isolated-pipe134;Repaired pipe134; | 0.68704 | 0
No action;-Isolated-pipe156;Repaired pipe156; | 0.69793 | 0
No action; | 0.69793 | 0
No action; | 0.69793 | 0
No action; | 0.69793 | 0
No action; | 0.69793 | 0
No action; | 0.69793 | 0
No action;-Isolated-pipe179;Repaired pipe179;-Isolated-pipe219;Repaired pipe219; | 0.714 | 0
No action; | 0.714 | 0
No action; | 0.714 | 0
No action; | 0.714 | 0
No action; | 0.714 | 0
No action; | 0.714 | 0
No action; | 0.714 | 0
No action;-Isolated-pipe21;Repaired pipe21;-Isolated-pipe183;Repaired pipe183; | 0.73351 | 0
No action; | 0.73351 | 0
No action; | 0.73351 | 0
No action; | 0.73351 | 0
No action;-Isolated-pipe226;Repaired pipe226; | 0.73634 | 0
No action; | 0.73634 | 0
No action; | 0.73634 | 0
No action;-Isolated-pipe180;Replaced pipe180; | 0.76274 | 0
No action; | 0.76274 | 0
No action; | 0.76274 | 0
No action;-Isolated-pipe281;Replaced pipe281; | 0.77598 | 0
No action; | 0.77598 | 0
No action; | 0.77598 | 0
No action;-Isolated-pipe149;Repaired pipe149; | 0.78164 | 0
No action; | 0.78164 | 0
No action; | 0.78164 | 0
No action;-Isolated-pipe192;Repaired pipe192; | 0.78556 | 0
No action; | 0.78556 | 0
No action; | 0.78556 | 0
No action; | 0.78556 | 0
No action;-Isolated-pipe45;Repaired pipe45; | 0.79294 | 0
No action; | 0.79294 | 0
No action;-Isolated-pipe59;Repaired pipe59; | 0.80032 | 0
No action; | 0.80032 | 0
No action; | 0.80032 | 0
No action; | 0.80032 | 0
No action; | 0.80032 | 0
No action;-Isolated-pipe46;Repaired pipe46;-Isolated-pipe195;Repaired pipe195; | 0.81883 | 0
No action; | 0.81883 | 0
No action; | 0.81883 | 0
No action; | 0.81883 | 0
No action;-Isolated-pipe312;Repaired pipe312; | 0.81956 | 0
No action;-Isolated-pipe73;Repaired pipe73; | 0.82186 | 0
No action; | 0.82186 | 0
No action; | 0.82186 | 0
No action; | 0.82186 | 0
No action;-Isolated-pipe283;Repaired pipe283; | 0.82499 | 0
No action;-Isolated-pipe177;Repaired pipe177; | 0.83262 | 0
No action; | 0.83262 | 0
No action; | 0.83262 | 0
No action; | 0.83262 | 0
No action;-Isolated-pipe187;Repaired pipe187; | 0.83742 | 0
No action; | 0.83742 | 0
No action;-Isolated-pipe51;Repaired pipe51; | 0.84547 | 0
No action; | 0.84547 | 0
No action; | 0.84547 | 0
No action;-Isolated-pipe107;Replaced pipe107; | 0.85063 | 0
No action;-Isolated-pipe90;Repaired pipe90; | 0.85233 | 0
No action; | 0.85233 | 0
No action; | 0.85233 | 0
No action; | 0.85233 | 0
No action;-Isolated-pipe170;Repaired pipe170; | 0.86032 | 0
No action;-Isolated-pipe234;Repaired pipe234; | 0.86332 | 0
No action; | 0.86332 | 0
No action; | 0.86332 | 0
No action; | 0.86332 | 0
No action;-Isolated-pipe75;Repaired pipe75;-Isolated-pipe309;Repaired pipe309; | 0.86848 | 0
No action; | 0.86848 | 0
No action; | 0.86848 | 0
No action; | 0.86848 | 0
No action;-Isolated-pipe231;Repaired pipe231; | 0.87083 | 0
No action;-Isolated-pipe121;Repaired pipe121; | 0.87746 | 0
No action; | 0.87746 | 0
No action; | 0.87746 | 0
No action; | 0.87746 | 0
No action;-Isolated-pipe14;Repaired pipe14; | 0.88292 | 0
No action; | 0.88292 | 0
No action;-Isolated-pipe257;Repaired pipe257; | 0.89104 | 0
No action; | 0.89104 | 0
No action;-Isolated-pipe32;Repaired pipe32; | 0.89427 | 0
No action; | 0.89427 | 0
No action; | 0.89427 | 0
No action;-Isolated-pipe198;Replaced pipe198; | 0.8986 | 0
No action; | 0.8986 | 0
No action;-Isolated-pipe15;Repaired pipe15; | 0.9034 | 0
No action; | 0.9034 | 0
No action;-Isolated-pipe108;Replaced pipe108; | 0.90646 | 0
No action; | 0.90646 | 0
No action; | 0.90646 | 0
No action;-Isolated-pipe86;Repaired pipe86; | 0.90861 | 0
No action;-Isolated-pipe120;Repaired pipe120; | 0.91281 | 0
No action; | 0.91281 | 0
No action; | 0.91281 | 0
No action; | 0.91281 | 0
No action;-Isolated-pipe169;Repaired pipe169; | 0.91922 | 0
No action;-Isolated-pipe303;Repaired pipe303; | 0.92141 | 0
No action; | 0.92141 | 0
No action; | 0.92141 | 0
No action;-Isolated-pipe96;Repaired pipe96; | 0.9242 | 0
No action;-Isolated-pipe271;Repaired pipe271; | 0.92844 | 0
No action; | 0.92844 | 0
No action; | 0.92844 | 0
No action;-Isolated-pipe194;Repaired pipe194; | 0.93247 | 0
No action;-Isolated-pipe95;Replaced pipe95; | 0.93336 | 0
No action; | 0.93336 | 0
No action; | 0.93336 | 0
No action;-Isolated-pipe296;Repaired pipe296; | 0.93677 | 0
No action;-Isolated-pipe259;Repaired pipe259; | 0.94094 | 0
No action; | 0.94094 | 0
No action; | 0.94094 | 0
No action; | 0.94094 | 0
No action;-Isolated-pipe264;Repaired pipe264; | 0.94511 | 0
No action;-Isolated-pipe125;Repaired pipe125; | 0.94942 | 0
No action; | 0.94942 | 0
No action; | 0.94942 | 0
No action; | 0.94942 | 0
No action;-Isolated-pipe205;Repaired pipe205;-Isolated-pipe248;Repaired pipe248; | 0.96083 | 0
No action; | 0.96083 | 0
No action; | 0.96083 | 0
No action; | 0.96083 | 0
No action;-Isolated-pipe82;Repaired pipe82;-Isolated-pipe261;Replaced pipe261; | 0.96415 | 0
No action; | 0.96415 | 0
No action; | 0.96415 | 0
No action; | 0.96415 | 0
No action;-Isolated-pipe144;Repaired pipe144;-Isolated-pipe201;Repaired pipe201; | 0.97203 | 0
No action; | 0.97203 | 0
No action; | 0.97203 | 0
No action; | 0.97203 | 0
No action;-Isolated-pipe18;Repaired pipe18; | 0.97662 | 0
No action;-Isolated-pipe301;Repaired pipe301; | 0.97883 | 0
No action; | 0.97883 | 0
No action; | 0.97883 | 0
No action; | 0.97883 | 0
No action;-Isolated-pipe188;Repaired pipe188;-Isolated-pipe189;Repaired pipe189; | 0.98382 | 0
No action; | 0.98382 | 0
No action; | 0.98382 | 0
No action; | 0.98382 | 0
No action;-Isolated-pipe27;Repaired pipe27;-Isolated-pipe94;Repaired pipe94; | 0.98875 | 0
No action; | 0.98875 | 0
No action; | 0.98875 | 0
No action; | 0.98875 | 0
No action;-Isolated-pipe222;Repaired pipe222; | 0.99117 | 0
No action;-Isolated-pipe211;Repaired pipe211; | 0.99286 | 0
No action; | 0.99286 | 0
No action; | 0.99286 | 0
No action; | 0.99286 | 0
No action;-Isolated-pipe83;Repaired pipe83;-Isolated-pipe84;Repaired pipe84; | 0.99864 | 0
No action; | 0.99864 | 0
No action; | 0.99864 | 0
No action; | 0.99864 | 0
No action;-Isolated-pipe79;Repaired pipe79; | 1 | 0

## Scenario3
No action; | 0.44622 | 0
No action;Isolated pipe135;Isolated pipe157; | 0.49934 | 0
No action;Isolated pipe59;Isolated pipe105;Isolated pipe178;Isolated pipe179; | 0.56243 | 0
No action;Isolated pipe25;Isolated pipe33;Isolated pipe177;Isolated pipe241; | 0.60398 | 0
No action;Isolated pipe144;Isolated pipe148;Isolated pipe199;Isolated pipe295; | 0.66723 | 0
No action;Isolated pipe214;Isolated pipe237; | 0.71204 | 0
No action; | 0.7121 | 0
No action; | 0.71211 | 0
No action; | 0.71211 | 0
No action; | 0.71211 | 0
No action; | 0.71211 | 0
No action; | 0.71211 | 0
No action;-Isolated-pipe308;Repaired pipe308; | 0.71253 | 0
No action; | 0.71253 | 0
No action;-Isolated-pipe157;Replaced pipe157; | 0.82464 | 0
No action; | 0.82464 | 0
No action; | 0.82464 | 0
No action; | 0.82464 | 0
No action; | 0.82464 | 0
No action;-Isolated-pipe135;Replaced pipe135; | 0.86544 | 0
No action; | 0.86544 | 0
No action;-Isolated-pipe37;Repaired pipe37; | 0.87727 | 0
No action; | 0.87727 | 0
No action;-Isolated-pipe70;Repaired pipe70; | 0.88035 | 0
No action; | 0.88035 | 0
No action; | 0.88035 | 0
No action; | 0.88035 | 0
No action; | 0.88035 | 0
No action;-Isolated-pipe179;Replaced pipe179; | 0.88116 | 0
No action; | 0.88116 | 0
No action;-Isolated-pipe178;Replaced pipe178; | 0.9052 | 0
No action; | 0.9052 | 0
No action; | 0.9052 | 0
No action;-Isolated-pipe227;Repaired pipe227; | 0.90851 | 0
No action;-Isolated-pipe105;Replaced pipe105; | 0.91559 | 0
No action; | 0.91559 | 0
No action; | 0.91559 | 0
No action; | 0.91559 | 0
No action;-Isolated-pipe59;Replaced pipe59; | 0.9316 | 0
No action; | 0.9316 | 0
No action;-Isolated-pipe177;Replaced pipe177; | 0.95043 | 0
No action; | 0.95043 | 0
No action; | 0.95043 | 0
No action;-Isolated-pipe33;Replaced pipe33; | 0.95098 | 0
No action; | 0.95098 | 0
No action;-Isolated-pipe241;Replaced pipe241; | 0.95922 | 0
No action; | 0.95922 | 0
No action; | 0.95922 | 0
No action;-Isolated-pipe107;Repaired pipe107; | 0.96454 | 0
No action;-Isolated-pipe260;Repaired pipe260; | 0.96788 | 0
No action; | 0.96788 | 0
No action; | 0.96788 | 0
No action;-Isolated-pipe87;Repaired pipe87; | 0.97173 | 0
No action; | 0.97173 | 0
No action;-Isolated-pipe244;Repaired pipe244; | 0.97412 | 0
No action; | 0.97412 | 0
No action;-Isolated-pipe25;Replaced pipe25; | 0.97747 | 0
No action; | 0.97747 | 0
No action;-Isolated-pipe287;Repaired pipe287; | 0.97991 | 0
No action; | 0.97991 | 0
No action;-Isolated-pipe148;Replaced pipe148; | 0.98179 | 0
No action; | 0.98179 | 0
No action;-Isolated-pipe78;Repaired pipe78; | 0.98593 | 0
No action; | 0.98593 | 0
No action; | 0.98593 | 0
No action;-Isolated-pipe199;Replaced pipe199; | 0.98761 | 0
No action; | 0.98761 | 0
No action;-Isolated-pipe295;Replaced pipe295; | 0.98767 | 0
No action; | 0.98767 | 0
No action;-Isolated-pipe213;Repaired pipe213; | 0.99062 | 0
No action; | 0.99062 | 0
No action;-Isolated-pipe181;Repaired pipe181; | 0.99278 | 0
No action; | 0.99278 | 0
No action;-Isolated-pipe55;Repaired pipe55; | 0.99544 | 0
No action; | 0.99544 | 0
No action;-Isolated-pipe273;Repaired pipe273; | 0.99735 | 0
No action; | 0.99735 | 0
No action;-Isolated-pipe144;Replaced pipe144; | 0.9977 | 0
No action; | 0.9977 | 0
No action;-Isolated-pipe262;Repaired pipe262; | 0.99935 | 0
No action; | 0.99935 | 0
No action; | 0.99935 | 0
No action;-Isolated-pipe265;Repaired pipe265; | 1 | 0
No action; | 1 | 0
No action;-Isolated-pipe237;Replaced pipe237; | 1 | 0
No action; | 1 | 0
No action;-Isolated-pipe214;Replaced pipe214; | 1 | 0

## Scenario2
No action; | 0.64378 | 0
No action;Isolated pipe98;Isolated pipe102; | 0.68483 | 0
No action;Isolated pipe119;Isolated pipe186;Isolated pipe200;Isolated pipe202; | 0.74887 | 0
No action;Isolated pipe124;Isolated pipe189;Isolated pipe210;Isolated pipe214; | 0.82807 | 0
No action; | 0.82809 | 0
No action; | 0.82813 | 0
No action; | 0.82813 | 0
No action; | 0.82813 | 0
No action; | 0.82813 | 0
No action; | 0.82813 | 0
No action;-Isolated-pipe138;Repaired pipe138; | 0.83186 | 0
No action; | 0.83186 | 0
No action; | 0.83186 | 0
No action; | 0.83186 | 0
No action;-Isolated-pipe290;Repaired pipe290; | 0.85177 | 0
No action; | 0.85177 | 0
No action; | 0.85177 | 0
No action;-Isolated-pipe36;Repaired pipe36; | 0.86401 | 0
No action; | 0.86401 | 0
No action; | 0.86401 | 0
No action; | 0.86401 | 0
No action;-Isolated-pipe140;Repaired pipe140; | 0.8708 | 0
No action; | 0.8708 | 0
No action;-Isolated-pipe102;Replaced pipe102; | 0.90227 | 0
No action; | 0.90227 | 0
No action; | 0.90227 | 0
No action; | 0.90227 | 0
No action;-Isolated-pipe221;Repaired pipe221; | 0.9087 | 0
No action; | 0.9087 | 0
No action; | 0.9087 | 0
No action;-Isolated-pipe22;Repaired pipe22; | 0.9228 | 0
No action; | 0.9228 | 0
No action;-Isolated-pipe191;Repaired pipe191; | 0.93065 | 0
No action; | 0.93065 | 0
No action;-Isolated-pipe98;Replaced pipe98; | 0.93601 | 0
No action; | 0.93601 | 0
No action; | 0.93601 | 0
No action;-Isolated-pipe225;Repaired pipe225; | 0.94077 | 0
No action; | 0.94077 | 0
No action;-Isolated-pipe311;Repaired pipe311; | 0.94194 | 0
No action; | 0.94194 | 0
No action; | 0.94194 | 0
No action;-Isolated-pipe126;Repaired pipe126; | 0.94843 | 0
No action; | 0.94843 | 0
No action;-Isolated-pipe51;Repaired pipe51; | 0.95712 | 0
No action; | 0.95712 | 0
No action; | 0.95712 | 0
No action;-Isolated-pipe285;Repaired pipe285; | 0.96202 | 0
No action; | 0.96202 | 0
No action;-Isolated-pipe186;Replaced pipe186; | 0.9664 | 0
No action; | 0.9664 | 0
No action;-Isolated-pipe244;Repaired pipe244; | 0.96973 | 0
No action; | 0.96973 | 0
No action; | 0.96973 | 0
No action;-Isolated-pipe282;Repaired pipe282; | 0.97388 | 0
No action;-Isolated-pipe120;Repaired pipe120; | 0.97743 | 0
No action; | 0.97743 | 0
No action; | 0.97743 | 0
No action; | 0.97743 | 0
No action;-Isolated-pipe182;Repaired pipe182;-Isolated-pipe208;Repaired pipe208; | 0.98532 | 0
No action; | 0.98532 | 0
No action; | 0.98532 | 0
No action; | 0.98532 | 0
No action;-Isolated-pipe199;Repaired pipe199; | 0.98823 | 0
No action;-Isolated-pipe266;Repaired pipe266; | 0.99158 | 0
No action; | 0.99158 | 0
No action; | 0.99158 | 0
No action;-Isolated-pipe200;Replaced pipe200; | 0.9955 | 0
No action;-Isolated-pipe264;Repaired pipe264; | 0.99737 | 0
No action; | 0.99737 | 0
No action; | 0.99737 | 0
No action; | 0.99737 | 0
No action;-Isolated-pipe119;Replaced pipe119;-Isolated-pipe254;Repaired pipe254; | 0.9993 | 0
No action; | 0.9993 | 0
No action; | 0.9993 | 0
No action; | 0.9993 | 0
No action;-Isolated-pipe202;Replaced pipe202; | 0.9993 | 0
No action;-Isolated-pipe189;Replaced pipe189; | 0.9993 | 0
No action; | 0.9993 | 0
No action; | 0.9993 | 0
No action;-Isolated-pipe210;Replaced pipe210; | 0.9993 | 0
No action;-Isolated-pipe124;Replaced pipe124; | 0.9993 | 0
No action; | 0.9993 | 0
No action; | 0.9993 | 0
No action;-Isolated-pipe214;Replaced pipe214; | 0.9993 | 0
No action;-Isolated-pipe268;Repaired pipe268; | 1 | 0

## Scenario1
No action; | 0.62256 | 0
No action;Isolated pipe165;Isolated pipe336; | 0.69048 | 0
No action;Isolated pipe123;Isolated pipe287; | 0.73656 | 0
No action; | 0.73672 | 0
No action; | 0.7368 | 0
No action; | 0.73683 | 0
No action; | 0.73684 | 0
No action; | 0.73684 | 0
No action; | 0.73684 | 0
No action;-Isolated-pipe336;Replaced pipe336; | 0.82884 | 0
No action; | 0.82884 | 0
No action; | 0.82884 | 0
No action; | 0.82884 | 0
No action;-Isolated-pipe335;Repaired pipe335; | 0.82886 | 0
No action; | 0.82886 | 0
No action; | 0.82886 | 0
No action;-Isolated-pipe307;Repaired pipe307; | 0.83228 | 0
No action; | 0.83228 | 0
No action; | 0.83228 | 0
No action;-Isolated-pipe99;Repaired pipe99; | 0.83669 | 0
No action; | 0.83669 | 0
No action; | 0.83669 | 0
No action; | 0.83669 | 0
No action;-Isolated-pipe164;Repaired pipe164; | 0.8449 | 0
No action; | 0.8449 | 0
No action;-Isolated-pipe165;Replaced pipe165; | 0.8763 | 0
No action; | 0.8763 | 0
No action; | 0.8763 | 0
No action; | 0.8763 | 0
No action;-Isolated-pipe221;Repaired pipe221; | 0.88244 | 0
No action; | 0.88244 | 0
No action;-Isolated-pipe132;Repaired pipe132; | 0.88509 | 0
No action; | 0.88509 | 0
No action;-Isolated-pipe71;Repaired pipe71; | 0.88926 | 0
No action; | 0.88926 | 0
No action; | 0.88926 | 0
No action;-Isolated-pipe60;Repaired pipe60; | 0.89784 | 0
No action; | 0.89784 | 0
No action; | 0.89784 | 0
No action; | 0.89784 | 0
No action;-Isolated-pipe44;Repaired pipe44; | 0.91109 | 0
No action;-Isolated-pipe227;Repaired pipe227; | 0.91496 | 0
No action; | 0.91496 | 0
No action; | 0.91496 | 0
No action; | 0.91496 | 0
No action;-Isolated-pipe228;Repaired pipe228; | 0.91945 | 0
No action;-Isolated-pipe149;Repaired pipe149; | 0.92796 | 0
No action; | 0.92796 | 0
No action; | 0.92796 | 0
No action; | 0.92796 | 0
No action; | 0.92796 | 0
No action;-Isolated-pipe48;Repaired pipe48;-Isolated-pipe240;Repaired pipe240; | 0.94308 | 0
No action; | 0.94308 | 0
No action; | 0.94308 | 0
No action; | 0.94308 | 0
No action; | 0.94308 | 0
No action;-Isolated-pipe126;Repaired pipe126;-Isolated-pipe154;Repaired pipe154; | 0.95827 | 0
No action; | 0.95827 | 0
No action; | 0.95827 | 0
No action; | 0.95827 | 0
No action;-Isolated-pipe32;Repaired pipe32; | 0.96119 | 0
No action;-Isolated-pipe123;Replaced pipe123; | 0.96696 | 0
No action; | 0.96696 | 0
No action; | 0.96696 | 0
No action;-Isolated-pipe278;Repaired pipe278; | 0.97029 | 0
No action; | 0.97029 | 0
No action;-Isolated-pipe223;Repaired pipe223; | 0.97378 | 0
No action; | 0.97378 | 0
No action; | 0.97378 | 0
No action;-Isolated-pipe5;Repaired pipe5; | 0.97645 | 0
No action;-Isolated-pipe287;Replaced pipe287; | 0.97731 | 0
No action; | 0.97731 | 0
No action; | 0.97731 | 0
No action; | 0.97731 | 0
No action;-Isolated-pipe152;Repaired pipe152;-Isolated-pipe207;Repaired pipe207; | 0.98732 | 0
No action; | 0.98732 | 0
No action; | 0.98732 | 0
No action; | 0.98732 | 0
No action;-Isolated-pipe147;Repaired pipe147;-Isolated-pipe238;Repaired pipe238; | 0.99225 | 0
No action; | 0.99225 | 0
No action; | 0.99225 | 0
No action; | 0.99225 | 0
No action;-Isolated-pipe188;Repaired pipe188; | 0.99424 | 0
No action;-Isolated-pipe203;Repaired pipe203; | 0.99628 | 0
No action; | 0.99628 | 0
No action; | 0.99628 | 0
No action;-Isolated-pipe109;Repaired pipe109; | 0.99887 | 0
No action;-Isolated-pipe83;Repaired pipe83; | 1 | 0